|  |
| --- |
| **Supplemental Table 1: Rate of successful tracheal intubtion with the direct laryngoscope and the McGrath™ Mac Video Laryngoscope in patients undergoing CPR, equivalence margin ± 6.5%** |
|  | **Direct Laryngoscope** | **McGrath™ Mac Video Laryngoscope** | **Δ success rate** | **99% Confidence interval Δ success rate** |
| **Number of attempts** | **Patients** | **Attempts (n)** | **Success rate** | **Device switches** | **Patients** | **Attempts (n)** | **Success rate** | **Device switches** |
| **1st attempt** | 127 | 105 | 82.7% |  | 142 | 211 | 78.2% |  | 4.51 | -7.93 – 16.95 |
| **2nd attempt** | 125 | 122 | 97.6% | 12 | 144 | 243 | 92.4% | 10 | 5.24 | -1.47 – 11.95 |
| **3rd attempt** | 131 | 129 | 98.5% | 3 | 138 | 250 | 97.1% | 9 | 1.37 | -3.23 – 5.97 |
| **4th attempt** | 131 | 129 | 98.5% | 0 | 138 | 251 | 97.8% | 0 | 0.65 | -3.58– 4.87 |