|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Supplemental Table 3: Rate of successful tracheal intubation for the direct laryngoscope and the McGrath™ Mac Video Laryngoscope in patients with internal TI indications, equivalence margin ± 6.5%** | | | | | | | | | | |
|  | **Direct Laryngoscope** | | | | **McGrath™ Mac Video Laryngoscope** | | | | **Δ success rate** | **99% Confidence interval Δ success rate** |
| **Number of attempts** | **Patients** | **Attempts (n)** | **Success rate** | **Device switches** | **Patients** | **Attempts (n)** | **Success rate** | **Device switches** |
| **1st attempt** | 54 | 47 | 87.0% |  | 69 | 62 | 89.9% |  | 2.82 | -17.87 – 12.24 |
| **2nd attempt** | 56 | 52 | 92.9% | 3 | 67 | 67 | 100% | 5 | 7.14 | -16.02 – 1.73 |
| **3rd attempt** | 53 | 52 | 98.1% | 3 | 70 | 70 | 100% | 0 | 1.89 | -6.70 – 2.93 |
| **4th attempt** |  |  |  |  |  |  |  |  |  |  |