| Supplementary Form 1. Survey of the availability and utilization of defibrillators in primary hospitals (Data collected: 201_Jan - 201_Dec) |
| --- |
| Hospital name |  |
| Hospital level |  |
| Service population |  | Service area |  |
| No. of doctors |  | Practicing physician |  | Physician assistant |  |
| No. of nurses |  | Registered nurse |  | No. of beds |  |
| No. of admitted patients |  | No. of discharged patients |  | No. of non-survivors |  |
| No. of operations |  | No. of outpatient visits |  | No. of Emergency Department visits |  |
| Surgical notes |  |
| Emergency department | □24H □Not 24H： am- pm | Emergency room | □Yes□No |
| Defibrillator | □Yes□No | No. of defibrillators |  | AED | □Yes□No |
| Defibrillator available in | ② ③ |
| Defibrillator model | ② ③ |
| Defibrillator waveform | □Biphasic □Monophasic ②□Biphasic □Monophasic ③□Biphasic □Monophasic |
| External pacemaker | □Yes □No ②□Yes □No ③□Yes □No |
| Printing paper | □Yes □No ②□Yes □No ③□Yes □No |
| Conductive adhesive gel | □Yes □No ②□Yes □No ③□Yes □No |
| Defibrillator condition | □Normal □Out of service ②□Normal □Out of service ③□Normal □Out of service |
| Maintenance and utilization record | □No □Incomplete □Complete | Amount of usage |  |
| Notes |  |

| Supplementary Form 2: Acquaintance Assessment Form |
| --- |
| Name: | Total Score: |
|  | Requirement | Standard points | Score |
| Items and preparation | Question:1) Indications for unsynchronized defibrillation: ventricular fibrillation; 2) Relative contraindication: ECG displays a straight line (cardiac still); electrical mechanical dissociation (5 points for each answer) | 15 points |  |
|  | Items: defibrillator, ECG monitoring lead wire, electrodes, rescue kit, conductive adhesive paste (2 points for each item) | 10 points |  |
|  | Patient: placed in the supine position, with a hard compression board under the patient; expose the chest; establish ECG monitoring with correct placement (4 points for the last item, 3 points for others) | 10 points |  |
| Procedure | 12) all items settled; turn on the power | 2 points |  |
|  | 13) determine the type of arrhythmia | 5 points |  |
|  | 14) apply conductive gel to dry electrodes for stable skin contacts | 3 points |  |
|  | 15) Energy requirement for defibrillation Adult monophasic waveform defibrillation 360 J biphasic waveforms defibrillation 120-200 J | 15 points |  |
|  | 16) Apply defibrillation pads to the patient’s chest in the proper position: right of the sternum at 2nd intercostal space and anterior axillary line at 5th intercostal space | 10 points |  |
|  | 17) Check that defibrillation is in asynchronous mode (4 points) 18) Defibrillation: (4 points for each step) Check ECG before defibrillation Charge Clear Shock | 20 points |  |
|  | 19) Immediately resume CPR for 5 cycles | 5 points |  |
|  | 20) Check ECG | 5 points |  |
|  | 21) Turn off | Not scored |
|  | 22) Record patient’s information on the printed ECG | Not scored |
|  | Total (100 points) |  |