Appendix Table. Details of ventilation strategies used in 5 recent RCTs.

| Author | HFOV strategy | CMV strategy |
| --- | --- | --- |
|  | Ventilator* | Frequency | Mean Airway Pressure | FiO2 | Chest X-ray† | Frequency | PEEP | PIP | Tidal Volume | pCO2 |
| Thome11 | Infant Star | 10 Hz | 1-2 cmH2O above MAP on CMV; 10-12 cmH2O when primary HFOV | MAP increased until FiO2<0.3 | Ninth pair of ribs | 60-80 /min | ≥3 cmH2O | PIP as low as possible | Not stated | 40-60 mm Hg; to 70 mm Hg after the 7th day |
| Moriette13 | OHF1 | Not stated | 14 cmH2O if FiO2 < 0.4; 16 cmH2O if FiO2>0.4 | MAP increased until FiO2<0.4 | Not stated | Not stated | 4-5 cmH2O | PIP as low as possible | Not stated | 40-50 mm Hg |
| Courtney14 | SensorMedics 3100A | 10 to 15 Hz | ≥2 cmH2O above MAP on CMV | Not stated | Expansion to 8 to 9.5 ribs | ≤60 /min | 4-6 cmH2O | Not stated | 4-7 ml/kg | 40-55 mm Hg; 45 to 65 mm Hg if chronic lung disease |
| Johnson15 | Dräger Babylog 8000; SensorMedics 3100A; SLE 2000HFO | 10 Hz | 6-8 cmH2O | MAP increased until FiO2<0.3 | Ninth pair of ribs | 60 /min | Not stated | Not stated | Not stated | 34-53 mm Hg |
| Reempts16 | Infant Star | Not stated | 8 cm H2O if <29 weeks; 10 cm H2O if 29–31 6/7 weeks | Not stated | Ninth pair of ribs | 80 /min | 4-8 cmH2O | 20-30 cmH20 | 6–8 ml/kg | 35-45 mmHg during the acute phase; up to 70 mmHg later |

* Infant Star, Infrasonics, U.S.A.; OHF1, Dufour, France; Sensormedics, Viasys, The Netherlands; Babylog, Dräger, Germany; SLE 2000HFO, SLE, United Kingdom

†Lung expansion on chest x-ray

MAP indicates Mean Airway Pressure; FiO2, Fraction of Inspired Oxygen; PEEP, Positive End-Expiratory Pressure, PIP, Peak Inspiratory Pressure; pCO2  Partial Carbon dioxide Pressure