Appendix A.  Methods, analytical laboratories, and sampling intensity used for water quality measurements during the Mission Bay Epidemiology Study.

| Parameter | Method | Sample Volume* | Sampling intensity |
| --- | --- | --- | --- |
| Enterococcus | EPA 1600 | 125 mL | Beach composite once per day |
| Enterococcus | 96 well Quantitray | 125 mL | Hourly sample at every site |
| Enterococcus | Quantitative PCR | 125 mL | Two samples per day at each site |
| Fecal Coliforms | APHA Method 9222D | 125 mL | Hourly sample at every site |
| Fecal Coliforms (E. coli) | 96 well Quantitray | 125 mL | Beach composite once per day |
| Total Coliforms | APHA Method 9222B | 125 mL | Hourly sample at every site |
| Total Coliforms | 96 well Quantitray | 125 mL | Beach composite once per day |
| Bacteroides | Quantitative PCR | 125 mL | Two samples per day at each site |
| Somatic Phage | EPA 1601 | 1 L | Beach composite once per day |
| Male-specific Phage | EPA 1601 | 1 L | Beach composite once per day |
| Adenovirus 40 and 41 | Quantitative PCR | 12.5 - 25 L | Beach composite once per day |
| Norovirus | Quantitative PCR | 12.5 - 25 L | Beach composite once per day |

*Detailed laboratory methods and ranges of volumes can be found in Colford et al 25

Appendix B.  Range of concentrations for traditional and non-traditional water quality indicators (number/100 mL) and frequency of exceedance (N=1,897) of the State of California’s water quality threshold.

|  | Total No. of Samples | No. of Samples Below Detection | Geomean (No per 100mL) | Max. (No per 100mL) | No. of Samples Exceeding State Water Quality Threshold | State Water Quality Thresholdc |
| --- | --- | --- | --- | --- | --- | --- |
| Enterococcus-CSa | 1,897 | 585 | 29 | 57,940 | 265 | >104 |
| Fecal Coliform | 1,897 | 304 | 25 | 48,000 | 99 | >400 |
| Total Coliform | 1,897 | 808 | 102 | 45,000 | 5 | >10,000 |
| Total:Fecal Ratio | 1,897 | N/A | N/A | N/A | 75 | Total:Fecal < 10 When Total > 1,000 |
| Enterococcus- QPCRb | 790 | 46 | 65 | 141,053 | 351 | >104 |
| Bacteroides | 790 | 294 | 102 | 3,718,815 | N/A d | N/A |
| Adenovirus | 151 | 150 | - | 0.01 | N/A | N/A |
| Norovirus | 151 | 151 | - | - | N/A | N/A |
| Male-specific Phage | 141 | 125 | 0.2 | 0.78 | N/A | N/A |
| Somatic Phage | 141 | 45 | 0.6 | 36.6 | N/A | N/A |

a Chromogenic substrate method

b Quantitative polymerase chain reaction

c Threshold for single samples

d Not applicable

## Appendix C.  Adjusted odds ratios (swimmers vs. non-swimmers) for diarrhea and skin rash using various definitions of water exposure, stratified by racial category and age group.

|  | Any Water Exposure | Swallow Water |
| --- | --- | --- |
|  | Caucasian | Hispanic | Caucasian | Hispanic |
| Diarrhea |  |  |  |  |
| All Ages | 2.2 (1.5 – 33) | 0.98 (0.64 – 1.5) | 3.9 (2.3 – 6.66) | 1.4 (0.83 – 2.3) |
| 0 – 5 | 1.7 (0.56 – 5.4) | 0.68 (0.26 – 1.8) | 5.5 (1.4 – 22) | 1.1 (0.38 – 3.2) |
| >5 – 12 | 4.9 (0.64 – 37) | 2.7 (0.61 – 12) | 8.5 (1.1 – 68) | 3.0 (0.82 – 11) |
| >12 – 30 | 2.3 (0.98 – 5.6) | 1.2 (0.50 – 2.9) | 3.7 (1.1 – 12) | 1.7 (0.49 – 5.9) |
| >30 | 2.0 (1.2 – 3.2) | 0.69 (0.33 – 1.4) | 3.3 (1.2 – 9.0) | 0.88 (0.27 – 2.9) |
| Skin Rash |  |  |  |  |
| All Ages | 2.4 (1.8 – 3.3) | 2.1 (1.4 – 3.1) | 2.1 (1.4 – 3.2) | 2.0 (1.2 – 3.4) |
| 0 – 5 | 5.9 (1.8 – 19) | 12 (1.6 – 89) | 10 (2.3 – 46) | 13 (1.6 – 99) |
| >5 - 12 | 3.3 (1.3 – 8.2) | 2.7 (0.96 – 7.5) | 4.1 (1.4 – 12) | 3.0 (0.98 – 8.9) |
| >12 - 30 | 1.6 (0.89 – 2.9) | 1.4 (0.67 – 2.9) | 1.2 (0.46 – 2.9) | 1.2 (0.39 – 3.9) |
| >30 | 1.8 (1.0 – 3.3) | 1.1 (0.53 – 2.2) | 1.3 (0.39 – 4.5) | 1.2 (0.35 – 4.3) |

Appendix D.  Frequency (percent ill) reporting diarrhea and calculated attributable risk.

|  | Adjusted Attributable Risk* (95% CI) per 1000 swimmers | Percent ill – Adjusted |
| --- | --- | --- |
|  |  | Non-swimmers | Swimmers |
| Any Water Contact |  |  |  |
| All Ages | 11 (0.0 - 22) | 3.2 | 4.3 |
| 0 – 5 | -14 (-48 – 19) | 6.0 | 4.6 |
| >5 - 12 | 27 (-8.9 - 64) | 1.6 | 4.3 |
| >12 - 30 | 14 (-7.0 - 36) | 2.1 | 3.5 |
| >30 | 10 (-8.6 - 29) | 3.7 | 4.8 |
| Swallow Water |  |  |  |
| All Ages | 27 (8.9 – 46) | 3.3 | 6.0 |
| 0 - 5 | -1.6 (-4.3 - 39) | 6.1 | 5.9 |
| >5 - 12 | 59 (15 – 103) | 1.5 | 7.4 |
| >12 - 30 | 19 (-14 - 51) | 2.6 | 4.4 |
| >30 | 26 (-16 - 68) | 3.6 | 6.3 |

*expressed as excess cases per 1,000 swimmers

Appendix E.  Association of male-specific coliphage (defined as > 0.10 cfu per liter) with diarrhea

|  | Diarrhea Reported | No Diarrhea Reported | Total |
| --- | --- | --- | --- |
| Male-specific Phage Present | 8 | 153 | 161 |
| Absent | 195 | 3,878 | 4,073 |
| Total | 203 | 4,031 | 4,234 |