Table 3 (Supplemental Table). Reported complications for the implant system users from baseline to five-year follow-up.

\* Previously reported (11).

\*\* Includes all changes due to bent and fractured parts, not if the change was due to revision of components as a part of infection debridement or wear of the press-fit (reported in the text).

|  |  |  |  |
| --- | --- | --- | --- |
| S2-2 yrs \* |  | # complications | # patients |
| **Fixture loosening** | 4 | 4 |
| **Deep infection** | 6 | 4 |
|
| **Superficial infection** | 41 | 28 |
|
| **Mechanical complication** | 9 | 4 |
|
| 2-5 yrs | **Fixture loosening** | 0 | 0 |
| **Deep infection** | 8 | 7 |
|
| **Superficial infection** | 29 | 22 |
|
| **Mechanical complication\*\*** | 34 | 14 |
| Baseline- 5 yrs | **Fixture loosening** | 4 | 4 |
| **Deep infection** | 14 | 11 |
|
| **Superficial infection** | 70 | 34 |
|
| **Mechanical complication\*\*** | 43 | 15 |