**Supplemental Table.** ELISA assay manufacturer information (name and catalogue number), assay standard detection ranges, and assay sensitivity for all blood biomarkers.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Blood biomarker** | **Abbreviation** | **ELISA Kit Information** | | **Detection range** | | **Sensitivity**  **(pg/mL)** |
| **Manufacturer** | **Catalogue #** | **Minimum**  **(pg/mL)** | **Maximum**  **(pg/mL)** |
| Neuron-specific enolase | NSEa | Abcam | Ab217778 | 312.5 | 20000 | 23 |
| Neurofilament Light Chain | NfL | MyBiosource | MBS705750 | 31.25 | 2000 | 7.81b |
| S100 calcium binding protein B | S100B | ALPCO | 48-CBPHU-E01 | 78 | 5000 | 78 |
| Interleukin-6 | IL-6 | ALPCO | 45-IL6HU-E01 | 7.8 | 500 | 2.0 |

*Abbreviations:* pg—picograms; mL—milliliter

a Manufacturer presents detection range and sensitivity in pg/mL; however, our study data are presented as ng/mL to be consistent with the extant literature

b This value denotes the lower detection limit. No specificity is provided by the manufacturer for this assay.