| Table. Comparison of Responses on Cardiac Monitor Alarm Surveya Pre/Post Implementation of the Alarm Escalation Algorithm Percentage of participants who agreed or strongly agreed with selected survey questions |
| --- |
| Alarm Survey Questions | RN responses to national online surveyb N = 1324 | Pre Intervention N = 15 | Post Intervention N = 15 | % change Pre/Postc |
| 5 | Nuisance alarms occur frequently. | 84 | 80 | 80 | 0 |
| 6 | Nuisance alarms disrupt patient care. | 79 | 53 | 73 | 38↑ |
| 7 | Nuisance alarms reduce trust in alarms and cause care givers to turn alarms off. | 78 | 73 | 73 | 0 |
| 11 | The alarms used on my floor/area of the hospital are adequate to alert staff of changes in a patient’s condition. | 73 | 67 | 80 | 19↑ |
| 12 | There have been frequent instances where alarms could not be heard and were missed. | 27 | 20 | 20 | 0 |
| 13 | Staff is sensitive to alarms and responds quickly. | 70 | 40 | 73 | 83↑ |
| 18 | Alarm integration and communication systems via pager, cell phone, or other device are useful in improving alarms management/response. | 44 | 20 | 73 | 265↑ |
| aReprinted with permission of ACCE Healthcare Technology Foundation (HTF) 2011 bRN responses to national online clinical alarm survey conducted by the HTF (October 2011) cData represent comparison of paired pre/post responses after implementation of the intervention |