|  | 1st sample | 2nd sample | Range | Mean difference | 95%CI mean difference | SDdiff | SDD (95% LOA) | CVw (%) | LSC (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PaO2, mmHg | 105.70 ± 49.08 | 106.00 ± 48.60 | 52 to 249 | -0.31 | -1.79 to 1.18 | 4.78 | ± 9.37 | 3.19 | 8.84 |
| SaO2, % | 95.14 ± 5.32 | 95.14 ± 5.19 | 70 to 100 | 0.00 | -0.24 to 0.24 | 0.76 | ± 1.49 | 0.56 | 1.55 |
| PaCO2, mmHg | 41.95 ± 12.36 | 42.26 ± 12.35 | 24 to 82 | -0.31 | -0.60 to -0.02 | 0.92 | ± 1.80 | 1.54 | 4.27 |

Table S2. Repeatability of PaO2, SaO2, and PaCO2 in patients ventilated with PEEP > 10 cmH2O and FiO2 > 50% (n=42).

Mean difference, mean of the difference between the first and the second variables measurement; CI, confidence interval; SDdiff, SD of the difference between the first and the second variables measurement; SDD, smallest detectable difference; LOA, limits of agreement; CVw, within-subject coefficient of variation; LSC, least significant change; PaO2, arterial oxygen pressure; SaO2, arterial oxygen saturation; PaCO2, arterial carbon dioxide pressure; PEEP, positive end-expiratory pressure; FiO2, fraction of inspired oxygen.