|  | 1st sample | 2nd sample | Range | Mean difference | 95%CI mean difference | SDdiff | SDD (95% LOA) | CVw (%) | LSC (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PaO2, mmHg | 105.02 ± 38.62 | 104.56 ± 37.79 | 55 to 225 | 0.46 | -0.76 to 1.68 | 4.77 | ± 9.35 | 3.22 | 8.92 |
| SaO2, % | 95.54 ± 5.02 | 95.39 ± 5.21 | 70 to 100 | 0.15 | -0.076 to 0.37 | 0.87 | ± 1.70 | 0.64 | 1.77 |
| PcvO2, mmHg | 38.33 ± 7.75 | 38.70 ± 7.74 | 19 to 56 | -0.38 | -0.69 to -0.06 | 1.23 | ± 2.41 | 2.26 | 6.26 |
| ScvO2, % | 62.62 ± 15.13 | 62.66 ± 14.89 | 20 to 91 | -0.01 | -0.41 to 0.38 | 1.55 | ± 3.04 | 1.75 | 4.85 |
| PaCO2, mmHg | 39.05 ± 11.29 | 39.57 ± 11.37 | 22 to 82 | -0.52 | -0.72 to -0.33 | 0.77 | ± 1.51 | 1.38 | 3.82 |
| PcvCO2, mmHg | 45.79 ± 12.24 | 45.62 ± 11.89 | 29 to 93 | 0.16 | -0.12 to 0.45 | 1.13 | ± 2.21 | 1.75 | 4.85 |
| pHa | 7.32 ± 0.13 | 7.32 ± 0.13 | 6.83 to 7.53 | 0.00 | 0.002 to 0.007 | 0.009 | ± 0.017 | 0.087 | 0.24 |
| pHcv | 7.28 ± 0.13 | 7.28 ± 0.13 | 6.82 to 7.47 | 0.00 | -0.003 to 0.003 | 0.01 | ± 0.02 | 0.10 | 0.28 |
| ∆PCO2, mmHg | 6.56 ± 2.49 | 6.30 ± 2.40 | 3 to 14 | 0.13 | -0.15 to 0.41 | 1.10 | ± 2.16 | 12.1 | 33.54 |
| CaO2, mL | 13.84 ± 3.07 | 13.81 ± 3.11 | 8.34 to 20.74 | 0.02 | -0.018 to 0.062 | 0.16 | ± 0.31 | 0.82 | 2.27 |
| CcvO2, mL | 9.11 ± 3.20 | 9.12 ± 3.20 | 2.57 to 15.88 | 0.00 | -0.064 to 0.053 | 0.23 | ± 0.45 | 1.78 | 4.93 |
| ∆PCO2/C(a-cv)O2, mmHg/mL | 1.46 ± 0.49 | 1.40 ± 0.44 | 0.00 to 3.90 | 0.06 | -0.014 to 0.14 | 0.31 | ± 0.61 | 15.33 | 42.50 |
| PaO2/FiO2, mmHg | 236.0 ± 114.5 | 235.5 ± 112.7 | 68 to 648 | 0.49 | -2.14 to 3.12 | 10.26 | ± 20.11 | 3.08 | 8.54 |

Table S4. Repeatability of measured and calculated variables in septic shock patients (n=61).

Data are presented as mean ± SD. Mean difference, mean of the difference between the first and the

second variables measurement; CI, confidence interval; SDdiff, SD of the difference between the first

and the second variables measurement; SDD, smallest detectable difference; LOA, limits of agreement;

CVw, within subject coefficient of variation; LSC, least significant change; PaO2, arterial oxygen pressure;

SaO2, arterial oxygen saturation; PcvO2, central venous oxygen pressure; ScvO2, central venous oxygen

saturation; PaCO2, arterial carbon dioxide pressure; PcvCO2, central venous carbon dioxide pressure;

pHa, arterial pH; pHcv, central venous pH; ∆PCO2, central venous-to-arterial carbon dioxide tension

difference; CaO2, arterial oxygen content; CcvO2, central venous oxygen content; C(a-cv)O2, difference

between arterial and central venous oxygen content; PaO2, arterial oxygen pressure; FiO2, fraction inspired

oxygen.