Table e1- DBS settings post-surgery and during the follow up programming.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 5 days post-surgery | | 1-month post-surgery | | 2-month post-surgery | |
| Right GPi | Left GPi | Right GPi | Left GPi | Right GPi | Left GPi |
| 60 μs, 130 HZ | | 60 **μ**s, 180HZ | | 60 **μ**s, 180HZ | |
| C+ 0-1- 2V | C+ 8-9- 2V | C+ 0-1- 3V | C+ 8-9- 2.8V | C+ 0-1- 3V | C+ 8-9- 2.8V |

GPi- globus pallidus interna, C-contact, V-volts