## Sheet1
This spread sheet calculates Confidence limits for Bland-Altman Limits of Agreement
It uses 2-sided tolerance factors as described by Carkeet A, 2015
Exact parametric confidence intervals for Bland-Altman limits of agreement.
Optom. Vis. Sci. 92(3) e71-e80.
Input | Sample Size = |  | 10 | *Must be between 2 and 1001
| Mean of differences = |  | -0.08
| Standard deviation of differences = |  | 0.73 | * Must be positive
Output | Upper Limit of Agreement = |  | 1.3508
| Lower Limit of Agreement = |  | -1.5108
| Mean of differences |  | -0.08 | with confidence interval of +/- |  | 0.52221
| Mean of differences is |  | not signficantly different from 0
|  | two tailed t-testing | t= | -0.34655 | p= | 0.73689
|  | df= | 9
Outer (97.5%) Confidence Limits for LoAs
| There is a 97.5% probability that 95% of the differences lie between |  |  |  | 2.6725 | and | -2.8325
Inner (2.5%) Confidence Limits for LoAs
| There is a 2.5% probability that 95% of the differences lie between |  |  |  | 0.9358 | and | -1.0958

## Sheet2
2 | 0.9744 | 73.0772 | 10 | 0 | 0 | 0.73 | 1 | 10 | 10
3 | 1.1051 | 13.9396 | 10 | 0 | 0
4 | 1.1839 | 8.1045 | 10 | 0 | 0
5 | 1.2397 | 6.1569 | 10 | 0 | 0
6 | 1.2825 | 5.1983 | 10 | 0 | 0
7 | 1.317 | 4.6276 | 10 | 0 | 0
8 | 1.3457 | 4.2478 | 10 | 0 | 0
9 | 1.3702 | 3.9757 | 10 | 0 | 0
10 | 1.3915 | 3.7706 | 10 | 1.3915 | 3.7706
11 | 1.4102 | 3.61 | 10 | 1.3915 | 3.7706
12 | 1.4269 | 3.4805 | 10 | 1.3915 | 3.7706
13 | 1.4419 | 3.3736 | 10 | 1.3915 | 3.7706
14 | 1.4555 | 3.2837 | 10 | 1.3915 | 3.7706
15 | 1.468 | 3.2069 | 10 | 1.3915 | 3.7706
16 | 1.4794 | 3.1405 | 10 | 1.3915 | 3.7706
17 | 1.49 | 3.0824 | 10 | 1.3915 | 3.7706
18 | 1.4998 | 3.0311 | 10 | 1.3915 | 3.7706
19 | 1.5089 | 2.9854 | 10 | 1.3915 | 3.7706
20 | 1.5175 | 2.9445 | 10 | 1.3915 | 3.7706
21 | 1.5255 | 2.9075 | 10 | 1.3915 | 3.7706
22 | 1.533 | 2.8739 | 10 | 1.3915 | 3.7706
23 | 1.5401 | 2.8433 | 10 | 1.3915 | 3.7706
24 | 1.5469 | 2.8152 | 10 | 1.3915 | 3.7706
25 | 1.5533 | 2.7893 | 10 | 1.3915 | 3.7706
26 | 1.5593 | 2.7654 | 10 | 1.3915 | 3.7706
27 | 1.5651 | 2.7433 | 10 | 1.3915 | 3.7706
28 | 1.5706 | 2.7226 | 10 | 1.3915 | 3.7706
29 | 1.5758 | 2.7034 | 10 | 1.3915 | 3.7706
30 | 1.5808 | 2.6854 | 10 | 1.3915 | 3.7706
31 | 1.5856 | 2.6685 | 10 | 1.3915 | 3.7706
32 | 1.5902 | 2.6526 | 10 | 1.3915 | 3.7706
33 | 1.5947 | 2.6377 | 10 | 1.3915 | 3.7706
34 | 1.5989 | 2.6236 | 10 | 1.3915 | 3.7706
35 | 1.603 | 2.6102 | 10 | 1.3915 | 3.7706
36 | 1.607 | 2.5975 | 10 | 1.3915 | 3.7706
37 | 1.6108 | 2.5855 | 10 | 1.3915 | 3.7706
38 | 1.6144 | 2.5741 | 10 | 1.3915 | 3.7706
39 | 1.618 | 2.5632 | 10 | 1.3915 | 3.7706
40 | 1.6214 | 2.5528 | 10 | 1.3915 | 3.7706
41 | 1.6247 | 2.5429 | 10 | 1.3915 | 3.7706
42 | 1.628 | 2.5335 | 10 | 1.3915 | 3.7706
43 | 1.6311 | 2.5244 | 10 | 1.3915 | 3.7706
44 | 1.6341 | 2.5157 | 10 | 1.3915 | 3.7706
45 | 1.637 | 2.5074 | 10 | 1.3915 | 3.7706
46 | 1.6399 | 2.4994 | 10 | 1.3915 | 3.7706
47 | 1.6427 | 2.4917 | 10 | 1.3915 | 3.7706
48 | 1.6453 | 2.4843 | 10 | 1.3915 | 3.7706
49 | 1.648 | 2.4772 | 10 | 1.3915 | 3.7706
50 | 1.6505 | 2.4703 | 10 | 1.3915 | 3.7706
51 | 1.653 | 2.4637 | 10 | 1.3915 | 3.7706
52 | 1.6554 | 2.4573 | 10 | 1.3915 | 3.7706
53 | 1.6578 | 2.4511 | 10 | 1.3915 | 3.7706
54 | 1.6601 | 2.4452 | 10 | 1.3915 | 3.7706
55 | 1.6623 | 2.4394 | 10 | 1.3915 | 3.7706
56 | 1.6645 | 2.4338 | 10 | 1.3915 | 3.7706
57 | 1.6666 | 2.4284 | 10 | 1.3915 | 3.7706
58 | 1.6687 | 2.4232 | 10 | 1.3915 | 3.7706
59 | 1.6708 | 2.4181 | 10 | 1.3915 | 3.7706
60 | 1.6728 | 2.4132 | 10 | 1.3915 | 3.7706
61 | 1.6747 | 2.4084 | 10 | 1.3915 | 3.7706
62 | 1.6766 | 2.4037 | 10 | 1.3915 | 3.7706
63 | 1.6785 | 2.3992 | 10 | 1.3915 | 3.7706
64 | 1.6803 | 2.3948 | 10 | 1.3915 | 3.7706
65 | 1.6821 | 2.3905 | 10 | 1.3915 | 3.7706
66 | 1.6839 | 2.3864 | 10 | 1.3915 | 3.7706
67 | 1.6856 | 2.3823 | 10 | 1.3915 | 3.7706
68 | 1.6873 | 2.3784 | 10 | 1.3915 | 3.7706
69 | 1.6889 | 2.3745 | 10 | 1.3915 | 3.7706
70 | 1.6906 | 2.3708 | 10 | 1.3915 | 3.7706
71 | 1.6922 | 2.3671 | 10 | 1.3915 | 3.7706
72 | 1.6937 | 2.3636 | 10 | 1.3915 | 3.7706
73 | 1.6953 | 2.3601 | 10 | 1.3915 | 3.7706
74 | 1.6968 | 2.3567 | 10 | 1.3915 | 3.7706
75 | 1.6982 | 2.3534 | 10 | 1.3915 | 3.7706
76 | 1.6997 | 2.3501 | 10 | 1.3915 | 3.7706
77 | 1.7011 | 2.347 | 10 | 1.3915 | 3.7706
78 | 1.7025 | 2.3439 | 10 | 1.3915 | 3.7706
79 | 1.7039 | 2.3408 | 10 | 1.3915 | 3.7706
80 | 1.7052 | 2.3379 | 10 | 1.3915 | 3.7706
81 | 1.7066 | 2.335 | 10 | 1.3915 | 3.7706
82 | 1.7079 | 2.3321 | 10 | 1.3915 | 3.7706
83 | 1.7092 | 2.3294 | 10 | 1.3915 | 3.7706
84 | 1.7104 | 2.3266 | 10 | 1.3915 | 3.7706
85 | 1.7117 | 2.324 | 10 | 1.3915 | 3.7706
86 | 1.7129 | 2.3214 | 10 | 1.3915 | 3.7706
87 | 1.7141 | 2.3188 | 10 | 1.3915 | 3.7706
88 | 1.7153 | 2.3163 | 10 | 1.3915 | 3.7706
89 | 1.7165 | 2.3138 | 10 | 1.3915 | 3.7706
90 | 1.7176 | 2.3114 | 10 | 1.3915 | 3.7706
91 | 1.7188 | 2.309 | 10 | 1.3915 | 3.7706
92 | 1.7199 | 2.3067 | 10 | 1.3915 | 3.7706
93 | 1.721 | 2.3044 | 10 | 1.3915 | 3.7706
94 | 1.7221 | 2.3022 | 10 | 1.3915 | 3.7706
95 | 1.7232 | 2.3 | 10 | 1.3915 | 3.7706
96 | 1.7242 | 2.2978 | 10 | 1.3915 | 3.7706
97 | 1.7252 | 2.2957 | 10 | 1.3915 | 3.7706
98 | 1.7263 | 2.2936 | 10 | 1.3915 | 3.7706
99 | 1.7273 | 2.2916 | 10 | 1.3915 | 3.7706
100 | 1.7283 | 2.2896 | 10 | 1.3915 | 3.7706
101 | 1.7293 | 2.2876 | 10 | 1.3915 | 3.7706
102 | 1.7302 | 2.2856 | 10 | 1.3915 | 3.7706
103 | 1.7312 | 2.2837 | 10 | 1.3915 | 3.7706
104 | 1.7322 | 2.2818 | 10 | 1.3915 | 3.7706
105 | 1.7331 | 2.28 | 10 | 1.3915 | 3.7706
106 | 1.734 | 2.2782 | 10 | 1.3915 | 3.7706
107 | 1.7349 | 2.2764 | 10 | 1.3915 | 3.7706
108 | 1.7358 | 2.2746 | 10 | 1.3915 | 3.7706
109 | 1.7367 | 2.2729 | 10 | 1.3915 | 3.7706
110 | 1.7376 | 2.2712 | 10 | 1.3915 | 3.7706
111 | 1.7384 | 2.2695 | 10 | 1.3915 | 3.7706
112 | 1.7393 | 2.2678 | 10 | 1.3915 | 3.7706
113 | 1.7401 | 2.2662 | 10 | 1.3915 | 3.7706
114 | 1.741 | 2.2646 | 10 | 1.3915 | 3.7706
115 | 1.7418 | 2.263 | 10 | 1.3915 | 3.7706
116 | 1.7426 | 2.2614 | 10 | 1.3915 | 3.7706
117 | 1.7434 | 2.2599 | 10 | 1.3915 | 3.7706
118 | 1.7442 | 2.2584 | 10 | 1.3915 | 3.7706
119 | 1.745 | 2.2569 | 10 | 1.3915 | 3.7706
120 | 1.7458 | 2.2554 | 10 | 1.3915 | 3.7706
121 | 1.7466 | 2.2539 | 10 | 1.3915 | 3.7706
122 | 1.7473 | 2.2525 | 10 | 1.3915 | 3.7706
123 | 1.7481 | 2.2511 | 10 | 1.3915 | 3.7706
124 | 1.7488 | 2.2497 | 10 | 1.3915 | 3.7706
125 | 1.7495 | 2.2483 | 10 | 1.3915 | 3.7706
126 | 1.7503 | 2.247 | 10 | 1.3915 | 3.7706
127 | 1.751 | 2.2456 | 10 | 1.3915 | 3.7706
128 | 1.7517 | 2.2443 | 10 | 1.3915 | 3.7706
129 | 1.7524 | 2.243 | 10 | 1.3915 | 3.7706
130 | 1.7531 | 2.2417 | 10 | 1.3915 | 3.7706
131 | 1.7538 | 2.2404 | 10 | 1.3915 | 3.7706
132 | 1.7545 | 2.2392 | 10 | 1.3915 | 3.7706
133 | 1.7552 | 2.2379 | 10 | 1.3915 | 3.7706
134 | 1.7558 | 2.2367 | 10 | 1.3915 | 3.7706
135 | 1.7565 | 2.2355 | 10 | 1.3915 | 3.7706
136 | 1.7571 | 2.2343 | 10 | 1.3915 | 3.7706
137 | 1.7578 | 2.2331 | 10 | 1.3915 | 3.7706
138 | 1.7584 | 2.232 | 10 | 1.3915 | 3.7706
139 | 1.7591 | 2.2308 | 10 | 1.3915 | 3.7706
140 | 1.7597 | 2.2297 | 10 | 1.3915 | 3.7706
141 | 1.7603 | 2.2286 | 10 | 1.3915 | 3.7706
142 | 1.7609 | 2.2274 | 10 | 1.3915 | 3.7706
143 | 1.7615 | 2.2263 | 10 | 1.3915 | 3.7706
144 | 1.7621 | 2.2253 | 10 | 1.3915 | 3.7706
145 | 1.7627 | 2.2242 | 10 | 1.3915 | 3.7706
146 | 1.7633 | 2.2231 | 10 | 1.3915 | 3.7706
147 | 1.7639 | 2.2221 | 10 | 1.3915 | 3.7706
148 | 1.7645 | 2.221 | 10 | 1.3915 | 3.7706
149 | 1.7651 | 2.22 | 10 | 1.3915 | 3.7706
150 | 1.7657 | 2.219 | 10 | 1.3915 | 3.7706
151 | 1.7662 | 2.218 | 10 | 1.3915 | 3.7706
152 | 1.7668 | 2.217 | 10 | 1.3915 | 3.7706
153 | 1.7673 | 2.216 | 10 | 1.3915 | 3.7706
154 | 1.7679 | 2.2151 | 10 | 1.3915 | 3.7706
155 | 1.7684 | 2.2141 | 10 | 1.3915 | 3.7706
156 | 1.769 | 2.2131 | 10 | 1.3915 | 3.7706
157 | 1.7695 | 2.2122 | 10 | 1.3915 | 3.7706
158 | 1.77 | 2.2113 | 10 | 1.3915 | 3.7706
159 | 1.7706 | 2.2104 | 10 | 1.3915 | 3.7706
160 | 1.7711 | 2.2095 | 10 | 1.3915 | 3.7706
161 | 1.7716 | 2.2085 | 10 | 1.3915 | 3.7706
162 | 1.7721 | 2.2077 | 10 | 1.3915 | 3.7706
163 | 1.7726 | 2.2068 | 10 | 1.3915 | 3.7706
164 | 1.7731 | 2.2059 | 10 | 1.3915 | 3.7706
165 | 1.7736 | 2.205 | 10 | 1.3915 | 3.7706
166 | 1.7741 | 2.2042 | 10 | 1.3915 | 3.7706
167 | 1.7746 | 2.2033 | 10 | 1.3915 | 3.7706
168 | 1.7751 | 2.2025 | 10 | 1.3915 | 3.7706
169 | 1.7756 | 2.2017 | 10 | 1.3915 | 3.7706
170 | 1.7761 | 2.2008 | 10 | 1.3915 | 3.7706
171 | 1.7766 | 2.2 | 10 | 1.3915 | 3.7706
172 | 1.777 | 2.1992 | 10 | 1.3915 | 3.7706
173 | 1.7775 | 2.1984 | 10 | 1.3915 | 3.7706
174 | 1.778 | 2.1976 | 10 | 1.3915 | 3.7706
175 | 1.7784 | 2.1968 | 10 | 1.3915 | 3.7706
176 | 1.7789 | 2.1961 | 10 | 1.3915 | 3.7706
177 | 1.7793 | 2.1953 | 10 | 1.3915 | 3.7706
178 | 1.7798 | 2.1945 | 10 | 1.3915 | 3.7706
179 | 1.7802 | 2.1938 | 10 | 1.3915 | 3.7706
180 | 1.7807 | 2.193 | 10 | 1.3915 | 3.7706
181 | 1.7811 | 2.1923 | 10 | 1.3915 | 3.7706
182 | 1.7816 | 2.1916 | 10 | 1.3915 | 3.7706
183 | 1.782 | 2.1908 | 10 | 1.3915 | 3.7706
184 | 1.7824 | 2.1901 | 10 | 1.3915 | 3.7706
185 | 1.7828 | 2.1894 | 10 | 1.3915 | 3.7706
186 | 1.7833 | 2.1887 | 10 | 1.3915 | 3.7706
187 | 1.7837 | 2.188 | 10 | 1.3915 | 3.7706
188 | 1.7841 | 2.1873 | 10 | 1.3915 | 3.7706
189 | 1.7845 | 2.1866 | 10 | 1.3915 | 3.7706
190 | 1.7849 | 2.1859 | 10 | 1.3915 | 3.7706
191 | 1.7853 | 2.1852 | 10 | 1.3915 | 3.7706
192 | 1.7857 | 2.1846 | 10 | 1.3915 | 3.7706
193 | 1.7862 | 2.1839 | 10 | 1.3915 | 3.7706
194 | 1.7866 | 2.1832 | 10 | 1.3915 | 3.7706
195 | 1.7869 | 2.1826 | 10 | 1.3915 | 3.7706
196 | 1.7873 | 2.1819 | 10 | 1.3915 | 3.7706
197 | 1.7877 | 2.1813 | 10 | 1.3915 | 3.7706
198 | 1.7881 | 2.1806 | 10 | 1.3915 | 3.7706
199 | 1.7885 | 2.18 | 10 | 1.3915 | 3.7706
200 | 1.7889 | 2.1794 | 10 | 1.3915 | 3.7706
201 | 1.7893 | 2.1788 | 10 | 1.3915 | 3.7706
202 | 1.7896 | 2.1781 | 10 | 1.3915 | 3.7706
203 | 1.79 | 2.1775 | 10 | 1.3915 | 3.7706
204 | 1.7904 | 2.1769 | 10 | 1.3915 | 3.7706
205 | 1.7908 | 2.1763 | 10 | 1.3915 | 3.7706
206 | 1.7911 | 2.1757 | 10 | 1.3915 | 3.7706
207 | 1.7915 | 2.1751 | 10 | 1.3915 | 3.7706
208 | 1.7919 | 2.1745 | 10 | 1.3915 | 3.7706
209 | 1.7922 | 2.1739 | 10 | 1.3915 | 3.7706
210 | 1.7926 | 2.1734 | 10 | 1.3915 | 3.7706
211 | 1.7929 | 2.1728 | 10 | 1.3915 | 3.7706
212 | 1.7933 | 2.1722 | 10 | 1.3915 | 3.7706
213 | 1.7936 | 2.1716 | 10 | 1.3915 | 3.7706
214 | 1.794 | 2.1711 | 10 | 1.3915 | 3.7706
215 | 1.7943 | 2.1705 | 10 | 1.3915 | 3.7706
216 | 1.7947 | 2.17 | 10 | 1.3915 | 3.7706
217 | 1.795 | 2.1694 | 10 | 1.3915 | 3.7706
218 | 1.7954 | 2.1689 | 10 | 1.3915 | 3.7706
219 | 1.7957 | 2.1683 | 10 | 1.3915 | 3.7706
220 | 1.796 | 2.1678 | 10 | 1.3915 | 3.7706
221 | 1.7964 | 2.1673 | 10 | 1.3915 | 3.7706
222 | 1.7967 | 2.1667 | 10 | 1.3915 | 3.7706
223 | 1.797 | 2.1662 | 10 | 1.3915 | 3.7706
224 | 1.7973 | 2.1657 | 10 | 1.3915 | 3.7706
225 | 1.7977 | 2.1652 | 10 | 1.3915 | 3.7706
226 | 1.798 | 2.1646 | 10 | 1.3915 | 3.7706
227 | 1.7983 | 2.1641 | 10 | 1.3915 | 3.7706
228 | 1.7986 | 2.1636 | 10 | 1.3915 | 3.7706
229 | 1.799 | 2.1631 | 10 | 1.3915 | 3.7706
230 | 1.7993 | 2.1626 | 10 | 1.3915 | 3.7706
231 | 1.7996 | 2.1621 | 10 | 1.3915 | 3.7706
232 | 1.7999 | 2.1616 | 10 | 1.3915 | 3.7706
233 | 1.8002 | 2.1611 | 10 | 1.3915 | 3.7706
234 | 1.8005 | 2.1607 | 10 | 1.3915 | 3.7706
235 | 1.8008 | 2.1602 | 10 | 1.3915 | 3.7706
236 | 1.8011 | 2.1597 | 10 | 1.3915 | 3.7706
237 | 1.8014 | 2.1592 | 10 | 1.3915 | 3.7706
238 | 1.8017 | 2.1587 | 10 | 1.3915 | 3.7706
239 | 1.802 | 2.1583 | 10 | 1.3915 | 3.7706
240 | 1.8023 | 2.1578 | 10 | 1.3915 | 3.7706
241 | 1.8026 | 2.1573 | 10 | 1.3915 | 3.7706
242 | 1.8029 | 2.1569 | 10 | 1.3915 | 3.7706
243 | 1.8032 | 2.1564 | 10 | 1.3915 | 3.7706
244 | 1.8035 | 2.156 | 10 | 1.3915 | 3.7706
245 | 1.8038 | 2.1555 | 10 | 1.3915 | 3.7706
246 | 1.8041 | 2.1551 | 10 | 1.3915 | 3.7706
247 | 1.8043 | 2.1546 | 10 | 1.3915 | 3.7706
248 | 1.8046 | 2.1542 | 10 | 1.3915 | 3.7706
249 | 1.8049 | 2.1537 | 10 | 1.3915 | 3.7706
250 | 1.8052 | 2.1533 | 10 | 1.3915 | 3.7706
251 | 1.8055 | 2.1529 | 10 | 1.3915 | 3.7706
252 | 1.8057 | 2.1524 | 10 | 1.3915 | 3.7706
253 | 1.806 | 2.152 | 10 | 1.3915 | 3.7706
254 | 1.8063 | 2.1516 | 10 | 1.3915 | 3.7706
255 | 1.8066 | 2.1512 | 10 | 1.3915 | 3.7706
256 | 1.8068 | 2.1507 | 10 | 1.3915 | 3.7706
257 | 1.8071 | 2.1503 | 10 | 1.3915 | 3.7706
258 | 1.8074 | 2.1499 | 10 | 1.3915 | 3.7706
259 | 1.8076 | 2.1495 | 10 | 1.3915 | 3.7706
260 | 1.8079 | 2.1491 | 10 | 1.3915 | 3.7706
261 | 1.8082 | 2.1487 | 10 | 1.3915 | 3.7706
262 | 1.8084 | 2.1483 | 10 | 1.3915 | 3.7706
263 | 1.8087 | 2.1479 | 10 | 1.3915 | 3.7706
264 | 1.8089 | 2.1475 | 10 | 1.3915 | 3.7706
265 | 1.8092 | 2.1471 | 10 | 1.3915 | 3.7706
266 | 1.8095 | 2.1467 | 10 | 1.3915 | 3.7706
267 | 1.8097 | 2.1463 | 10 | 1.3915 | 3.7706
268 | 1.81 | 2.1459 | 10 | 1.3915 | 3.7706
269 | 1.8102 | 2.1455 | 10 | 1.3915 | 3.7706
270 | 1.8105 | 2.1451 | 10 | 1.3915 | 3.7706
271 | 1.8107 | 2.1448 | 10 | 1.3915 | 3.7706
272 | 1.811 | 2.1444 | 10 | 1.3915 | 3.7706
273 | 1.8112 | 2.144 | 10 | 1.3915 | 3.7706
274 | 1.8115 | 2.1436 | 10 | 1.3915 | 3.7706
275 | 1.8117 | 2.1432 | 10 | 1.3915 | 3.7706
276 | 1.812 | 2.1429 | 10 | 1.3915 | 3.7706
277 | 1.8122 | 2.1425 | 10 | 1.3915 | 3.7706
278 | 1.8124 | 2.1421 | 10 | 1.3915 | 3.7706
279 | 1.8127 | 2.1418 | 10 | 1.3915 | 3.7706
280 | 1.8129 | 2.1414 | 10 | 1.3915 | 3.7706
281 | 1.8132 | 2.141 | 10 | 1.3915 | 3.7706
282 | 1.8134 | 2.1407 | 10 | 1.3915 | 3.7706
283 | 1.8136 | 2.1403 | 10 | 1.3915 | 3.7706
284 | 1.8139 | 2.14 | 10 | 1.3915 | 3.7706
285 | 1.8141 | 2.1396 | 10 | 1.3915 | 3.7706
286 | 1.8143 | 2.1393 | 10 | 1.3915 | 3.7706
287 | 1.8146 | 2.1389 | 10 | 1.3915 | 3.7706
288 | 1.8148 | 2.1386 | 10 | 1.3915 | 3.7706
289 | 1.815 | 2.1382 | 10 | 1.3915 | 3.7706
290 | 1.8152 | 2.1379 | 10 | 1.3915 | 3.7706
291 | 1.8155 | 2.1375 | 10 | 1.3915 | 3.7706
292 | 1.8157 | 2.1372 | 10 | 1.3915 | 3.7706
293 | 1.8159 | 2.1369 | 10 | 1.3915 | 3.7706
294 | 1.8161 | 2.1365 | 10 | 1.3915 | 3.7706
295 | 1.8164 | 2.1362 | 10 | 1.3915 | 3.7706
296 | 1.8166 | 2.1359 | 10 | 1.3915 | 3.7706
297 | 1.8168 | 2.1355 | 10 | 1.3915 | 3.7706
298 | 1.817 | 2.1352 | 10 | 1.3915 | 3.7706
299 | 1.8172 | 2.1349 | 10 | 1.3915 | 3.7706
300 | 1.8175 | 2.1346 | 10 | 1.3915 | 3.7706
301 | 1.8177 | 2.1342 | 10 | 1.3915 | 3.7706
302 | 1.8179 | 2.1339 | 10 | 1.3915 | 3.7706
303 | 1.8181 | 2.1336 | 10 | 1.3915 | 3.7706
304 | 1.8183 | 2.1333 | 10 | 1.3915 | 3.7706
305 | 1.8185 | 2.133 | 10 | 1.3915 | 3.7706
306 | 1.8187 | 2.1326 | 10 | 1.3915 | 3.7706
307 | 1.8189 | 2.1323 | 10 | 1.3915 | 3.7706
308 | 1.8192 | 2.132 | 10 | 1.3915 | 3.7706
309 | 1.8194 | 2.1317 | 10 | 1.3915 | 3.7706
310 | 1.8196 | 2.1314 | 10 | 1.3915 | 3.7706
311 | 1.8198 | 2.1311 | 10 | 1.3915 | 3.7706
312 | 1.82 | 2.1308 | 10 | 1.3915 | 3.7706
313 | 1.8202 | 2.1305 | 10 | 1.3915 | 3.7706
314 | 1.8204 | 2.1302 | 10 | 1.3915 | 3.7706
315 | 1.8206 | 2.1299 | 10 | 1.3915 | 3.7706
316 | 1.8208 | 2.1296 | 10 | 1.3915 | 3.7706
317 | 1.821 | 2.1293 | 10 | 1.3915 | 3.7706
318 | 1.8212 | 2.129 | 10 | 1.3915 | 3.7706
319 | 1.8214 | 2.1287 | 10 | 1.3915 | 3.7706
320 | 1.8216 | 2.1284 | 10 | 1.3915 | 3.7706
321 | 1.8218 | 2.1281 | 10 | 1.3915 | 3.7706
322 | 1.822 | 2.1278 | 10 | 1.3915 | 3.7706
323 | 1.8222 | 2.1275 | 10 | 1.3915 | 3.7706
324 | 1.8224 | 2.1272 | 10 | 1.3915 | 3.7706
325 | 1.8226 | 2.127 | 10 | 1.3915 | 3.7706
326 | 1.8228 | 2.1267 | 10 | 1.3915 | 3.7706
327 | 1.8229 | 2.1264 | 10 | 1.3915 | 3.7706
328 | 1.8231 | 2.1261 | 10 | 1.3915 | 3.7706
329 | 1.8233 | 2.1258 | 10 | 1.3915 | 3.7706
330 | 1.8235 | 2.1256 | 10 | 1.3915 | 3.7706
331 | 1.8237 | 2.1253 | 10 | 1.3915 | 3.7706
332 | 1.8239 | 2.125 | 10 | 1.3915 | 3.7706
333 | 1.8241 | 2.1247 | 10 | 1.3915 | 3.7706
334 | 1.8243 | 2.1245 | 10 | 1.3915 | 3.7706
335 | 1.8244 | 2.1242 | 10 | 1.3915 | 3.7706
336 | 1.8246 | 2.1239 | 10 | 1.3915 | 3.7706
337 | 1.8248 | 2.1236 | 10 | 1.3915 | 3.7706
338 | 1.825 | 2.1234 | 10 | 1.3915 | 3.7706
339 | 1.8252 | 2.1231 | 10 | 1.3915 | 3.7706
340 | 1.8254 | 2.1228 | 10 | 1.3915 | 3.7706
341 | 1.8255 | 2.1226 | 10 | 1.3915 | 3.7706
342 | 1.8257 | 2.1223 | 10 | 1.3915 | 3.7706
343 | 1.8259 | 2.1221 | 10 | 1.3915 | 3.7706
344 | 1.8261 | 2.1218 | 10 | 1.3915 | 3.7706
345 | 1.8263 | 2.1215 | 10 | 1.3915 | 3.7706
346 | 1.8264 | 2.1213 | 10 | 1.3915 | 3.7706
347 | 1.8266 | 2.121 | 10 | 1.3915 | 3.7706
348 | 1.8268 | 2.1208 | 10 | 1.3915 | 3.7706
349 | 1.827 | 2.1205 | 10 | 1.3915 | 3.7706
350 | 1.8271 | 2.1203 | 10 | 1.3915 | 3.7706
351 | 1.8273 | 2.12 | 10 | 1.3915 | 3.7706
352 | 1.8275 | 2.1198 | 10 | 1.3915 | 3.7706
353 | 1.8277 | 2.1195 | 10 | 1.3915 | 3.7706
354 | 1.8278 | 2.1193 | 10 | 1.3915 | 3.7706
355 | 1.828 | 2.119 | 10 | 1.3915 | 3.7706
356 | 1.8282 | 2.1188 | 10 | 1.3915 | 3.7706
357 | 1.8283 | 2.1185 | 10 | 1.3915 | 3.7706
358 | 1.8285 | 2.1183 | 10 | 1.3915 | 3.7706
359 | 1.8287 | 2.118 | 10 | 1.3915 | 3.7706
360 | 1.8288 | 2.1178 | 10 | 1.3915 | 3.7706
361 | 1.829 | 2.1175 | 10 | 1.3915 | 3.7706
362 | 1.8292 | 2.1173 | 10 | 1.3915 | 3.7706
363 | 1.8293 | 2.1171 | 10 | 1.3915 | 3.7706
364 | 1.8295 | 2.1168 | 10 | 1.3915 | 3.7706
365 | 1.8297 | 2.1166 | 10 | 1.3915 | 3.7706
366 | 1.8298 | 2.1164 | 10 | 1.3915 | 3.7706
367 | 1.83 | 2.1161 | 10 | 1.3915 | 3.7706
368 | 1.8302 | 2.1159 | 10 | 1.3915 | 3.7706
369 | 1.8303 | 2.1157 | 10 | 1.3915 | 3.7706
370 | 1.8305 | 2.1154 | 10 | 1.3915 | 3.7706
371 | 1.8306 | 2.1152 | 10 | 1.3915 | 3.7706
372 | 1.8308 | 2.115 | 10 | 1.3915 | 3.7706
373 | 1.831 | 2.1147 | 10 | 1.3915 | 3.7706
374 | 1.8311 | 2.1145 | 10 | 1.3915 | 3.7706
375 | 1.8313 | 2.1143 | 10 | 1.3915 | 3.7706
376 | 1.8314 | 2.1141 | 10 | 1.3915 | 3.7706
377 | 1.8316 | 2.1138 | 10 | 1.3915 | 3.7706
378 | 1.8317 | 2.1136 | 10 | 1.3915 | 3.7706
379 | 1.8319 | 2.1134 | 10 | 1.3915 | 3.7706
380 | 1.8321 | 2.1132 | 10 | 1.3915 | 3.7706
381 | 1.8322 | 2.1129 | 10 | 1.3915 | 3.7706
382 | 1.8324 | 2.1127 | 10 | 1.3915 | 3.7706
383 | 1.8325 | 2.1125 | 10 | 1.3915 | 3.7706
384 | 1.8327 | 2.1123 | 10 | 1.3915 | 3.7706
385 | 1.8328 | 2.1121 | 10 | 1.3915 | 3.7706
386 | 1.833 | 2.1118 | 10 | 1.3915 | 3.7706
387 | 1.8331 | 2.1116 | 10 | 1.3915 | 3.7706
388 | 1.8333 | 2.1114 | 10 | 1.3915 | 3.7706
389 | 1.8334 | 2.1112 | 10 | 1.3915 | 3.7706
390 | 1.8336 | 2.111 | 10 | 1.3915 | 3.7706
391 | 1.8337 | 2.1108 | 10 | 1.3915 | 3.7706
392 | 1.8339 | 2.1106 | 10 | 1.3915 | 3.7706
393 | 1.834 | 2.1104 | 10 | 1.3915 | 3.7706
394 | 1.8342 | 2.1101 | 10 | 1.3915 | 3.7706
395 | 1.8343 | 2.1099 | 10 | 1.3915 | 3.7706
396 | 1.8345 | 2.1097 | 10 | 1.3915 | 3.7706
397 | 1.8346 | 2.1095 | 10 | 1.3915 | 3.7706
398 | 1.8347 | 2.1093 | 10 | 1.3915 | 3.7706
399 | 1.8349 | 2.1091 | 10 | 1.3915 | 3.7706
400 | 1.835 | 2.1089 | 10 | 1.3915 | 3.7706
401 | 1.8352 | 2.1087 | 10 | 1.3915 | 3.7706
402 | 1.8353 | 2.1085 | 10 | 1.3915 | 3.7706
403 | 1.8355 | 2.1083 | 10 | 1.3915 | 3.7706
404 | 1.8356 | 2.1081 | 10 | 1.3915 | 3.7706
405 | 1.8357 | 2.1079 | 10 | 1.3915 | 3.7706
406 | 1.8359 | 2.1077 | 10 | 1.3915 | 3.7706
407 | 1.836 | 2.1075 | 10 | 1.3915 | 3.7706
408 | 1.8362 | 2.1073 | 10 | 1.3915 | 3.7706
409 | 1.8363 | 2.1071 | 10 | 1.3915 | 3.7706
410 | 1.8364 | 2.1069 | 10 | 1.3915 | 3.7706
411 | 1.8366 | 2.1067 | 10 | 1.3915 | 3.7706
412 | 1.8367 | 2.1065 | 10 | 1.3915 | 3.7706
413 | 1.8369 | 2.1063 | 10 | 1.3915 | 3.7706
414 | 1.837 | 2.1061 | 10 | 1.3915 | 3.7706
415 | 1.8371 | 2.1059 | 10 | 1.3915 | 3.7706
416 | 1.8373 | 2.1057 | 10 | 1.3915 | 3.7706
417 | 1.8374 | 2.1055 | 10 | 1.3915 | 3.7706
418 | 1.8375 | 2.1054 | 10 | 1.3915 | 3.7706
419 | 1.8377 | 2.1052 | 10 | 1.3915 | 3.7706
420 | 1.8378 | 2.105 | 10 | 1.3915 | 3.7706
421 | 1.8379 | 2.1048 | 10 | 1.3915 | 3.7706
422 | 1.8381 | 2.1046 | 10 | 1.3915 | 3.7706
423 | 1.8382 | 2.1044 | 10 | 1.3915 | 3.7706
424 | 1.8383 | 2.1042 | 10 | 1.3915 | 3.7706
425 | 1.8385 | 2.104 | 10 | 1.3915 | 3.7706
426 | 1.8386 | 2.1039 | 10 | 1.3915 | 3.7706
427 | 1.8387 | 2.1037 | 10 | 1.3915 | 3.7706
428 | 1.8389 | 2.1035 | 10 | 1.3915 | 3.7706
429 | 1.839 | 2.1033 | 10 | 1.3915 | 3.7706
430 | 1.8391 | 2.1031 | 10 | 1.3915 | 3.7706
431 | 1.8393 | 2.1029 | 10 | 1.3915 | 3.7706
432 | 1.8394 | 2.1028 | 10 | 1.3915 | 3.7706
433 | 1.8395 | 2.1026 | 10 | 1.3915 | 3.7706
434 | 1.8396 | 2.1024 | 10 | 1.3915 | 3.7706
435 | 1.8398 | 2.1022 | 10 | 1.3915 | 3.7706
436 | 1.8399 | 2.102 | 10 | 1.3915 | 3.7706
437 | 1.84 | 2.1019 | 10 | 1.3915 | 3.7706
438 | 1.8402 | 2.1017 | 10 | 1.3915 | 3.7706
439 | 1.8403 | 2.1015 | 10 | 1.3915 | 3.7706
440 | 1.8404 | 2.1013 | 10 | 1.3915 | 3.7706
441 | 1.8405 | 2.1012 | 10 | 1.3915 | 3.7706
442 | 1.8407 | 2.101 | 10 | 1.3915 | 3.7706
443 | 1.8408 | 2.1008 | 10 | 1.3915 | 3.7706
444 | 1.8409 | 2.1006 | 10 | 1.3915 | 3.7706
445 | 1.841 | 2.1005 | 10 | 1.3915 | 3.7706
446 | 1.8412 | 2.1003 | 10 | 1.3915 | 3.7706
447 | 1.8413 | 2.1001 | 10 | 1.3915 | 3.7706
448 | 1.8414 | 2.1 | 10 | 1.3915 | 3.7706
449 | 1.8415 | 2.0998 | 10 | 1.3915 | 3.7706
450 | 1.8416 | 2.0996 | 10 | 1.3915 | 3.7706
451 | 1.8418 | 2.0994 | 10 | 1.3915 | 3.7706
452 | 1.8419 | 2.0993 | 10 | 1.3915 | 3.7706
453 | 1.842 | 2.0991 | 10 | 1.3915 | 3.7706
454 | 1.8421 | 2.0989 | 10 | 1.3915 | 3.7706
455 | 1.8422 | 2.0988 | 10 | 1.3915 | 3.7706
456 | 1.8424 | 2.0986 | 10 | 1.3915 | 3.7706
457 | 1.8425 | 2.0984 | 10 | 1.3915 | 3.7706
458 | 1.8426 | 2.0983 | 10 | 1.3915 | 3.7706
459 | 1.8427 | 2.0981 | 10 | 1.3915 | 3.7706
460 | 1.8428 | 2.0979 | 10 | 1.3915 | 3.7706
461 | 1.843 | 2.0978 | 10 | 1.3915 | 3.7706
462 | 1.8431 | 2.0976 | 10 | 1.3915 | 3.7706
463 | 1.8432 | 2.0975 | 10 | 1.3915 | 3.7706
464 | 1.8433 | 2.0973 | 10 | 1.3915 | 3.7706
465 | 1.8434 | 2.0971 | 10 | 1.3915 | 3.7706
466 | 1.8435 | 2.097 | 10 | 1.3915 | 3.7706
467 | 1.8437 | 2.0968 | 10 | 1.3915 | 3.7706
468 | 1.8438 | 2.0967 | 10 | 1.3915 | 3.7706
469 | 1.8439 | 2.0965 | 10 | 1.3915 | 3.7706
470 | 1.844 | 2.0963 | 10 | 1.3915 | 3.7706
471 | 1.8441 | 2.0962 | 10 | 1.3915 | 3.7706
472 | 1.8442 | 2.096 | 10 | 1.3915 | 3.7706
473 | 1.8443 | 2.0959 | 10 | 1.3915 | 3.7706
474 | 1.8445 | 2.0957 | 10 | 1.3915 | 3.7706
475 | 1.8446 | 2.0956 | 10 | 1.3915 | 3.7706
476 | 1.8447 | 2.0954 | 10 | 1.3915 | 3.7706
477 | 1.8448 | 2.0953 | 10 | 1.3915 | 3.7706
478 | 1.8449 | 2.0951 | 10 | 1.3915 | 3.7706
479 | 1.845 | 2.0949 | 10 | 1.3915 | 3.7706
480 | 1.8451 | 2.0948 | 10 | 1.3915 | 3.7706
481 | 1.8452 | 2.0946 | 10 | 1.3915 | 3.7706
482 | 1.8453 | 2.0945 | 10 | 1.3915 | 3.7706
483 | 1.8455 | 2.0943 | 10 | 1.3915 | 3.7706
484 | 1.8456 | 2.0942 | 10 | 1.3915 | 3.7706
485 | 1.8457 | 2.094 | 10 | 1.3915 | 3.7706
486 | 1.8458 | 2.0939 | 10 | 1.3915 | 3.7706
487 | 1.8459 | 2.0937 | 10 | 1.3915 | 3.7706
488 | 1.846 | 2.0936 | 10 | 1.3915 | 3.7706
489 | 1.8461 | 2.0934 | 10 | 1.3915 | 3.7706
490 | 1.8462 | 2.0933 | 10 | 1.3915 | 3.7706
491 | 1.8463 | 2.0931 | 10 | 1.3915 | 3.7706
492 | 1.8464 | 2.093 | 10 | 1.3915 | 3.7706
493 | 1.8465 | 2.0928 | 10 | 1.3915 | 3.7706
494 | 1.8466 | 2.0927 | 10 | 1.3915 | 3.7706
495 | 1.8468 | 2.0926 | 10 | 1.3915 | 3.7706
496 | 1.8469 | 2.0924 | 10 | 1.3915 | 3.7706
497 | 1.847 | 2.0923 | 10 | 1.3915 | 3.7706
498 | 1.8471 | 2.0921 | 10 | 1.3915 | 3.7706
499 | 1.8472 | 2.092 | 10 | 1.3915 | 3.7706
500 | 1.8473 | 2.0918 | 10 | 1.3915 | 3.7706
501 | 1.8474 | 2.0917 | 10 | 1.3915 | 3.7706
502 | 1.8475 | 2.0915 | 10 | 1.3915 | 3.7706
503 | 1.8476 | 2.0914 | 10 | 1.3915 | 3.7706
504 | 1.8477 | 2.0913 | 10 | 1.3915 | 3.7706
505 | 1.8478 | 2.0911 | 10 | 1.3915 | 3.7706
506 | 1.8479 | 2.091 | 10 | 1.3915 | 3.7706
507 | 1.848 | 2.0908 | 10 | 1.3915 | 3.7706
508 | 1.8481 | 2.0907 | 10 | 1.3915 | 3.7706
509 | 1.8482 | 2.0906 | 10 | 1.3915 | 3.7706
510 | 1.8483 | 2.0904 | 10 | 1.3915 | 3.7706
511 | 1.8484 | 2.0903 | 10 | 1.3915 | 3.7706
512 | 1.8485 | 2.0901 | 10 | 1.3915 | 3.7706
513 | 1.8486 | 2.09 | 10 | 1.3915 | 3.7706
514 | 1.8487 | 2.0899 | 10 | 1.3915 | 3.7706
515 | 1.8488 | 2.0897 | 10 | 1.3915 | 3.7706
516 | 1.8489 | 2.0896 | 10 | 1.3915 | 3.7706
517 | 1.849 | 2.0895 | 10 | 1.3915 | 3.7706
518 | 1.8491 | 2.0893 | 10 | 1.3915 | 3.7706
519 | 1.8492 | 2.0892 | 10 | 1.3915 | 3.7706
520 | 1.8493 | 2.0891 | 10 | 1.3915 | 3.7706
521 | 1.8494 | 2.0889 | 10 | 1.3915 | 3.7706
522 | 1.8495 | 2.0888 | 10 | 1.3915 | 3.7706
523 | 1.8496 | 2.0887 | 10 | 1.3915 | 3.7706
524 | 1.8497 | 2.0885 | 10 | 1.3915 | 3.7706
525 | 1.8498 | 2.0884 | 10 | 1.3915 | 3.7706
526 | 1.8499 | 2.0883 | 10 | 1.3915 | 3.7706
527 | 1.85 | 2.0881 | 10 | 1.3915 | 3.7706
528 | 1.8501 | 2.088 | 10 | 1.3915 | 3.7706
529 | 1.8502 | 2.0879 | 10 | 1.3915 | 3.7706
530 | 1.8503 | 2.0877 | 10 | 1.3915 | 3.7706
531 | 1.8504 | 2.0876 | 10 | 1.3915 | 3.7706
532 | 1.8505 | 2.0875 | 10 | 1.3915 | 3.7706
533 | 1.8506 | 2.0873 | 10 | 1.3915 | 3.7706
534 | 1.8507 | 2.0872 | 10 | 1.3915 | 3.7706
535 | 1.8508 | 2.0871 | 10 | 1.3915 | 3.7706
536 | 1.8509 | 2.087 | 10 | 1.3915 | 3.7706
537 | 1.851 | 2.0868 | 10 | 1.3915 | 3.7706
538 | 1.851 | 2.0867 | 10 | 1.3915 | 3.7706
539 | 1.8511 | 2.0866 | 10 | 1.3915 | 3.7706
540 | 1.8512 | 2.0864 | 10 | 1.3915 | 3.7706
541 | 1.8513 | 2.0863 | 10 | 1.3915 | 3.7706
542 | 1.8514 | 2.0862 | 10 | 1.3915 | 3.7706
543 | 1.8515 | 2.0861 | 10 | 1.3915 | 3.7706
544 | 1.8516 | 2.0859 | 10 | 1.3915 | 3.7706
545 | 1.8517 | 2.0858 | 10 | 1.3915 | 3.7706
546 | 1.8518 | 2.0857 | 10 | 1.3915 | 3.7706
547 | 1.8519 | 2.0856 | 10 | 1.3915 | 3.7706
548 | 1.852 | 2.0854 | 10 | 1.3915 | 3.7706
549 | 1.8521 | 2.0853 | 10 | 1.3915 | 3.7706
550 | 1.8522 | 2.0852 | 10 | 1.3915 | 3.7706
551 | 1.8523 | 2.0851 | 10 | 1.3915 | 3.7706
552 | 1.8523 | 2.085 | 10 | 1.3915 | 3.7706
553 | 1.8524 | 2.0848 | 10 | 1.3915 | 3.7706
554 | 1.8525 | 2.0847 | 10 | 1.3915 | 3.7706
555 | 1.8526 | 2.0846 | 10 | 1.3915 | 3.7706
556 | 1.8527 | 2.0845 | 10 | 1.3915 | 3.7706
557 | 1.8528 | 2.0843 | 10 | 1.3915 | 3.7706
558 | 1.8529 | 2.0842 | 10 | 1.3915 | 3.7706
559 | 1.853 | 2.0841 | 10 | 1.3915 | 3.7706
560 | 1.8531 | 2.084 | 10 | 1.3915 | 3.7706
561 | 1.8532 | 2.0839 | 10 | 1.3915 | 3.7706
562 | 1.8532 | 2.0837 | 10 | 1.3915 | 3.7706
563 | 1.8533 | 2.0836 | 10 | 1.3915 | 3.7706
564 | 1.8534 | 2.0835 | 10 | 1.3915 | 3.7706
565 | 1.8535 | 2.0834 | 10 | 1.3915 | 3.7706
566 | 1.8536 | 2.0833 | 10 | 1.3915 | 3.7706
567 | 1.8537 | 2.0832 | 10 | 1.3915 | 3.7706
568 | 1.8538 | 2.083 | 10 | 1.3915 | 3.7706
569 | 1.8539 | 2.0829 | 10 | 1.3915 | 3.7706
570 | 1.8539 | 2.0828 | 10 | 1.3915 | 3.7706
571 | 1.854 | 2.0827 | 10 | 1.3915 | 3.7706
572 | 1.8541 | 2.0826 | 10 | 1.3915 | 3.7706
573 | 1.8542 | 2.0825 | 10 | 1.3915 | 3.7706
574 | 1.8543 | 2.0823 | 10 | 1.3915 | 3.7706
575 | 1.8544 | 2.0822 | 10 | 1.3915 | 3.7706
576 | 1.8545 | 2.0821 | 10 | 1.3915 | 3.7706
577 | 1.8545 | 2.082 | 10 | 1.3915 | 3.7706
578 | 1.8546 | 2.0819 | 10 | 1.3915 | 3.7706
579 | 1.8547 | 2.0818 | 10 | 1.3915 | 3.7706
580 | 1.8548 | 2.0817 | 10 | 1.3915 | 3.7706
581 | 1.8549 | 2.0815 | 10 | 1.3915 | 3.7706
582 | 1.855 | 2.0814 | 10 | 1.3915 | 3.7706
583 | 1.8551 | 2.0813 | 10 | 1.3915 | 3.7706
584 | 1.8551 | 2.0812 | 10 | 1.3915 | 3.7706
585 | 1.8552 | 2.0811 | 10 | 1.3915 | 3.7706
586 | 1.8553 | 2.081 | 10 | 1.3915 | 3.7706
587 | 1.8554 | 2.0809 | 10 | 1.3915 | 3.7706
588 | 1.8555 | 2.0808 | 10 | 1.3915 | 3.7706
589 | 1.8556 | 2.0806 | 10 | 1.3915 | 3.7706
590 | 1.8556 | 2.0805 | 10 | 1.3915 | 3.7706
591 | 1.8557 | 2.0804 | 10 | 1.3915 | 3.7706
592 | 1.8558 | 2.0803 | 10 | 1.3915 | 3.7706
593 | 1.8559 | 2.0802 | 10 | 1.3915 | 3.7706
594 | 1.856 | 2.0801 | 10 | 1.3915 | 3.7706
595 | 1.856 | 2.08 | 10 | 1.3915 | 3.7706
596 | 1.8561 | 2.0799 | 10 | 1.3915 | 3.7706
597 | 1.8562 | 2.0798 | 10 | 1.3915 | 3.7706
598 | 1.8563 | 2.0797 | 10 | 1.3915 | 3.7706
599 | 1.8564 | 2.0796 | 10 | 1.3915 | 3.7706
600 | 1.8564 | 2.0795 | 10 | 1.3915 | 3.7706
601 | 1.8565 | 2.0793 | 10 | 1.3915 | 3.7706
602 | 1.8566 | 2.0792 | 10 | 1.3915 | 3.7706
603 | 1.8567 | 2.0791 | 10 | 1.3915 | 3.7706
604 | 1.8568 | 2.079 | 10 | 1.3915 | 3.7706
605 | 1.8568 | 2.0789 | 10 | 1.3915 | 3.7706
606 | 1.8569 | 2.0788 | 10 | 1.3915 | 3.7706
607 | 1.857 | 2.0787 | 10 | 1.3915 | 3.7706
608 | 1.8571 | 2.0786 | 10 | 1.3915 | 3.7706
609 | 1.8572 | 2.0785 | 10 | 1.3915 | 3.7706
610 | 1.8572 | 2.0784 | 10 | 1.3915 | 3.7706
611 | 1.8573 | 2.0783 | 10 | 1.3915 | 3.7706
612 | 1.8574 | 2.0782 | 10 | 1.3915 | 3.7706
613 | 1.8575 | 2.0781 | 10 | 1.3915 | 3.7706
614 | 1.8576 | 2.078 | 10 | 1.3915 | 3.7706
615 | 1.8576 | 2.0779 | 10 | 1.3915 | 3.7706
616 | 1.8577 | 2.0778 | 10 | 1.3915 | 3.7706
617 | 1.8578 | 2.0777 | 10 | 1.3915 | 3.7706
618 | 1.8579 | 2.0776 | 10 | 1.3915 | 3.7706
619 | 1.8579 | 2.0775 | 10 | 1.3915 | 3.7706
620 | 1.858 | 2.0774 | 10 | 1.3915 | 3.7706
621 | 1.8581 | 2.0773 | 10 | 1.3915 | 3.7706
622 | 1.8582 | 2.0772 | 10 | 1.3915 | 3.7706
623 | 1.8583 | 2.0771 | 10 | 1.3915 | 3.7706
624 | 1.8583 | 2.077 | 10 | 1.3915 | 3.7706
625 | 1.8584 | 2.0769 | 10 | 1.3915 | 3.7706
626 | 1.8585 | 2.0768 | 10 | 1.3915 | 3.7706
627 | 1.8586 | 2.0767 | 10 | 1.3915 | 3.7706
628 | 1.8586 | 2.0766 | 10 | 1.3915 | 3.7706
629 | 1.8587 | 2.0765 | 10 | 1.3915 | 3.7706
630 | 1.8588 | 2.0764 | 10 | 1.3915 | 3.7706
631 | 1.8589 | 2.0763 | 10 | 1.3915 | 3.7706
632 | 1.8589 | 2.0762 | 10 | 1.3915 | 3.7706
633 | 1.859 | 2.0761 | 10 | 1.3915 | 3.7706
634 | 1.8591 | 2.076 | 10 | 1.3915 | 3.7706
635 | 1.8592 | 2.0759 | 10 | 1.3915 | 3.7706
636 | 1.8592 | 2.0758 | 10 | 1.3915 | 3.7706
637 | 1.8593 | 2.0757 | 10 | 1.3915 | 3.7706
638 | 1.8594 | 2.0756 | 10 | 1.3915 | 3.7706
639 | 1.8595 | 2.0755 | 10 | 1.3915 | 3.7706
640 | 1.8595 | 2.0754 | 10 | 1.3915 | 3.7706
641 | 1.8596 | 2.0753 | 10 | 1.3915 | 3.7706
642 | 1.8597 | 2.0752 | 10 | 1.3915 | 3.7706
643 | 1.8597 | 2.0751 | 10 | 1.3915 | 3.7706
644 | 1.8598 | 2.075 | 10 | 1.3915 | 3.7706
645 | 1.8599 | 2.0749 | 10 | 1.3915 | 3.7706
646 | 1.86 | 2.0748 | 10 | 1.3915 | 3.7706
647 | 1.86 | 2.0747 | 10 | 1.3915 | 3.7706
648 | 1.8601 | 2.0746 | 10 | 1.3915 | 3.7706
649 | 1.8602 | 2.0745 | 10 | 1.3915 | 3.7706
650 | 1.8603 | 2.0744 | 10 | 1.3915 | 3.7706
651 | 1.8603 | 2.0743 | 10 | 1.3915 | 3.7706
652 | 1.8604 | 2.0742 | 10 | 1.3915 | 3.7706
653 | 1.8605 | 2.0741 | 10 | 1.3915 | 3.7706
654 | 1.8605 | 2.074 | 10 | 1.3915 | 3.7706
655 | 1.8606 | 2.0739 | 10 | 1.3915 | 3.7706
656 | 1.8607 | 2.0739 | 10 | 1.3915 | 3.7706
657 | 1.8607 | 2.0738 | 10 | 1.3915 | 3.7706
658 | 1.8608 | 2.0737 | 10 | 1.3915 | 3.7706
659 | 1.8609 | 2.0736 | 10 | 1.3915 | 3.7706
660 | 1.861 | 2.0735 | 10 | 1.3915 | 3.7706
661 | 1.861 | 2.0734 | 10 | 1.3915 | 3.7706
662 | 1.8611 | 2.0733 | 10 | 1.3915 | 3.7706
663 | 1.8612 | 2.0732 | 10 | 1.3915 | 3.7706
664 | 1.8612 | 2.0731 | 10 | 1.3915 | 3.7706
665 | 1.8613 | 2.073 | 10 | 1.3915 | 3.7706
666 | 1.8614 | 2.0729 | 10 | 1.3915 | 3.7706
667 | 1.8614 | 2.0728 | 10 | 1.3915 | 3.7706
668 | 1.8615 | 2.0727 | 10 | 1.3915 | 3.7706
669 | 1.8616 | 2.0727 | 10 | 1.3915 | 3.7706
670 | 1.8617 | 2.0726 | 10 | 1.3915 | 3.7706
671 | 1.8617 | 2.0725 | 10 | 1.3915 | 3.7706
672 | 1.8618 | 2.0724 | 10 | 1.3915 | 3.7706
673 | 1.8619 | 2.0723 | 10 | 1.3915 | 3.7706
674 | 1.8619 | 2.0722 | 10 | 1.3915 | 3.7706
675 | 1.862 | 2.0721 | 10 | 1.3915 | 3.7706
676 | 1.8621 | 2.072 | 10 | 1.3915 | 3.7706
677 | 1.8621 | 2.0719 | 10 | 1.3915 | 3.7706
678 | 1.8622 | 2.0719 | 10 | 1.3915 | 3.7706
679 | 1.8623 | 2.0718 | 10 | 1.3915 | 3.7706
680 | 1.8623 | 2.0717 | 10 | 1.3915 | 3.7706
681 | 1.8624 | 2.0716 | 10 | 1.3915 | 3.7706
682 | 1.8625 | 2.0715 | 10 | 1.3915 | 3.7706
683 | 1.8625 | 2.0714 | 10 | 1.3915 | 3.7706
684 | 1.8626 | 2.0713 | 10 | 1.3915 | 3.7706
685 | 1.8627 | 2.0712 | 10 | 1.3915 | 3.7706
686 | 1.8627 | 2.0712 | 10 | 1.3915 | 3.7706
687 | 1.8628 | 2.0711 | 10 | 1.3915 | 3.7706
688 | 1.8629 | 2.071 | 10 | 1.3915 | 3.7706
689 | 1.8629 | 2.0709 | 10 | 1.3915 | 3.7706
690 | 1.863 | 2.0708 | 10 | 1.3915 | 3.7706
691 | 1.8631 | 2.0707 | 10 | 1.3915 | 3.7706
692 | 1.8631 | 2.0706 | 10 | 1.3915 | 3.7706
693 | 1.8632 | 2.0705 | 10 | 1.3915 | 3.7706
694 | 1.8633 | 2.0705 | 10 | 1.3915 | 3.7706
695 | 1.8633 | 2.0704 | 10 | 1.3915 | 3.7706
696 | 1.8634 | 2.0703 | 10 | 1.3915 | 3.7706
697 | 1.8635 | 2.0702 | 10 | 1.3915 | 3.7706
698 | 1.8635 | 2.0701 | 10 | 1.3915 | 3.7706
699 | 1.8636 | 2.07 | 10 | 1.3915 | 3.7706
700 | 1.8637 | 2.07 | 10 | 1.3915 | 3.7706
701 | 1.8637 | 2.0699 | 10 | 1.3915 | 3.7706
702 | 1.8638 | 2.0698 | 10 | 1.3915 | 3.7706
703 | 1.8638 | 2.0697 | 10 | 1.3915 | 3.7706
704 | 1.8639 | 2.0696 | 10 | 1.3915 | 3.7706
705 | 1.864 | 2.0695 | 10 | 1.3915 | 3.7706
706 | 1.864 | 2.0695 | 10 | 1.3915 | 3.7706
707 | 1.8641 | 2.0694 | 10 | 1.3915 | 3.7706
708 | 1.8642 | 2.0693 | 10 | 1.3915 | 3.7706
709 | 1.8642 | 2.0692 | 10 | 1.3915 | 3.7706
710 | 1.8643 | 2.0691 | 10 | 1.3915 | 3.7706
711 | 1.8644 | 2.069 | 10 | 1.3915 | 3.7706
712 | 1.8644 | 2.069 | 10 | 1.3915 | 3.7706
713 | 1.8645 | 2.0689 | 10 | 1.3915 | 3.7706
714 | 1.8645 | 2.0688 | 10 | 1.3915 | 3.7706
715 | 1.8646 | 2.0687 | 10 | 1.3915 | 3.7706
716 | 1.8647 | 2.0686 | 10 | 1.3915 | 3.7706
717 | 1.8647 | 2.0686 | 10 | 1.3915 | 3.7706
718 | 1.8648 | 2.0685 | 10 | 1.3915 | 3.7706
719 | 1.8649 | 2.0684 | 10 | 1.3915 | 3.7706
720 | 1.8649 | 2.0683 | 10 | 1.3915 | 3.7706
721 | 1.865 | 2.0682 | 10 | 1.3915 | 3.7706
722 | 1.865 | 2.0681 | 10 | 1.3915 | 3.7706
723 | 1.8651 | 2.0681 | 10 | 1.3915 | 3.7706
724 | 1.8652 | 2.068 | 10 | 1.3915 | 3.7706
725 | 1.8652 | 2.0679 | 10 | 1.3915 | 3.7706
726 | 1.8653 | 2.0678 | 10 | 1.3915 | 3.7706
727 | 1.8654 | 2.0677 | 10 | 1.3915 | 3.7706
728 | 1.8654 | 2.0677 | 10 | 1.3915 | 3.7706
729 | 1.8655 | 2.0676 | 10 | 1.3915 | 3.7706
730 | 1.8655 | 2.0675 | 10 | 1.3915 | 3.7706
731 | 1.8656 | 2.0674 | 10 | 1.3915 | 3.7706
732 | 1.8657 | 2.0674 | 10 | 1.3915 | 3.7706
733 | 1.8657 | 2.0673 | 10 | 1.3915 | 3.7706
734 | 1.8658 | 2.0672 | 10 | 1.3915 | 3.7706
735 | 1.8658 | 2.0671 | 10 | 1.3915 | 3.7706
736 | 1.8659 | 2.067 | 10 | 1.3915 | 3.7706
737 | 1.866 | 2.067 | 10 | 1.3915 | 3.7706
738 | 1.866 | 2.0669 | 10 | 1.3915 | 3.7706
739 | 1.8661 | 2.0668 | 10 | 1.3915 | 3.7706
740 | 1.8661 | 2.0667 | 10 | 1.3915 | 3.7706
741 | 1.8662 | 2.0667 | 10 | 1.3915 | 3.7706
742 | 1.8663 | 2.0666 | 10 | 1.3915 | 3.7706
743 | 1.8663 | 2.0665 | 10 | 1.3915 | 3.7706
744 | 1.8664 | 2.0664 | 10 | 1.3915 | 3.7706
745 | 1.8664 | 2.0663 | 10 | 1.3915 | 3.7706
746 | 1.8665 | 2.0663 | 10 | 1.3915 | 3.7706
747 | 1.8666 | 2.0662 | 10 | 1.3915 | 3.7706
748 | 1.8666 | 2.0661 | 10 | 1.3915 | 3.7706
749 | 1.8667 | 2.066 | 10 | 1.3915 | 3.7706
750 | 1.8667 | 2.066 | 10 | 1.3915 | 3.7706
751 | 1.8668 | 2.0659 | 10 | 1.3915 | 3.7706
752 | 1.8668 | 2.0658 | 10 | 1.3915 | 3.7706
753 | 1.8669 | 2.0657 | 10 | 1.3915 | 3.7706
754 | 1.867 | 2.0657 | 10 | 1.3915 | 3.7706
755 | 1.867 | 2.0656 | 10 | 1.3915 | 3.7706
756 | 1.8671 | 2.0655 | 10 | 1.3915 | 3.7706
757 | 1.8671 | 2.0654 | 10 | 1.3915 | 3.7706
758 | 1.8672 | 2.0654 | 10 | 1.3915 | 3.7706
759 | 1.8672 | 2.0653 | 10 | 1.3915 | 3.7706
760 | 1.8673 | 2.0652 | 10 | 1.3915 | 3.7706
761 | 1.8674 | 2.0651 | 10 | 1.3915 | 3.7706
762 | 1.8674 | 2.0651 | 10 | 1.3915 | 3.7706
763 | 1.8675 | 2.065 | 10 | 1.3915 | 3.7706
764 | 1.8675 | 2.0649 | 10 | 1.3915 | 3.7706
765 | 1.8676 | 2.0649 | 10 | 1.3915 | 3.7706
766 | 1.8676 | 2.0648 | 10 | 1.3915 | 3.7706
767 | 1.8677 | 2.0647 | 10 | 1.3915 | 3.7706
768 | 1.8678 | 2.0646 | 10 | 1.3915 | 3.7706
769 | 1.8678 | 2.0646 | 10 | 1.3915 | 3.7706
770 | 1.8679 | 2.0645 | 10 | 1.3915 | 3.7706
771 | 1.8679 | 2.0644 | 10 | 1.3915 | 3.7706
772 | 1.868 | 2.0643 | 10 | 1.3915 | 3.7706
773 | 1.868 | 2.0643 | 10 | 1.3915 | 3.7706
774 | 1.8681 | 2.0642 | 10 | 1.3915 | 3.7706
775 | 1.8682 | 2.0641 | 10 | 1.3915 | 3.7706
776 | 1.8682 | 2.0641 | 10 | 1.3915 | 3.7706
777 | 1.8683 | 2.064 | 10 | 1.3915 | 3.7706
778 | 1.8683 | 2.0639 | 10 | 1.3915 | 3.7706
779 | 1.8684 | 2.0638 | 10 | 1.3915 | 3.7706
780 | 1.8684 | 2.0638 | 10 | 1.3915 | 3.7706
781 | 1.8685 | 2.0637 | 10 | 1.3915 | 3.7706
782 | 1.8685 | 2.0636 | 10 | 1.3915 | 3.7706
783 | 1.8686 | 2.0636 | 10 | 1.3915 | 3.7706
784 | 1.8687 | 2.0635 | 10 | 1.3915 | 3.7706
785 | 1.8687 | 2.0634 | 10 | 1.3915 | 3.7706
786 | 1.8688 | 2.0633 | 10 | 1.3915 | 3.7706
787 | 1.8688 | 2.0633 | 10 | 1.3915 | 3.7706
788 | 1.8689 | 2.0632 | 10 | 1.3915 | 3.7706
789 | 1.8689 | 2.0631 | 10 | 1.3915 | 3.7706
790 | 1.869 | 2.0631 | 10 | 1.3915 | 3.7706
791 | 1.869 | 2.063 | 10 | 1.3915 | 3.7706
792 | 1.8691 | 2.0629 | 10 | 1.3915 | 3.7706
793 | 1.8691 | 2.0629 | 10 | 1.3915 | 3.7706
794 | 1.8692 | 2.0628 | 10 | 1.3915 | 3.7706
795 | 1.8692 | 2.0627 | 10 | 1.3915 | 3.7706
796 | 1.8693 | 2.0627 | 10 | 1.3915 | 3.7706
797 | 1.8694 | 2.0626 | 10 | 1.3915 | 3.7706
798 | 1.8694 | 2.0625 | 10 | 1.3915 | 3.7706
799 | 1.8695 | 2.0624 | 10 | 1.3915 | 3.7706
800 | 1.8695 | 2.0624 | 10 | 1.3915 | 3.7706
801 | 1.8696 | 2.0623 | 10 | 1.3915 | 3.7706
802 | 1.8696 | 2.0622 | 10 | 1.3915 | 3.7706
803 | 1.8697 | 2.0622 | 10 | 1.3915 | 3.7706
804 | 1.8697 | 2.0621 | 10 | 1.3915 | 3.7706
805 | 1.8698 | 2.062 | 10 | 1.3915 | 3.7706
806 | 1.8698 | 2.062 | 10 | 1.3915 | 3.7706
807 | 1.8699 | 2.0619 | 10 | 1.3915 | 3.7706
808 | 1.8699 | 2.0618 | 10 | 1.3915 | 3.7706
809 | 1.87 | 2.0618 | 10 | 1.3915 | 3.7706
810 | 1.87 | 2.0617 | 10 | 1.3915 | 3.7706
811 | 1.8701 | 2.0616 | 10 | 1.3915 | 3.7706
812 | 1.8701 | 2.0616 | 10 | 1.3915 | 3.7706
813 | 1.8702 | 2.0615 | 10 | 1.3915 | 3.7706
814 | 1.8703 | 2.0614 | 10 | 1.3915 | 3.7706
815 | 1.8703 | 2.0614 | 10 | 1.3915 | 3.7706
816 | 1.8704 | 2.0613 | 10 | 1.3915 | 3.7706
817 | 1.8704 | 2.0612 | 10 | 1.3915 | 3.7706
818 | 1.8705 | 2.0612 | 10 | 1.3915 | 3.7706
819 | 1.8705 | 2.0611 | 10 | 1.3915 | 3.7706
820 | 1.8706 | 2.061 | 10 | 1.3915 | 3.7706
821 | 1.8706 | 2.061 | 10 | 1.3915 | 3.7706
822 | 1.8707 | 2.0609 | 10 | 1.3915 | 3.7706
823 | 1.8707 | 2.0608 | 10 | 1.3915 | 3.7706
824 | 1.8708 | 2.0608 | 10 | 1.3915 | 3.7706
825 | 1.8708 | 2.0607 | 10 | 1.3915 | 3.7706
826 | 1.8709 | 2.0606 | 10 | 1.3915 | 3.7706
827 | 1.8709 | 2.0606 | 10 | 1.3915 | 3.7706
828 | 1.871 | 2.0605 | 10 | 1.3915 | 3.7706
829 | 1.871 | 2.0605 | 10 | 1.3915 | 3.7706
830 | 1.8711 | 2.0604 | 10 | 1.3915 | 3.7706
831 | 1.8711 | 2.0603 | 10 | 1.3915 | 3.7706
832 | 1.8712 | 2.0603 | 10 | 1.3915 | 3.7706
833 | 1.8712 | 2.0602 | 10 | 1.3915 | 3.7706
834 | 1.8713 | 2.0601 | 10 | 1.3915 | 3.7706
835 | 1.8713 | 2.0601 | 10 | 1.3915 | 3.7706
836 | 1.8714 | 2.06 | 10 | 1.3915 | 3.7706
837 | 1.8714 | 2.0599 | 10 | 1.3915 | 3.7706
838 | 1.8715 | 2.0599 | 10 | 1.3915 | 3.7706
839 | 1.8715 | 2.0598 | 10 | 1.3915 | 3.7706
840 | 1.8716 | 2.0597 | 10 | 1.3915 | 3.7706
841 | 1.8716 | 2.0597 | 10 | 1.3915 | 3.7706
842 | 1.8717 | 2.0596 | 10 | 1.3915 | 3.7706
843 | 1.8717 | 2.0596 | 10 | 1.3915 | 3.7706
844 | 1.8718 | 2.0595 | 10 | 1.3915 | 3.7706
845 | 1.8718 | 2.0594 | 10 | 1.3915 | 3.7706
846 | 1.8719 | 2.0594 | 10 | 1.3915 | 3.7706
847 | 1.8719 | 2.0593 | 10 | 1.3915 | 3.7706
848 | 1.872 | 2.0592 | 10 | 1.3915 | 3.7706
849 | 1.872 | 2.0592 | 10 | 1.3915 | 3.7706
850 | 1.8721 | 2.0591 | 10 | 1.3915 | 3.7706
851 | 1.8721 | 2.0591 | 10 | 1.3915 | 3.7706
852 | 1.8722 | 2.059 | 10 | 1.3915 | 3.7706
853 | 1.8722 | 2.0589 | 10 | 1.3915 | 3.7706
854 | 1.8723 | 2.0589 | 10 | 1.3915 | 3.7706
855 | 1.8723 | 2.0588 | 10 | 1.3915 | 3.7706
856 | 1.8724 | 2.0588 | 10 | 1.3915 | 3.7706
857 | 1.8724 | 2.0587 | 10 | 1.3915 | 3.7706
858 | 1.8725 | 2.0586 | 10 | 1.3915 | 3.7706
859 | 1.8725 | 2.0586 | 10 | 1.3915 | 3.7706
860 | 1.8725 | 2.0585 | 10 | 1.3915 | 3.7706
861 | 1.8726 | 2.0584 | 10 | 1.3915 | 3.7706
862 | 1.8726 | 2.0584 | 10 | 1.3915 | 3.7706
863 | 1.8727 | 2.0583 | 10 | 1.3915 | 3.7706
864 | 1.8727 | 2.0583 | 10 | 1.3915 | 3.7706
865 | 1.8728 | 2.0582 | 10 | 1.3915 | 3.7706
866 | 1.8728 | 2.0581 | 10 | 1.3915 | 3.7706
867 | 1.8729 | 2.0581 | 10 | 1.3915 | 3.7706
868 | 1.8729 | 2.058 | 10 | 1.3915 | 3.7706
869 | 1.873 | 2.058 | 10 | 1.3915 | 3.7706
870 | 1.873 | 2.0579 | 10 | 1.3915 | 3.7706
871 | 1.8731 | 2.0578 | 10 | 1.3915 | 3.7706
872 | 1.8731 | 2.0578 | 10 | 1.3915 | 3.7706
873 | 1.8732 | 2.0577 | 10 | 1.3915 | 3.7706
874 | 1.8732 | 2.0577 | 10 | 1.3915 | 3.7706
875 | 1.8733 | 2.0576 | 10 | 1.3915 | 3.7706
876 | 1.8733 | 2.0575 | 10 | 1.3915 | 3.7706
877 | 1.8734 | 2.0575 | 10 | 1.3915 | 3.7706
878 | 1.8734 | 2.0574 | 10 | 1.3915 | 3.7706
879 | 1.8734 | 2.0574 | 10 | 1.3915 | 3.7706
880 | 1.8735 | 2.0573 | 10 | 1.3915 | 3.7706
881 | 1.8735 | 2.0573 | 10 | 1.3915 | 3.7706
882 | 1.8736 | 2.0572 | 10 | 1.3915 | 3.7706
883 | 1.8736 | 2.0571 | 10 | 1.3915 | 3.7706
884 | 1.8737 | 2.0571 | 10 | 1.3915 | 3.7706
885 | 1.8737 | 2.057 | 10 | 1.3915 | 3.7706
886 | 1.8738 | 2.057 | 10 | 1.3915 | 3.7706
887 | 1.8738 | 2.0569 | 10 | 1.3915 | 3.7706
888 | 1.8739 | 2.0568 | 10 | 1.3915 | 3.7706
889 | 1.8739 | 2.0568 | 10 | 1.3915 | 3.7706
890 | 1.874 | 2.0567 | 10 | 1.3915 | 3.7706
891 | 1.874 | 2.0567 | 10 | 1.3915 | 3.7706
892 | 1.874 | 2.0566 | 10 | 1.3915 | 3.7706
893 | 1.8741 | 2.0566 | 10 | 1.3915 | 3.7706
894 | 1.8741 | 2.0565 | 10 | 1.3915 | 3.7706
895 | 1.8742 | 2.0564 | 10 | 1.3915 | 3.7706
896 | 1.8742 | 2.0564 | 10 | 1.3915 | 3.7706
897 | 1.8743 | 2.0563 | 10 | 1.3915 | 3.7706
898 | 1.8743 | 2.0563 | 10 | 1.3915 | 3.7706
899 | 1.8744 | 2.0562 | 10 | 1.3915 | 3.7706
900 | 1.8744 | 2.0562 | 10 | 1.3915 | 3.7706
901 | 1.8745 | 2.0561 | 10 | 1.3915 | 3.7706
902 | 1.8745 | 2.056 | 10 | 1.3915 | 3.7706
903 | 1.8745 | 2.056 | 10 | 1.3915 | 3.7706
904 | 1.8746 | 2.0559 | 10 | 1.3915 | 3.7706
905 | 1.8746 | 2.0559 | 10 | 1.3915 | 3.7706
906 | 1.8747 | 2.0558 | 10 | 1.3915 | 3.7706
907 | 1.8747 | 2.0558 | 10 | 1.3915 | 3.7706
908 | 1.8748 | 2.0557 | 10 | 1.3915 | 3.7706
909 | 1.8748 | 2.0556 | 10 | 1.3915 | 3.7706
910 | 1.8749 | 2.0556 | 10 | 1.3915 | 3.7706
911 | 1.8749 | 2.0555 | 10 | 1.3915 | 3.7706
912 | 1.8749 | 2.0555 | 10 | 1.3915 | 3.7706
913 | 1.875 | 2.0554 | 10 | 1.3915 | 3.7706
914 | 1.875 | 2.0554 | 10 | 1.3915 | 3.7706
915 | 1.8751 | 2.0553 | 10 | 1.3915 | 3.7706
916 | 1.8751 | 2.0553 | 10 | 1.3915 | 3.7706
917 | 1.8752 | 2.0552 | 10 | 1.3915 | 3.7706
918 | 1.8752 | 2.0551 | 10 | 1.3915 | 3.7706
919 | 1.8752 | 2.0551 | 10 | 1.3915 | 3.7706
920 | 1.8753 | 2.055 | 10 | 1.3915 | 3.7706
921 | 1.8753 | 2.055 | 10 | 1.3915 | 3.7706
922 | 1.8754 | 2.0549 | 10 | 1.3915 | 3.7706
923 | 1.8754 | 2.0549 | 10 | 1.3915 | 3.7706
924 | 1.8755 | 2.0548 | 10 | 1.3915 | 3.7706
925 | 1.8755 | 2.0548 | 10 | 1.3915 | 3.7706
926 | 1.8755 | 2.0547 | 10 | 1.3915 | 3.7706
927 | 1.8756 | 2.0547 | 10 | 1.3915 | 3.7706
928 | 1.8756 | 2.0546 | 10 | 1.3915 | 3.7706
929 | 1.8757 | 2.0545 | 10 | 1.3915 | 3.7706
930 | 1.8757 | 2.0545 | 10 | 1.3915 | 3.7706
931 | 1.8758 | 2.0544 | 10 | 1.3915 | 3.7706
932 | 1.8758 | 2.0544 | 10 | 1.3915 | 3.7706
933 | 1.8758 | 2.0543 | 10 | 1.3915 | 3.7706
934 | 1.8759 | 2.0543 | 10 | 1.3915 | 3.7706
935 | 1.8759 | 2.0542 | 10 | 1.3915 | 3.7706
936 | 1.876 | 2.0542 | 10 | 1.3915 | 3.7706
937 | 1.876 | 2.0541 | 10 | 1.3915 | 3.7706
938 | 1.8761 | 2.0541 | 10 | 1.3915 | 3.7706
939 | 1.8761 | 2.054 | 10 | 1.3915 | 3.7706
940 | 1.8761 | 2.054 | 10 | 1.3915 | 3.7706
941 | 1.8762 | 2.0539 | 10 | 1.3915 | 3.7706
942 | 1.8762 | 2.0539 | 10 | 1.3915 | 3.7706
943 | 1.8763 | 2.0538 | 10 | 1.3915 | 3.7706
944 | 1.8763 | 2.0537 | 10 | 1.3915 | 3.7706
945 | 1.8764 | 2.0537 | 10 | 1.3915 | 3.7706
946 | 1.8764 | 2.0536 | 10 | 1.3915 | 3.7706
947 | 1.8764 | 2.0536 | 10 | 1.3915 | 3.7706
948 | 1.8765 | 2.0535 | 10 | 1.3915 | 3.7706
949 | 1.8765 | 2.0535 | 10 | 1.3915 | 3.7706
950 | 1.8766 | 2.0534 | 10 | 1.3915 | 3.7706
951 | 1.8766 | 2.0534 | 10 | 1.3915 | 3.7706
952 | 1.8766 | 2.0533 | 10 | 1.3915 | 3.7706
953 | 1.8767 | 2.0533 | 10 | 1.3915 | 3.7706
954 | 1.8767 | 2.0532 | 10 | 1.3915 | 3.7706
955 | 1.8768 | 2.0532 | 10 | 1.3915 | 3.7706
956 | 1.8768 | 2.0531 | 10 | 1.3915 | 3.7706
957 | 1.8769 | 2.0531 | 10 | 1.3915 | 3.7706
958 | 1.8769 | 2.053 | 10 | 1.3915 | 3.7706
959 | 1.8769 | 2.053 | 10 | 1.3915 | 3.7706
960 | 1.877 | 2.0529 | 10 | 1.3915 | 3.7706
961 | 1.877 | 2.0529 | 10 | 1.3915 | 3.7706
962 | 1.8771 | 2.0528 | 10 | 1.3915 | 3.7706
963 | 1.8771 | 2.0528 | 10 | 1.3915 | 3.7706
964 | 1.8771 | 2.0527 | 10 | 1.3915 | 3.7706
965 | 1.8772 | 2.0527 | 10 | 1.3915 | 3.7706
966 | 1.8772 | 2.0526 | 10 | 1.3915 | 3.7706
967 | 1.8773 | 2.0526 | 10 | 1.3915 | 3.7706
968 | 1.8773 | 2.0525 | 10 | 1.3915 | 3.7706
969 | 1.8773 | 2.0525 | 10 | 1.3915 | 3.7706
970 | 1.8774 | 2.0524 | 10 | 1.3915 | 3.7706
971 | 1.8774 | 2.0524 | 10 | 1.3915 | 3.7706
972 | 1.8775 | 2.0523 | 10 | 1.3915 | 3.7706
973 | 1.8775 | 2.0523 | 10 | 1.3915 | 3.7706
974 | 1.8775 | 2.0522 | 10 | 1.3915 | 3.7706
975 | 1.8776 | 2.0522 | 10 | 1.3915 | 3.7706
976 | 1.8776 | 2.0521 | 10 | 1.3915 | 3.7706
977 | 1.8777 | 2.0521 | 10 | 1.3915 | 3.7706
978 | 1.8777 | 2.052 | 10 | 1.3915 | 3.7706
979 | 1.8777 | 2.052 | 10 | 1.3915 | 3.7706
980 | 1.8778 | 2.0519 | 10 | 1.3915 | 3.7706
981 | 1.8778 | 2.0519 | 10 | 1.3915 | 3.7706
982 | 1.8779 | 2.0518 | 10 | 1.3915 | 3.7706
983 | 1.8779 | 2.0518 | 10 | 1.3915 | 3.7706
984 | 1.8779 | 2.0517 | 10 | 1.3915 | 3.7706
985 | 1.878 | 2.0517 | 10 | 1.3915 | 3.7706
986 | 1.878 | 2.0516 | 10 | 1.3915 | 3.7706
987 | 1.8781 | 2.0516 | 10 | 1.3915 | 3.7706
988 | 1.8781 | 2.0515 | 10 | 1.3915 | 3.7706
989 | 1.8781 | 2.0515 | 10 | 1.3915 | 3.7706
990 | 1.8782 | 2.0514 | 10 | 1.3915 | 3.7706
991 | 1.8782 | 2.0514 | 10 | 1.3915 | 3.7706
992 | 1.8783 | 2.0513 | 10 | 1.3915 | 3.7706
993 | 1.8783 | 2.0513 | 10 | 1.3915 | 3.7706
994 | 1.8783 | 2.0512 | 10 | 1.3915 | 3.7706
995 | 1.8784 | 2.0512 | 10 | 1.3915 | 3.7706
996 | 1.8784 | 2.0511 | 10 | 1.3915 | 3.7706
997 | 1.8785 | 2.0511 | 10 | 1.3915 | 3.7706
998 | 1.8785 | 2.051 | 10 | 1.3915 | 3.7706
999 | 1.8785 | 2.051 | 10 | 1.3915 | 3.7706
1000 | 1.8786 | 2.0509 | 10 | 1.3915 | 3.7706
1001 | 1.8786 | 2.0509 | 10 | 1.3915 | 3.7706