## IHC
510(K) Number | Biomarker | Tissue | System | Detection | Antibody / probe | Notes | Product | WSI Scanner | Company | Approval date | Product code(s)
K031363 | ER | FFPE breast | S | IHC | Not specified |  | QCA (VERSION 3.1) |  | CELL ANALYSIS INC. | 2004-02-05 | NQN
K031715 | Her2 | FFPE breast | MM+DC | IHC | HercepTest™ |  | ARIOL HER-2/NEU IHC |  | APPLIED IMAGING CORP. | 2004-01-08 | NOT
K032113 | Her2 | FFPE breast | MM+DC | IHC | HercepTest™ |  | ACIS (AUTOMATED CELLULAR IMAGING SYSTEM) |  | CHROMA VISION MEDICAL SYSTEMS INC. | 2003-12-23 | NOT
K033200 | ER,PR | FFPE breast | MM+DC | IHC | Not specified |  | ARIOL |  | APPLIED IMAGING CORP. | 2004-03-18 | NQN
K050012 | ER,PR | FFPE breast | MM+DC | IHC | Not specified |  | VENTANA IMAGE ANALYSIS SYSTEM |  | TRIPATH IMAGING INC. | 2005-05-06 | NQN
K051282 | Her2 | FFPE breast | MM+DC | IHC | PATHWAY® Her2 (clone CB11) |  | VENTANA IMAGE ANALYSIS SYSTEM - HER2/NEU |  | TRIPATH IMAGING INC. | 2005-08-16 | NOT
K053520 | Ki-67 | FFPE breast | MM+DC | IHC | Ventana Ki-67 kit |  | VENTANA IMAGE ANALYSIS SYSTEM MODEL KI-67 |  | TRIPATH IMAGING INC. | 2006-04-11 | NQN
K061613 | Ki-67 | FFPE breast | MM+DC | IHC | PATHWAY® anti-HER-2/neu (4B5) |  | VENTANA IMAGE ANALYSIS SYSTEM - PATHWAY HER2 (4B5) |  | TRIPATH IMAGING | 2007-01-10 | NQN
K062428 | p53 | FFPE breast | MM+DC | IHC | CONFIRM™ anti- p53 (DO-7) |  | VENTANA IMAGE ANALYSIS SYSTEM MODEL VIAS |  | TRIPATH IMAGING INC. | 2006-09-29 | NQN
K062756 | Her2 | FFPE breast | S | IHC | HercepTest™ |  | PATHIAM IMAGING SOFTWARE FOR HER2/NEU |  | BIOIMAGENE INC. | 2007-02-20 | NOT
K071128 | Her2 | FFPE breast | WSI | IHC | HercepTest™ |  | SCANSCOPE XT SYSTEM | Scanscope XT | APERIO TECHNOLOGIES | 2007-10-10 | NOT
K071671 | Her2 | FFPE breast | WSI | IHC | HercepTest™ | manual | SCANSCOPE XT SYSTEM | Scanscope XT | APERIO TECHNOLOGIES | 2007-12-28 | OEO
K073677 | ER,PR | FFPE breast | WSI | IHC | Not specified |  | SCANSCOPE XT SYSTEM | Scanscope XT | APERIO TECHNOLOGIES | 2008-08-01 | NQN
K080254 | PR | FFPE breast | WSI | IHC | Not specified | manual | SCANSCOPE XT SYSTEM | Scanscope XT | APERIO TECHNOLOGIES | 2008-10-31 | OEO
K080564 | Her2 | FFPE breast | WSI | IHC | HercepTest™ | tunable | SCANSCOPE XT SYSTEM | Scanscope XT | APERIO TECHNOLOGIES | 2009-08-14 | NOT
K080910 | Her2 | FFPE breast | WSI | IHC | HercepTest™ |  | PATHIAM SYSTEM FOR HER2/NEU IMMUNOHISTOCHEMISTRY REAGENTS & KITS |  | BIOIMAGENE INC. | 2009-02-04 | NOT
K092333 | p53, Ki-67 | FFPE breast | WSI | IHC | Dako mouse monoclonal anti-human Ki-67 antigen, clone MIB1 Dako mouse monoclonal anti-human p53 antibody, clone DO7 |  | PATHIAM SYSTEM WITH ISCAN FOR P53 AND KI-67 | iScan | BIOIMAGENE INC. | 2010-10-27 | NQN
K111543 | Her2 | FFPE breast | WSI | IHC | PATHWAY® anti-HER-2/neu (4B5) | auto+man | VIRTUOSO (TM) SYSTEM FOR IHC HER2 (4B5) | iScan Coreo | VENTANA MEDICAL SYSTEMS INC. | 2011-10-12 | NOT | OEO
K111755 | Ki-67 | FFPE breast | WSI | IHC | CONFIRM™ anti-Ki67 (30-9) | auto+man | VIRTUOSO SYSTEM FOR IHC KI-67 (30-9) | iScan Coreo | VENTANA MEDICAL SYSTEMS INC. | 2012-02-22 | NOT | NQN | OEO
K111869 | PR | FFPE breast | WSI | IHC | CONFIRM™ anti-Progesterone Receptor (PR) (1E2) | auto+man | VIRTUOSO SYSTEM FOR IHC PR (IE2) | iScan Coreo | VENTANA MEDICAL SYSTEMS INC. | 2012-03-05 | NQN | OEO
K111872 | p53 | FFPE breast | WSI | IHC | CONFIRM™ anti- p53 (DO-7) | auto+man | VIRTUOSO SYSTEM FOR IHC P53 (DO-7) | iScan Coreo | VENTANA MEDICAL SYSTEMS INC. | 2012-04-19 | NQN | NOT | OEO
K111914 | Her2 | FFPE breast | WSI | IHC | HercepTest™ | manual | VIRTUAL SLIDE SYSTEM OLYMPUS VS800 SYSTEM | VS800 | OLYMPUS AMERICA INC. / SCIENTIFIC EQUIPMENT GROUP | 2012-08-21 | OEO
K121033 | Ki-67 | FFPE breast | WSI | IHC | CONFIRM™ anti-Ki67 (30-9) | ultra; auto+man | VIRTUOSO SYSTEM FOR IHC KI-67 (30-9) | iScan Coreo | VENTANA MEDICAL SYSTEMS INC. | 2013-09-06 | NOT | NQN | OEO
K121350 | p53 | FFPE breast | WSI | IHC | CONFIRM™ anti- p53 (DO-7) | ultra; auto+man | VIRTUSO SYSTEM FOR IHC (DO-7) | iScan Coreo | VENTANA MEDICAL SYSTEMS INC. | 2012-06-01 | NOT | NQN | OEO
K121516 | Her2 | FFPE breast | WSI | IHC | PATHWAY® anti-HER-2/neu (4B5) | ultra;auto+man | VIRTUOSO SYSTEM FOR IHC HER2 (4B5) | iScan Coreo | VENTANA MEDICAL SYSTEMS INC. | 2013-09-26 | NQN | NOT | OEO
K122143 | PR | FFPE breast | WSI | IHC | CONFIRM™ anti-Progesterone Receptor (PR) (1E2) | ultra;auto+man | VIRTUOSO SYSTEM FOR IHC PR (1E2) BENCHMARK ULTRA STAINER | iScan Coreo | VENTANA MEDICAL SYSTEMS INC. | 2013-09-19 | NQN | NOT | OEO
K130021 | Her2 | FFPE breast | WSI | IHC | HercepTest™ | man | PHILIPS HERCEPTEST DIGITAL SCORE | UFS | PHILIPS MEDICAL SYSTEMS NEDERLAND B.V. | 2013-09-19 | OEO
K130515 | ER | FFPE breast | WSI | IHC | CONFIRM™ anti-Estrogen Receptor (ER) (SP1) | XT;auto+man | VIRTUOSO SYSTEM FOR IHC ER (SPI) | iScan Coreo | VENTANA MEDICAL SYSTEMS INC. | 2013-11-22 | NQN | NOT | OEO
K131140 | Her2 | FFPE breast | WSI | IHC | HercepTest™ | man | OMNYX IDP FOR HER2 MANUAL APPLICATION | VL4 | OMNYX LLC | 2014-04-01 | OEO
K140465 | ER | FFPE breast | WSI | IHC | CONFIRM™ anti-Estrogen Receptor (ER) (SP1) | ultra;auto+man | VIRTUOSO SYSTEM FOR IHC ER (SP1) WITH BENCHMARK ULTRA STAINER | iScan | VENTANA MEDICAL SYSTEMS INC. | 2014-03-20 | NQN | NOT | OEO
K140957 | Her2,ER,PR,Ki-67 | FFPE breast | MM+DC | IHC | PATHWAY® anti-HER-2/neu (4B5), CONFIRM™ anti-Estrogen Receptor (ER) (SP1), CONFIRM™ anti-Progesterone Receptor (PR) (1E2), CONFIRM™ anti-Ki67 (30-9) |  | GENASIS HIPATH IHC FAMILY |  | APPLIED SPECTRAL IMAGING LTD. | 2015-01-15 | NQN | NOT
K141109 | ER,PR,Her2 | FFPE breast | WSI | IHC | HercepTest™ | adds AT Turbo and CS2 | APERIO EPATHOLOGY EIHC IVD SYSTEM | Scanscope CS, AT Turbo | LEICA BIOSYSTEMS IMAGING INC. | 2014-07-29 | NOT | NQN
K142965 | PR | FFPE breast | WSI | IHC | CONFIRM™ anti-Progesterone Receptor (PR) (1E2) | manual | Virtuoso System for IHC PR (1E2) using iScan HT | iScanHT | Ventana Medical Systems Inc. | 2015-07-16 | OEO

## FISH
510(K) Number | Biomarker | Tissue | System | Detection | Antibody / probe | Notes | Product | Company | Approval date | Product code(s)
K043519 | Her2/neu | Breast FFPE | MM+DC | FISH | PathVysion® HER-2/neu DNA Probe kit | automated | ARIOL HER-2/NEU FISH | APPLIED IMAGING CORP. | 2005-04-25 | NTH
K061602 | Her2/neu | Breast FFPE | MM+DC | FISH | PathVysion® HER-2/neu DNA Probe kit | automated | DUET SYSTEM | BIOVIEW LTD. | 2007-01-23 | NTH
K080909 | Her2/neu | Breast FFPE | MM+DC | FISH | PathVysion® HER-2/neu DNA Probe kit | automated | ICONOSCOPE ONCOFISH HER2 TEST SYSTEM MODEL 2000 | IKONISYS INC | 2008-10-17 | NTH
K101291 | Her2/neu | Breast FFPE | MM+DC | FISH | PathVysion® HER-2/neu DNA Probe kit | automated | SCANVIEW HER2/NEU FISH SYSTEM | APPLIED SPECTRAL IMAGING LTD. | 2010-11-23 | NTH
K110345 | Chromosomes 3, 7, 17 and 9p21 locus | Urine | MM+DC | FISH | UroVysion™ Bladder Cancer Kit | automated | SCANVIEW SYSTEM | APPLIED SPECTRAL IMAGING | 2011-10-19 | NTH
K122554 | ALK gene (2p23) rearrangements | NSCLC FFPE | MM+DC | FISH | Vysis® ALK Break Apart FISH Probe Kit | automated | GENASIS SCANVIEW SYSTEM | APPLIED SPECTRAL IMAGING LTD. | 2013-02-07 | NTH
K130775 | ALK gene (2p23) rearrangements | NSCLC FFPE | MM+DC | FISH | Vysis® ALK Break Apart FISH Probe Kit | automated | DUET SYSTEM | BIOVIEW LTD. | 2014-05-09 | NTH