| Supplementary Table 1. Performance characteristics of the HIV-1 Integrase CAD* assay (iCAD) |
| --- |
| 2a. Assay verification is performed for reagent batches: Average hit rate at the lowest target levels that can be quantified by iCAD real-time PCR assay. |
| Limiting dilution (copies/µl) | Average hit rate per 10 replicates tested (coefficient of variation#) |
| 1 | 6/10 (61%) |
| 3 | 9/10 (33%) |
| 10 | 10/10 (34%) |
| 30 | 10/10(22%) |
| 300 | 10/10(13%) |
| 2b. Assay acceptability criteria for each real-time PCR run |
| Assay Parameter | Acceptable range |
| Efficiency (%) | 90-110 |
| R^2 | 0.950 – 1.00 |
| Slope | between -2.8 and -3.8 |
| y-intercept | ≥ 39.0 |

*Hong et al. 2016 (adapted for HIV-1 Subtype C)

#Ct values were back transformed using a base of 2 (copy numbers expected to double with each cycle) to calculate coefficient of variation.

Supplementary Table 2: HIV-1 DNA and HIV-1 RNA levels and cell equivalents assayed

| PID | Visit | Treated (months) | Total Cell equivalents assayed for HIV DNA | Log10 HIV1-DNA copies/million cells | Log10 plasma HIV-RNA copies/mL |
| --- | --- | --- | --- | --- | --- |
| S2 | 0 | 0 | 37363 | 3.7 | NA |
| S2 | 1 | 1.1 | 355332 | 2.9 | 3.6 |
| S2 | 2 | 3.7 | 596300 | 2 | 2.5 |
| S2 | 3 | 6.7 | 468793 | 1.5 | <2.0 |
| S2 | 4 | 12.2 | 588749 | 0.7 | <2.0 |
| S3 | 0 | 0 | 127787 | 2.8 | 4.0 |
| S3 | 1 | 0.6 | 576739 | 1.5 | 2.8 |
| S3 | 2 | 3.4 | 774053 | 0.8 | <2.0 |
| S3 | 3 | 7 | 575850 | 1.5 | <2.0 |
| S3 | 4 | 11.6 | 760638 | <0.5 | NA |
| S4 | 0 | 0 | 131686 | 3.2 | 3.8 |
| S4 | 1 | 0.1 | 700530 | 2.7 | 3.2 |
| S4 | 2 | 2.8 | 972502 | 1.9 | <2.0 |
| S4 | 3 | 5.6 | 697058 | 1.5 | <2.0 |
| S4 | 4 | 11.6 | 739125 | 0.9 | NA |
| S5 | 0 | 0 | 126517 | 2.7 | 2.6 |
| S5 | 1 | 0.5 | 769040 | 1.7 | 2.3 |
| S5 | 2 | 3.2 | 782197 | 1.1 | NA |
| S5 | 3 | 6.9 | 752160 | 0.8 | <2.0 |
| S6 | 0 | 0 | 137574 | 3.0 | NA |
| S6 | 1 | 1 | 454511 | 2.5 | 2.6 |
| S6 | 2 | 4 | 506513 | 2 | 2.2 |
| S6 | 3 | 6.3 | 510149 | 1.7 | <2.0 |
| S7 | 0 | 0 | 145260 | 2.2 | NA |
| S7 | 1 | 0.4 | 695034 | 2.2 | 3.1 |
| S7 | 2 | 3.2 | 626025 | 0.8 | <2.0 |
| S7 | 3 | 12.2 | 724509 | 0.7 | <2.0 |
| S9 | 0 | 0 | 108266 | 1.8 | NA |
| S9 | 1 | 0.3 | 614840 | 1.4 | 3.3 |
| S9 | 2 | 3.5 | 662208 | 1 | 2.1 |
| V1 | 1 | 0.5 | 584816 | 2.8 | 3.3 |
| V1 | 2 | 3.3 | 323931 | 2.4 | <2.0 |
| V1 | 3 | 6 | 750951 | 2.7 | 5.8 |
| V1 | 4 | 12.2 | 487083 | 3.3 | 4.9 |
| V3 | 0 | 0 | 202671 | 2.9 | NA |
| V3 | 1 | 1.5 | NA | NA | NA |
| V3 | 2 | 3.8 | 746550 | <0.5 | <2.0 |
| V3 | 3 | 7.1 | 655650 | <0.5 | 3.9 |
| V3 | 4 | 12.2 | 752760 | <0.5 | NA |
| V4 | 0 | 0 | 88335 | 3.5 | 4.4 |
| V4 | 1 | 0.4 | 334710 | 3 | 5 |
| V4 | 2 | 3.7 | 964350 | 2.2 | 3.3 |
| V5 | 0 | 0 | 141210 | 3.3 | 4.8 |
| V5 | 1 | 0.2 | 679455 | <0.5 | NA |
| V5 | 2 | 3 | 575640 | 3.5 | 6.2 |
| V5 | 3 | 5.7 | 806535 | 2.3 | 2.5 |

Legend: “S” indicate suppressed patients and “V” viremic patients. When no samples were available or tested for HIV-1 cell associated DNA or HIV-1 plasma RNA it was indicated with “NA”.  HIV-1 cell associated DNA at visit 0 was assayed on dried blood spots (DBS) and normalized to the total number of cells; at all other time points it was assayed using peripheral blood mononuclear cells (PBMC)