Diagnostic accuracy of a rapid urine lipoarabinomannan test for tuberculosis in HIV-infected adults

SUPPLEMENTAL DIGITAL CONTENT

SDC 1.   Accuracy of the Determine TB LAM Ag assay by band intensity threshold.

SDC 2.   Receiver-operator characteristic curves for the Determine TB LAM Ag assay for participants enrolled in Uganda (A) and South Africa (B).  The integers adjacent to points on the graphs correspond to grade 1, grade 2, grade 3, grade 4, grade 5, and refer to minimum test band intensity required for characterization of a test result as positive.

SDC 3.  Accuracy of the Determine TB LAM Ag assay, by enrollment site and hospitalization status at the time of enrollment.

SDC 4.   Accuracy of the Determine TB LAM Ag assay if any visualized band was considered as a positive test, by enrollment site and stratified by CD4 count (in cells/mm3).

SDC 5.  Sensitivities of the Determine TB LAM Ag assay and direct sputum smear microscopy using Ziehl-Neelsen staining, overall and stratified by CD4 count.

| Table S1: Supplemental Digital Content 1. Accuracy of the Determine TB LAM Ag assay by band intensity threshold. |
| --- |
|  | TB-LAM lateral flow band intensity threshold considered ‘positive’ |
|  | ≥ grade 1 | ≥ grade 2 | ≥ grade 3 | ≥ grade 4 | ≥ grade 5 |
| Proportion of total study population with TB LAM result (%) | 18.4 | 4.2 | 3.8 | 5.5 | 2.2 |
| Sensitivity % (95% CI) | 215/367 (58.6) (53.4, 63.7) | 136/367 (37.1) (32.1, 42.2) | 103/367 (28.1) (23.5, 33.0) | 70/367 (19.1) (15.2, 23.5) | 21/367 (5.7) (3.6, 8.6) |
| Specificity % (95% CI) | 464/573 (81.0) (77.5, 84.1) | 559/573 (97.6) (95.9, 98.7) | 566/573 (98.8) (97.5, 99.5) | 570/573 (99.5) (98.5, 99.9) | 572/573 (99.8) (99.0, 100.0) |
| PPV % (95% CI) | 215/324 (66.4) (60.9, 71.5) | 136/150 (90.7) (84.8, 94.8) | 103/110 (93.6) (87.3, 97.4) | 70/73 (95.9) (88.5, 99.1) | 21/22 (95.5) (77.2, 99.9) |
| NPV % (95% CI) | 464/616 (75.3) (71.7, 78.7) | 559/790 (70.8) (67.5, 73.9) | 566/830 (68.2) (64.9, 71.4) | 570/867 (65.7) (62.5, 68.9) | 572/918 (62.3) (59.1, 65.5) |
| Abbreviations: PPV, predictive value of a positive test; NPV, predictive value of a negative test |

| Table S2: Supplemental Digital Content 3. Accuracy of the Determine TB LAM Ag assay, by enrollment site and hospitalization status at the time of enrollment. |
| --- |
|  | Uganda Hospitalized | Uganda Non-Hospitalized | South Africa Hospitalized | South Africa Non-Hospitalized |
| Sensitivity % (95% CI) | 72/145 (49.7%) (41.3, 58.1) | 11/37 (27.7%) (15.9, 47.0) | 42/101 (41.6%) (31.9, 51.8) | 11/84 (13.1%) (6.7, 22.2) |
| Specificity % (95% CI) | 172/185 (93.0%) (88.3, 96.2) | 96/97 (99.0%) (84.4, 100) | 92/92 (100%) (96.1, 100) | 199/199 (100%) (98.2, 100) |
| PPV % (95% CI) | 72/85 (84.7%) (75.3, 91.6) | 11/12 (91.7%) (61.5, 99.8) | 42/42 (100%) (91.6, 100) | 11/11 (100%) (71.5, 100) |
| NPV % (95% CI) | 172/245 (70.2%) (64.1, 75.9) | 96/122 (78.7%) (70.4, 85.6) | 92/151 (60.9%) (52.7, 68.8) | 199/272 (73.2%) (67.5, 78.3) |
| Abbreviations: PPV, predictive value of a positive test; NPV, predictive value of a negative test |

| Table S3: Supplemental Digital Content 4. Accuracy of the Determine TB LAM Ag assay if any visualized band was considered as a positive test, by enrollment site and stratified by CD4 count (in cells/mm3)a |
| --- |
|  | All participants | Uganda | South Africa | P-value for comparison of Uganda vs. South Africa |
| SENSITIVITY |
| Overall | 215/367 (58.6%) (53.4,63.7) | 107/182 (58.8%) (51.3, 66.0) | 108/185 (58.4%) (50.9,65.6) | 0.93 |
| CD4 ≤ 100 | 153/196 (78.1%) (71.6,83.6) | 87/109 (79.8%) (71.1, 86.9) | 66/87 (75.9%) (65.9,84.4) | 0.51 |
| CD4 > 100 | 61/169 (36.1%) (28.9, 43.8) | 19/71 (26.8%) (16.9, 38.6) | 42/98 (42.9%) (32.9, 53.3) | 0.03 |
| SPECIFICITY |
| Overall | 464/573 (81.0%) (77.5, 84.1) | 244/282 (86.5%) (82.0, 90.3) | 220/291(75.6) (70.2, 80.4) | 0.001 |
| CD4 ≤ 100 | 126/165 (76.4%) (69.1, 82.6) | 98/121 (81.0%) (72.9, 87.6) | 28/44 (63.6%) (47.8, 77.6) | 0.02 |
| CD4 > 100 | 335/403 (83.1%) (79.1, 86.7) | 144/158 (91.1%) (85.6, 95.1) | 191/245 (78.0%) (72.2, 83.0) | 0.001 |
| PREDICTIVE VALUE OF A POSITIVE TEST |
| Overall | 215/324 (66.4%) (60.9,71.5) | 108/145 (73.8%) (65.8, 80.7) | 108/179 (60.3%) (52.8, 67.6) | 0.01 |
| CD4 ≤ 100 | 153/192 (79.7%) (73.3, 85.1) | 87/110 (79.1%) (70.3,86.3) | 66/82 (80.5%) (70.3. 88.4) | 0.81 |
| CD4 > 100 | 61/129 (47.3%) (38.4, 56.3) | 19/33 (57.6%) (39.2, 74.5) | 42/96 (43.8%) (33.6, 54.3) | 0.17 |
| PREDICTIVE VALUE OF A NEGATIVE TEST |
| Overall | 646/573 (75.3%) (71.7, 78.7) | 244/319 (76.5%) (71.4, 81.0) | 220/297 (74.1%) (68.7, 79.0) | 0.49 |
| CD4 ≤ 100 | 126/169 (74.6%) (67.3, 80.9) | 98/118 (81.7%) (73.6, 88.1) | 28/42 (57.1%) (42.2, 71.2) | 0.001 |
| CD4 > 100 | 335/443 (75.6%) (71.3, 79.5) | 144/196 (73.5%) (66.7, 79.5) | 191/247 (77.3%) (71.6, 82.4) | 0.35 |
| a CD4 results were missing for 7 participants, all of whom were included in the overall results but not in the results stratified by CD4 |

| Table S4: Supplemental Digital Content 5. Sensitivities of the Determine TB LAM Ag assay and direct sputum smear microscopy using Ziehl-Neelsen staining, overall and stratified by CD4 count (in cells/mm3)a |
| --- |
|  | TB LAM | Sputum smear microscopyb | TB LAM plus sputum smear microscopyb |
| Overall | 136/367 (37.1%) (32.1, 42.2) | 128/367 (34.9%) (30.0, 39.9) | 197/367 (53.7%) (48.4, 58.9) |
| CD4 ≤ 100 | 116/196 (59.2%) (52.0, 66.1) | 72/196 (36.7%) (30.0, 43.9) | 133/196 (67.9%) (60.8, 74.3) |
| CD4 > 100 | 20/169 (11.8%) (7.4, 17.7) | 56/169 (33.1%) (26.1, 40.8) | 64/169 (37.9%) (30.5, 45.6) |
| a CD4 results were missing for 2 participants, each of whom was included in the overall results but not in the results stratified by CD4 b a positive result on either or both of two smears performed at baseline considered was considered as positive McNemar’s test for the comparison of TB LAM alone versus the combination of tests: Overall group, P=0; CD4 ≤ 100, P=0; CD4 > 100, P=0. McNemar’s test for the comparison of sputum smear microscopy versus the combination of tests: Overall group, P=0; CD4 ≤ 100, P=0; CD4 > 100, P=0.005. |

# Text boxes

A.  Uganda

B.  South Africa

Figure S1: Supplemental Digital Content 2

Receiver-operator characteristic curves for the Determine TB LAM Ag assay for

participants enrolled in Uganda (A) and South Africa (B).  The integers adjacent

to points on the graphs correspond to grade 1, grade 2, grade 3, grade 4, and

grade 5, and refer to minimum band intensity required for characterization of a

test result as positive.

1

1

2

2

3

3

4

4

5

5