SUPPLEMENTARY TABLE. Characteristics of studies reporting on SEI in a variety of biological matrices

| Reference | Analyte and matrix | Mobile phase | Analytical column and Instrumentation | Internal standard | Sample preparation | Evaluation of SEI | Extent of SEI | Method adopted for control/ negation of SEI |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Annesley et al.50 | Iohexol in serum | Solvent A (water w/ 0.1% formic acid) and Solvent B (acetonitrile w/ 0.1% formic acid) | Waters Oasis HLB column (20 × 2.1 mm). Waters TQD tandem quadrupole MS. Positive ion ESI MS/MS in MRM mode | Loversol Analog | PPT | 1c | None observed | 2g |
| Antonelli et al.51 | Cortisol and cortisone in urine | Solvent A (methanol w/ 0.1% formic acid) and Solvent B (water w/ 0.1% formic acid) | Zorbax Eclipse XDB-C18 column (50 × 4.6 mm). Agilent 6430 triple quadrupole MS. Positive ion ESI MS/MS in MRM mode | Cortisol-9,11,12,12-d4 and Cortisone-2,2,4,6,6,12,12-d7 Stable isotopes | SPE | 1c | None observed | 2g |
| Berg et al.46 | Amphetamine and methamphetamine in urine | Solvent A (ammonium formate buffer (5 mM, pH = 10.2) and Solvent B (methanol) | Acquity UHPLC BEH C18 (50 × 2.1 mm) column. Waters Quattro Premiere Xe MS/MS, Positive ion ESI in MRM mode | 2H11-amphetamine, 2H11-methamphetamine, 13C6-amphetamine and 13C6-methamphetamine Stable isotopes | Dilution | 1b | Enhancement 32-48% | 2d |
| B’Hymer et al.52 | S-benzyl mercapturic acid (S-BMA) and S-phenyl mercapturic acid (S-PMA) in urine | Acetonitrile-water-acetic acid: Solvent A (5:95:0.1%) and Solvent B (75:25:0.1%) | Agilent Zorbax Rx C18 (250 × 3.0 mm). Agilent Model 6410A, Negative ion ESI in MRM mode | S-benzyl-d5 mercapturic acid and S-phenyl-d5 mercapturic acid Stable isotopes | SPE followed by acetone wash | 1a | Suppression (urine) 30%, (uriSub) 40% | 2a, 2b |
| Bista et al.53 | Fentanyl and nor-fentanyl | Solvent A (0.1% formic acid in water) and Solvent B (15% methanol in acetonitrile w/ 0.1% formic acid) | Alltima C18 (50 × 2.1 mm). Applied Biosystems API 3200 LC/MS/MS. Positive ion ESI in MRM mode | d5 fentanyl and d5 nor-fentanyl Stable isotopes | PPT | 1c | Suppression up to 50% | 2d |
| Bjork et al.54 | Multiple illicit and medicinal drugs in whole blood | Solvent A (0.1% aqueous ammonia (25%) in water) and Solvent B (0.1% aqueous ammonia (25%) in methanol) | Waters Acquity UHPLC CSH C18 (100 × 2.1 mm). Waters Quattro Premier XE triple quadrupole mass spectrometer. Positive ion ESI in MRM mode | Various dependent on compound used Stable isotopes | SPE | 1b, 1c | Suppression most analytes 20-30%, 6-acetyl morphine, morphine 75% | 2d |
| Bouchet et al.55 | Various tyrosine kinase inhibitors in plasma | Solvent A (ammonium formate (4 mM, pH = 3.2) and Solvent B (90% acetonitrile/10% Solvent A) | Waters Acquity UHPLC BEH C18 (50 × 2.1 mm). Waters Acquity TQD mass spectrometer. Positive ion ESI in MRM mode | Various DIS and SIL-IS | SPE | 1b, 1c | Suppression up to 4%, enhancement up to 17% at lower concentration | 2f |
| Bruins et al.24 | Clenbuterol in urine | Solvent A (ammonium acetate (25 mM, pH = 8)) and Solvent B (methanol) | No analytical column used. Nermag R 3010 triple quadrupole mass spectrometer. Positive ion mode ESI, APCI in SRM mode | External standardization | SPE | 1a | Suppression in ESI 40%, APCI 10% | 2f |
| Bunch et al.56 | 25-hydroxyvitamin D3 and 25-hydroxyvitamin D2 in serum | Solvent A (water) and Solvent B (methanol) | Hypersil GOLD aQ C18 column (50 × 2.1 mm). Positive ion APCI in MRM mode | 25OHD3-d6 and 25OHD2-d6 Stable Isotopes | PPT | 1c | None observed | 2g |
| Buhrman et al.27 | SR 27417(2-[ N-(2-dimethylaminoethyl)-N-(3- pyridinylmethyl) amino]-4-(2,3,6 tri-isopropylphenylthiazole) in plasma | Solvent A (ammonium acetate (2 mM): 0.2% formic acid) Solvent B (ammonium acetate (2 mM): 0.2% formic acid in acetonitrile) | Keystone BDS Hypersyl C18 (100 × 2 mm) Sciex API III Plus, Positive ion ESI in MRM mode | 2H4-SR 27417 Stable Isotope | Hexane LLE, LL back extraction, mixed mode SPE | 1a, 1b, 1c | Suppression 26-41% | 2f |
| Carducci et al.57 | Guanidinoacetate and creatine in dried blood spot | Methanol/water (80:20) | Sciex API 2000 triple quadrupole mass spectrometer. Positive ion mode ESI in MRM mode | N-methyl-d3-creatine (d3-Cr) Stable Isotope | Organic extraction and derivatization | 1b, 1c | Suppression (creatinine) 8-18%, (guanidinoacetate) 2-14% | 2d |
| Chen et al.58 | SCH211803 in plasma | Solvent A (formic acid (0.2%) in water) Solvent B (formic acid (0.2%) in 50:50 methanol:acetonitrile) | Betasil (100 × 2 mm) C18 column API 3000 triple quadrupole mass spectrometer. Positive ion mode ESI in MRM mode | d4-SCH 211803 Stable Isotope | PPT (for LCMS) PPT + SPE (for nanoelectrospray infusion) | 1b | Suppression nanoelectrospray infusion 15%, FIA 60% | 2f |
| Chin et al.59 | Olanzapine and desmethyl olanzapine in plasma and serum | Solvent A (acetonitrile: ammonium acetate (20 mM) (52:48 v/v)) Solvent B (formic acid:acetonitrile (0.1:100 v/v)). | Phenomenex LUNA phenyl hexyl (150 × 2mm). PE Sciex API 3000 mass spectrometer. Positive ion mode ESI in MRM mode | Olanzapine-d3 and desmethyl olanzapine-d8 Stable isotopes | SPE | 1c | Suppression 20-95% | 2f |
| Clark et al.60 | Metanephrine and normetanephrine in urine | Formic acid 0.2% in methanol 5% | Ultra II PFP propyl column (50 × 2.1 mm). API 3200 triple quadrupole mass spectrometer. Positive ion mode ESI in MRM mode | Rac-metanephrine-d3·HCl, rac-normetanephrine-d3·HCl Stable isotopes | SPE | 1b, 1c | None observed | 2g |
| Clavijo et al.61 | Biolimus A9 in blood | Acetonitrile (90%) with 0.01% formic acid (10%) | Zorbax XDB-C8 column (150 × 4.6 mm). Positive ion ESI MS/MS in MRM mode | Zotarolimus Analog | PPT and online column extraction | 1c | None observed | 2g |
| Crum et al.62 | Oxymorphone in blood and liver samples | Solvent A (water/formic acid (0.1%)) and Solvent B (acetonitrile/formic acid (0.1%) | Acquity UHPLC HSS T3 (100 × 2.1 mm) column. Waters Tetra Q MS/MS, Positive ion ESI in MRM mode | Oxymorphone-d3 Stable isotope | SPE | 1b, 1c | Suppression (blood) up to 19.7%, (liver) up to 68% | 2d, 2f |
| Deventer et al.63 | Diuretics and multiple others in urine | Solvent A (water) and Solvent B (methanol) with 1 mM ammonium acetate/0.001% acetic acid | Sunfire C18 (50 × 2.1 mm). Quantum Discovery MS/MS in SRM mode | Mefruside Analog | LLE or dilution | 1a, 1b, 1c | LLE: suppression 48%, enhancement 7% Dilution: suppression 15%, enhancement 24% | 2f |
| Dodds et al.64 | Cortisol and metabolites in placental perfusate | Ammonium formate buffer (10 mM pH = 4.0):methanol 47:53 (v/v) | Novapak C18 column (2 × 150 mm). PE-SCIEX API III triple quadrupole MS. Positive and negative ion ESI in MRM mode | 6α-methyl-prednisolone Analog | SPE | 1e | N/A | 2g |
| Esposito et al.65 | Desmopressin in urine | 90% acetonitrile with preferred concentrations of acetic acid (0.1%) and trifluoroacetic acid (0.01%) | C18 column. Positive ion ESI MS/MS (unspecified) in MRM mode | Deamino-Cys1,Val4 D-Arg8]-vasopressin Analog | Delipidation and SPE | 1b | Suppression 42.7% | 2f |
| Fauland et al.66 | Various lipid species in lipid droplets | Solvent A (ammonium acetate (10 mM)/formic acid (0.1%)) and Solvent B (acetonitrile:2-propanol 5:2 (v/v) in Solvent A) | C18 column (100 × 1 mm). LTQ-FT ion cyclotron resonance mass spectrometer. Positive and negative ion ESI Q-Trap MS/MS in MRM mode | Various LM internal standards (see identification and quantification) | LLE | 1c | Unspecified | 2f |
| Figurski et al.67 | Mycophenolic acid and its metabolites, in plasma, urine and tissue extract | Four solvent gradient system: Solvent A (0.5% aqueous formic acid), Solvent B (methanol), Solvent C (acetonitrile), Solvent D (purified water) | Agilent 1100 HPLC w/ Zorbax Eclipse XDB-C18 (150 × 4.6 mm). API 2000 MS/MS positive ion ESI in MRM mode | Carboxy-butoxy ether of MPAC Analog | PPT and dilution | 1a, 1c | Total concentration: suppression negligible Free concentration: suppression 9%, enhancement 14% | 2f |
| Fong et al.68 | Tetrodotoxin in urine and plasma | Ammonium formate (10 mM): formic acid (95:5, v/v) with 5 mM heptafluorobutyric acid and 2% acetonitrile | Agilent 1200 HPLC with Atlantics dC18 column (150 × 2.1 mm). Applied Biosystems 3200QTRAP MS/MS positive ion ESI | External Standardization | Dual SPE | 1b, 1c | Urine: suppression 3%, enhancement 3% Plasma: suppression 5%, enhancement 4% | 2a |
| Fong et al.69 | Acylglycines in urine | Solvent A (20 mM formic acid:ammonium formate [1:4; v/v]) Solvent B (acetonitrile) | Atlantis dC18 (150 × 2.1 mm). Applied Biosystems 3200QTRAP MS/MS positive ion ESI in MRM mode | Deuterated acylglycines Stable isotopes | SPE and derivatization | 1b, 1c | Unspecified | 2a |
| Fung et al.70 | Teicoplanin in serum | Solvent A (ammonium acetate (1%); formic acid (0.1%) in water) Solvent B (ammonium acetate (1%); formic acid (0.1%) in methanol) | Waters Acquity UHPLC BEH C18 column (50 ×2.1 mm). Waters Premier MS/MS. Positive ion ESI. | Ristocetin Analog | PPT | 1a, 1b, 1c | Suppression average 7.9% | 2f |
| George et al.71 | Methadone in plasma and saliva | 20 mM ammonium acetate buffer (pH = 7.4): isopropyl alcohol: acetonitrile (85:10:5% v/v) | ChromTech chiral α-acid glycoprotein column (100 × 4.0 mm). Positive ion ESI in MRM mode | Deuterated d- and l-methadone Stable isotopes | PPT | 1c | Negligible | 2d |
| Guo et al.72 | Steroid hormones in human follicular fluid | Solvent A (formic acid 0.1% in water) Solvent B (formic acid 0.1% in acetonitrile) | Shimadzu LC-30AD HPLC system Shimpack ODS Column (75 × 2.0 mm). Shimadzu MS-8040. Positive ion ESI in MRM mode | Girard reagent –d5 used to label steroid hormones Stable isotope | PPT | 1b | Suppression 28%, enhancement 18% | 2d |
| Gupta et al.73 | Darunavir in plasma | Solvent A (formic acid 0.5% in water) Solvent B (formic acid 0.5% in acetonitrile: methanol (70:30) | Acquity UHPLC system BEH C18 column (50 × 2.1 mm). Waters Premier XE MS/MS. Positive ion ESI in MRM mode | Darunavir-d9 Stable isotope | LLE | 1b, 1c | Suppression less than 4% | 2d |
| Haage et al.74 | Tramadol and metabolites in human whole blood | Solvent A (99.2% 20 mM ammonium acetate buffer (pH = 7.2)) Solvent B (0.8% acetonitrile) | Agilent AT 1290 Infinity system AGP column (100 × 3.0 mm). Agilent Technologies 6490 MS. Positive ion ESI in MRM mode | Tramadol-13C-d3 and O-desmethyl-cis-tramadol-d6 Stable isotopes | LLE | 1a, 1b, 1c | Negligible | 2d |
| Hasselstrom 75 | Antidepressants and antipsychotics in serum | Solvent A (water/formic acid (0.1%)), Solvent B (methanol/formic acid (0.1%)) | Zorbax SB-C8 column (50 × 2.0 mm). Agilent G6410B MS/MS. Positive ion ESI in MRM mode | Various SIL-IS | PPT | 1b, 1c | Suppression varied from 5-52% for different analytes | 2b |
| Hetu et al.76 | Tacrolimus, sirolimus and cyclosporin in blood | Solvent A (water/sodium acetate (100 µM), Solvent B (methanol/sodium acetate (100 µM) | Security Guard C18 pre-column (4 × 3 mm). Agilent 6410 MS/MS. Positive ion ESI in MRM mode | Ascomycin and Cyclosporine- D Analogs | PPT | 1b | Suppression tacrolimus and cyclosporin <10% sirolimus up to 20% | 2a |
| Hinchcliffe et al.77 | Aldosterone in plasma | Solvent A (deionized water), Solvent B (methanol) | Kinetex PFP column (100 × 2.1 mm). Waters Xevo TQS MS/MS. Negative ion ESI in MRM mode | Aldosterone-d7 Stable Isotope | SPE | 1c | Negligible | 2g |
| Hinchcliffe et al.78 | Cyclosporin A and tacrolimus in dry blood spots | Solvent A ((water/ammonium acetate (2 mM) and formic acid (0.1% v/v)) and Solvent B (methanol/ammonium acetate (2 mM) and formic acid (0.1% v/v)) | Waters Acquity BEH C18 column (50 × 2.1 mm). Waters Quattro Premier XE. Positive ion ESI MS/MS in MRM mode | Cyclosporin A-d12 and Ascomycin Stable isotope and analog | Hot solvent extraction with ultrasonication | 1c | Negligible | 2g |
| Hooff et al.79 | FFP and GGPP in brain tissue | Solvent A (acetonitrile (40%) w/ (20 mM) ammonium acetate), Solvent B (acetonitrile (90%) w/ (40 mM) ammonium acetate) | Ascentis Express C18 column (100 × 2.1 mm). API 4000 Qtrap MS/MS. Positive ion ESI in MRM mode | 5-(dimethylamino) naphthalene-1-(4-nonylphenol)-sulfonic acid ester Analog | SPE, protein precipitation, derivatization | 1c | None observed at relevant retention times | 2g |
| Ismaiel et al.80 | Hydrocodone and pseudoephedrine in plasma | Solvent A (ammonium formate (2 mM) in methanol)) Solvent B (acetonitrile) | Betasil Diol-100 (50 × 2.1 mm). Micromass Quattro API Micro. Positive ion ESI in MRM mode | Hydrocodone-d3, and pseudoephedrine-d3 Stable isotopes | LLE | 1b, 1c | Suppression (hydrocodone) 45%, (pseudo-ephedrine) 41% | 2e |
| Ismaiel et al.20 | Chlorpheniramine in plasma | Ammonium formate (2 mM) in methanol (20:80)-for ESI Acetonitrile/water/formic acid (70:30:1)-for APCI | Betasil Diol-100 (50 × 2.1 mm)-for ESI. Zorbax SB C18 (4.6 x 50 mm)-for APCI. Micromass Quattro API Micro. Positive ion ESI and APCI in MRM mode. | Chlorpheniramine-d6, Diphenhydramine hydrochloride Stable isotope and analog | LLE | 1b, 1c | Suppression ESI 65%, APCI 15% | 2d, 2e |
| Josefsson et al.81 | Beta-agonists and beta-antagonists in whole blood | Ammonium acetate (20 mM) pH = 3, in methanol | Zorbax SB-Ph (150 × 2.0mm). Sciex API 2000 triple quadrupole MS. Positive ion ESI in MRM mode | External standardization | PPT, SPE | 1c | Suppression | 2a, 2e |
| Kintz et al.82 | Benzodiazepines and hypnotics in oral fluid | Acetonitrile 5%, (0.1%) formic acid 95% | XTerra MS C18 (100 × 2.1 mm). Micromass Quattro Micro tandem. Positive ion ESI MS/MS in MRM mode | Diazepam-d5 Stable isotope (of analog) | LLE | 1a | Suppression < 10%, except zopiclone 93% | 2f |
| Klawitter et al.83 | Imatinib in blood and leukemia cell culture (K562) | Methanol/ammonium acetate (5 mM) pH = 3.2 and trifluoroacetic acid (0.01%) | Luna C18 column (50 × 4.6 mm). Sciex API 4000 MS/MS. Positive ion ESI in MRM mode | Trazodone Analog | PPT | 1c | None observed at relevant retention times | 2g |
| Klepacki et al.84 | Mycophenolic acid and its metabolites in plasma and urine | Solvent A (water/formic acid (0.1%)), Solvent B (methanol/formic acid (0.1%)) | Waters UHPLC-BEH C18 column (5 × 2.1 mm). Waters Acquity TQD MS/MS Positive ion ESI in MRM mode | MPA-d3 and MPAG-d3 Stable isotopes | PPT | 1b | None observed | 2g |
| Ko et al.85 | [13C6]-galactose 1-phosphate, UDP-[13C2]-galactose and UDP-galactose in blood | Solvent A (triethylamine buffer (20 mM) at pH = 5.6), Solvent B (distilled water) | Waters Acquity HSS-T3 column (100 ×2.1 mm). Waters Quattro Premier XE MS/MS. Negative ion ESI in MRM mode | [13C] galactose-1-phosphate and UDP-N-acetylglucosamine Stable isotope and analogue | Enzyme assay | 1a | Suppression 0.1% -2.5% | 2f |
| König et al.86 | Amiodarone in serum | Methanol:water (containing 0.1% formic acid) 90:10 | Waters Xbridge C8 column (100 × 3.5 mm). Waters Quattro Micro MS/MS. Positive ion ESI | Amiodarone-d4 Stable isotope | SPE | 1b, 1c | Suppression 9% | 2f |
| König et al.87 | Vancomycin in serum | Solvent A (water/Formic acid (0.1%)), Solvent B (methanol/formic acid (0.1%)) | Fortis C8 column (100 × 2.1 mm). Waters Quattro Micro MS/MS. Positive ion ESI in MRM mode | Vancomycin-glycine Analog | PPT | 1b, 1c | Suppression 9% | 2f |
| Korecka et al.88 | 8-iso-PGF2α and 8,12-iso-iPF2α in cerebrospinal fluid and brain tissue | Solvent A (water w/ formic acid (0.1%)) and Solvent B (acetonitrile and methanol (20:80) | Phenomenex Synergi Hydro RP C18 column (250 × 3.0 mm). API 5000 MS/MS. Negative ion APCI in MRM mode | d4-8-iso-PGF2α and 8,12-iso-IPF2α-VI-d11 Stable isotopes | PPT (cerebrospinal fluid), SPE (brain tissue) | 1b, 1c | Negligible | 2g |
| Kuhn et al.89 | Amiodarone and desethylamiodarone in plasma and serum | Methanol/water containing 0.1% formic acid and 2 mmol/L ammonium acetate | Phenomenex Hydro-RP (20 × 2.0 mm). VB-Qmicro Quattro Micro Tandem MS/MS. Positive ion ESI in MRM mode | Amiodarone-d4 and Desethylamiodarone-d4 Stable isotopes | SPE | 1c | Negligible | 2d |
| Leung et al.90 | Myo-inositol in urine, blood and nutritional supplements | Solvent A (water 95%), Solvent B (acetonitrile 5%) | Supelcogel Pb column (300 × 7.8 mm). Waters MicroMass Quattro MS/MS. Negative ion in MRM mode | [2H6]-myo-inositol (MI-d6) Stable isotope | Filtration + dilution (supplements), centrifugation +PPT (urine/blood) | 1d | Unspecified | 2f |
| Li et al.91 | Pantoprazole enantiomers in human plasma | Solvent A (ammonium acetate (10 mM) in methanol: acetonitrile (1:1, v/v)) Solvent B (ammonium acetate (20 mM) in water) | CHIRALCEL OJ-RH column (150 × 4.6 mm) Applied Biosystems API 4000 triple quadrupole mass spectrometer. Negative ion ESI in MRM mode | Pantoprazole-d7 Stable isotope | LLE | 1b | Negligible | 2d |
| Lindner et al.92 | Erufosine in human plasma | Water:methanol (30:70 (v/v)) | ReproSil-Pur CN (20 mm × 4 mm) Waters Quattro Ultima Pt tandem mass spectrometer. Positive ion ESI in MRM mode | Deuterated ErPC3- d9 Stable isotope | PPT | 1a | Negligible | 2g |
| Majumdar et al.93 | CGS 26214 in plasma | Methanol in water (5 M) ammonium hydroxide (60:55:5) | Asahipak ODP microbore column (50 × 1 mm). TSQ-700 triple quadrupole MS. Negative ion ESI in MRM mode | [13C,d4 ]CGS 26214 Stable isotope | SPE | 1d | Unspecified | 2f |
| Mak et al.94 | Voriconazole in human serum | Solvent A (2 mM ammonium acetate, 0.1% formic acid in water) Solvent B (2 mM ammonium acetate, 0.1% formic acid in acetonitrile) | Shimadzu Prominence UFLC system, Kinetex®C18, (100 × 3.0 mm). AB Sciex QTrap 5500 MS/MS. Positive ion ESI in MRM mode | Voriconazole-d3 Stable isotope | PPT | 1a, 1b | Suppression <14% | 2b,2d |
| Marney et al.95 | Metanephrine and normetanephrine in plasma | Solvent A (acetonitrile, methanol, ammonium formate (2 mM) (95%:3%:to pH = 3)), Solvent B (acetonitrile, ammonium formate (20 mM) (80%: pH to 3) | Atlantis HILIC silica column (30 × 2.1 mm). Waters Quattro Micro MS/MS. MRM mode | Metanephrine-d3 and normetanephrine-d3 Stable isotopes | PPT | 1c | None observed | 2g |
| Maurer et al.96 | Oxcarbazepine and 10 hydroxycarbazepine in plasma | Solvent A (aqueous ammonium formate (5 mM, pH = 3.0) with formic acid) Solvent B (acetonitrile) | Merck LiChroCART column (125 × 2 mm) Agilent AT 1100 Mass spectrometer. Positive ion APCI in SRM mode | Trimipramine-d3 Stable isotope | LLE | 1d | Unspecified | 2f |
| Miliotis et al.97 | Desmosines in plasma and urine | Solvent A (water/formic acid (0.1%), Solvent B (acetonitrile/formic acid (1%) | HyperCarb column (100 × 2.0 mm). Sciex Triple Quad 5500 MS/MS. Positive ion ESI in SRM mode | Isodesmosine-d9 Stable isotope | SPE and centrifugation | 1d | Unspecified | 2f |
| Miller et al.98 | 5-Hydroxyindole acetic acid in plasma | Solvent A (ammonium acetate (10 mM) and formic acid (0.1%) in water), Solvent B (ammonium acetate (2 mM) and formic acid (0.1%) in methanol) | Waters Acquity UHPLC C18 Primesep B column (50 × 3.2 mm). Waters Quattro Premier XE MS/MS. Positive ion ESI in MRM mode | 5-Hydroxyindole-3-acetic-2,2,-d2 Stable isotope | PPT and centrifugation | 1c | Negligible | 2g |
| Mortier et al.8 | Paclitaxel in plasma | Method A: methanol:water (70:30, v/v) with acetic acid (0.5 mM) Method B (85:15, v/v) | Phenomenex Synergi Max RP (75 × 2.0 mm). API 2000 triple quadrupole MS. Positive ion APCI in MRM mode | Docetaxel Analog | LLE | 1a | Suppression | 2b |
| Moser et al.99 | Levonorgestrel in serum | Solvent A (90% aqueous medium with ammonium acetate (1 M) in methanol and acetic acid) Solvent B (95% Methanol with ammonium acetate and acetic acid) | Zorbax Eclipse XDB-C18, (3 × 100 mm) column. AB Sciex API 4000 mass spectrometer. Positive ion ESI in SRM mode | Norgestrel-d6 Stable isotope | SPE | 1b, 1c | Enhancement 13-24% | 2g |
| Moser et al.100 | Gestodene, dienogest, drospirenone, etonogestrel, cyproterone acetate, and levonorgestrel in human plasma | Solvent A (90% aqueous medium with ammonium acetate (1M) in methanol and acetic acid) Solvent B (95% Methanol with ammonium acetate and acetic acid) | Zorbax Eclipse XDB-C18, (3 × 100 mm) column. AB Sciex API 4000, mass spectrometer. Positive ion ESI in SRM mode | Drospirenone-13C3 Norgestrel-d6 Gestodene-d6 Dienogest-d5 Etonogestrel-d7 Stable isotopes | SPE | 1b, 1c | Enhancement | 2g |
| Muller et al.101 | Codeine and glafenin in serum | Solvent A (ammonium formate (1 mM)/formic acid 0.1% (pH = 3.1), Solvent B (acetonitrile) | Synergy polar-RP phenyl-propyl column (150 × 2.0 mm). API 365 triple-quadrupole MS. Positive and negative ion ESI in MRM mode | N/A | LLE, SPE, and PPT with SPE | 1c | Suppression with LLE, SPE, and PPT with SPE | 2f |
| Ngougni Pokem et al.102 | Temocillin in serum | Solvent A (0.1% formic acid in water), Solvent B (0.1% formic acid in acetonitrile) | Alliance HPLC system XBridge®phenyl, (50 × 2.1 mm). Quattro micro tandem MS. Positive ion ESI in MRM mode | Ticarcillin Analog | PPT and ultrafiltration | 1a, 1b | Suppression 17-36% | 2f |
| O'Halloran et al.103 | Sirolimus in whole blood and extraction-matrix samples | Solvent A (formic acid (0.1%) and ammonium acetate (2 mM) in water), Solvent B (formic acid (0.1%) and ammonium acetate (2 mM) in methanol) | Waters 2795/Quattro Premier XE MS. Positive ion ESI in MRM mode | Desmethoxyrapamycin and sirolimus-d3 Stable isotope and analog | PPT | 1b | Suppression | 2f |
| Pian et al.104 | Zileuton in plasma | Solvent A (formic acid (0.1%) in water), Solvent B (formic acid (0.1%) in acetonitrile) | Phenomenex Kinetex PFP column (100 × 4.6 mm). AB Sciex API 5000 MS/MS. Positive ion ESI in MRM mode | Zileuton-d4 Stable isotope | PPT | 1b | Suppression 3-6% | 2f |
| Remane et al.105 | 14 analytes from different drug classes in human blood plasma-effect on SIL-ISs | Solvent A (aqueous ammonium formate (10 mM), pH = 3.4 with 0.1% formic acid Solvent B (acetonitrile with 0.1% formic acid) | TF Hypersil GOLD Phenyl column (100 × 2.1mm) TSQ Quantum Access ThermoFisher Scientific Mass spectrometer. Positive ion APCI and ESI in MRM mode. | Deuterated internal standards Stable isotopes | LLE | 1a,1b | ESI-suppression APCI-predominantly enhancement | 2f |
| Remane et al.106 | 140 analytes from different drug classes in human blood plasma-effect of co-eluting drugs from the same and different classes | Solvent A (aqueous ammonium formate (10 mM), pH = 3.4 with 0.1% formic acid Solvent B (acetonitrile with 0.1% formic acid) | TF Hypersil GOLD Phenyl column (100 × 2.1 mm) TSQ Quantum Access ThermoFisher Scientific Mass spectrometer. Positive ion APCI and ESI in MRM mode. | Limited number of deuterated internal standards Stable isotopes | LLE | 1a,1b | ESI-suppression up to 73% APCI-enhancement up to 190%, suppression up to 71% | 2f |
| Rodda et al.107 | Iso-α-acids in blood | Solvent A (ammonium formate (50 mM), pH = 2.8 and acetonitrile 90:10)), Solvent B (formic acid (0.1%) in acetonitrile) | Phenomenex Kinetex C18 column (150 × 3.0 mm). Shimadzu 8030 MS/MS. Negative ion ESI in MRM mode | Nimodipine-d7 Stable isotope and analogs | PPT | 1b | Suppression and enhancement | 2f |
| Rosano et al.108 | Multiple illicit and medicinal drugs in whole blood | Solvent A (ammonium formate (5 mM) pH = 3), Solvent B (0.1% formic acid in acetonitrile) | Waters HSS C18 column (150 × 2.1 mm). Waters Xevo G2QTOF MS/MS. Positive ion ESI in MRM mode | Methapyrilene Analog | SPE | 1b | Suppression up to 80%, enhancement up to 20% | 2f |
| Salm et al.39 | Cyclosporin in whole blood | Methanol and ammonium acetate (40 mM) buffer pH = 5.1 (80:20) | Zorbax Bonus C18 column (50 × 2.1 mm). Agilent 1100 API III triple Quadruple MS. Positive ion ES in MRM mode | Cyclosporin-d12 Stable isotope | PPT and SPE | 1b | Suppression 6.3% | 2f |
| Salm et al.109 | Everolimus in whole blood | Ammonium acetate (40 mM, pH = 5.1) buffer: Methanol 80:20 (v/v) | Novapak C18 column (150 × 2.1 mm) PE SCIEX API III quadrupole MS. Positive ion ESI in MRM mode | SDZ 223-756 (40-O-(3’Hydroxy) propyl rapamycin) Analog | PPT and SPE | 1e | n/a | 2f |
| Salm et al.110 | Tacrolimus and cyclosporin in whole blood | Solvent A (100% deionized water) (B) 100% methanol | Phenomenex C18 SecurityGuard cartridge column (4.0 × 3.0mm) Applied Biosystems/MDS Sciex 4000 QTrap Tandem MS. Negative ion APCI in SRM mode | Ascomycin and cyclosporin D Analogs | PPT | 1c | ESI +ve mode- suppression up to 60% both analytes APCI –ive mode: no suppression for either analyte | 2e |
| Salm et al.111 | FTY720 in whole blood | Ammonium acetate (40 mM, pH = 5.1) in water:methanol 30:70 (v/v) | Allure TM Pentafluorophenylpropyl RP column (50 × 2.1 mm) Applied Biosystems 4000 QTrap Tandem MS. Positive ion APCI in SRM mode | Y-32919 Analog | LLE | 1c | Negligible | 2g |
| Sardela et al.112 | Formoterol in urine | Solvent A (ammonium acetate (1 mM) with acetic acid (0.1%) in water), Solvent B (ammonium acetate (1 mM) with acetic acid (0.1%) in methanol) | Zorbax SB-C8 column (50 × 2.1 mm). Quantum Vantage MS/MS. Positive ion ESI in SRM mode | Formoterol-d6 Stable isotope | Centrifugation | 1a | Suppression 1.7- 7% | 2d |
| Saudan et al.113 | Testosterone and epitestosterone conjugates in urine | Solvent A (methanol), Solvent B (acetic acid in water (0.5%)) | Uptisphere 120 A ODB (150 × 3.0 mm). Linear ion trap mass spectrometer. Negative ion ESI | 16,16,17-2H3-testosterone glucuronide (d3-TG) and 16,16,17-2H3-testosterone sulfate (d3-TS) Stable isotopes | SPE | 1b | Suppression 32% and enhancement <25% | 2d |
| Shu et al.114 | Nicotine, cotinine and trans-3'-hydroxycotinine in serum | Solvent A (ammonium formate (50 mM) pH = 4.5), Solvent B (acetonitrile) | Agilent Eclipse XDB-C8 column (50 × 2.1 mm). Waters Quattro Micro MS/MS. Positive ion ESI in MRM mode | Nicotine-d4 and cotinine-d3 Stable isotopes | SPE and centrifugation | 1b | Suppression (hydroxycotinine)16%, cotinine (22%), enhancement (nicotine) 10% | 2f |
| Stocker et al.115 | Oxypurinol in urine | Acetonitrile/methanol/50 mM ammonium acetate with 0.2% formic acid (95/2/3, v/v) | Atlantis HILIC Silica column (100 × 2.1 mm) Waters Quattro Premier triple quadrupole MS. Negative ion ESI in SRM mode | 8-methylxanthine Analog | Dilution and centrifugation | 1a | Suppression Oxypurinol-8%, IS-20% | 2g |
| Tarcomnicu et al.116 | Ibandronate in plasma | Solvent A (formic acid (0.1%) in water), Solvent B (formic acid (0.1%) in acetonitrile) | Supelco Discovery HSC18 column (100 × 2.1 mm). API 4000 Qtrap MS/MS. Positive ion ESI in MRM mode | Ibandronate Sodium-d3 Stable isotope | LLE and centrifugation | 1a | Suppression 46% | 2d |
| Taylor et al.117 | Tacrolimus in whole blood | Ammonium acetate (2 mM) with formic acid (0.1%) in water for Solvent A and in methanol for Solvent B | Waters TDM C18 cartridge column (10 mm × 2.1 mm). Waters Quattro Micro tandem mass spectrometer. Positive ion ESI in SRM mode | Ascomycin Analog | PPT | 1c | Suppression | 2d |
| Taylor et al.118 | Everolimus in whole blood | Solvent A (2 mM ammonium acetate with 0.1% formic acid in water Solvent B (2 mM ammonium acetate with 0.1% formic acid in methanol) | Waters TDM C18 column (10 mm × 2.1 mm) Waters Quattro micro tandem MS. Positive ion ESI in SRM mode | 40-O-(3’hydroxy) propyl-rapamycin Analog | PPT | 1c | Suppression | 2g |
| Taylor et al.119 | Nicotine in human plasma | Ammonium formate (10 mM, pH = 3.3) and acetonitrile (50:50, v/v) | Phenyl Novapak® (150 × 2.1 mm) column. PE-SCIEX API III triple quadrupole MS. Positive ion ESI in SRM mode | d3-nicotine Stable isotope | LLE | 1e | n/a | 2g |
| Tudela et al.120 | Glucocorticoids and diuretics in urine | Solvent A (ammonium acetate (1 mM)), Solvent B (acetonitrile) | Poroshell 120 EC-C18 column (50 × 2.1 mm). API 4000 MS/MS. Negative ion Turboion ESI in MRM mode | 1-dehydro-cortexolone and budesonide-d8 Stable isotope and analog | Centrifugation, hydrolysis and SPE, LLE | 1a | Suppression and enhancement | 2a, 2d |
| Virus et al.121 | Doping substances in urine | Solvent A (ammonium Hydroxide (3 mM)), Solvent B (methanol/water 90:10 with 3 mM ammonium hydroxide (3 mM)) | Waters Acquity BEH C18 column (50 × 2.1 mm) HESI-II LTQ Orbitrap MS/MS. Positive ion mode | Methyltestosterone Analog | Centrifugation LLE | 1b | Suppression 4%-85.0% | 2f |
| Vogeser et al.122 | Sirolimus in whole blood | Methanol/2 mM ammonium acetate (90:10 v/v) | ReproSil-Pur C18- AQ (125 × 2 mm) column. Waters Micromass Quattro LC-tandem MS. Positive ion ESI in MRM mode | 32-desmethoxy-rapamycin Analog | PPT followed by SPE | 1a | None observed | 2g |
| Vogeser et al.123 | Voriconazole in plasma | Water:methanol (95:5 (v/v)) | LiCrospher® 100 RP-18 column (125 × 4 mm). Waters Micromass Quattro LC Ultima tandem MS. Positive ion ESI in MRM mode | Fenbuconazole Analog | PPT followed by SPE | 1a | None observed | 2g |
| Wang et al.124 | Illicit drugs in oral fluid | Solvent A (acetonitrile) Solvent B (ammonium acetate (10 mM) pH = 6.25 in water) | Acquity Waters HSS-T3 column (100 × 2.1 mm). Waters Quattro Premier XE Triple Quadrupole MS/MS. Positive ion APCI/APPI/ESI in SRM mode | SIL-IS were obtained for all sample drugs except for norcocaine Stable isotopes | Centrifugation | 1a | ESI (suppression 28-78%, enhancement 5.1- 28%) APCI (suppression 45-89%) APPI (suppression 74-96%) | 2e |
| Wang et al.42 | Carvedilol enantiomers in plasma | Solvent A (ammonium formate (2 mM), pH = 3 and Solvent B (acetonitrile) | Ace 3 C18 column (50 × 2.1 mm). API-4000 Triple Quadrupole MS/MS. Positive ion ESI in SRM mode | [2H5]-carvedilol Stable isotope | PPT and derivatization | 1c | Suppression | 2b, 2d |
| Willis et al.125 | Free mycophenolic acid in plasma | Ammonium formate (2 mM, pH = 3.8): methanol 45:55 (v/v) | Novapak C18 column (150 × 2.1 mm) PE-Sciex API III triple quadrupole MS. Negative ion APCI in SRM mode | Indomethacin Analog | Ultrafiltration and SPE | 1e | n/a | 2g |
| Wood et al.126 | Multiple illicit drugs in preserved oral fluid | Solvent A (ammonium bicarbonate (10 mM, pH = 10), Solvent B (methanol) | XTerra MS C18 column (150 × 2.1 mm). Quattro Ultima tandem mass spectrometer. Positive ion ESI in MRM mode | Deuterated analogs for all of the analytes Stable isotopes | SPE | 1b, 1c | Suppression- 2-13%, ion enhancement 3-12% | 2f |
| Xia et al.127 | Ursolic acid in plasma | Solvent A (acetonitrile) and Solvent B (ammonium formate (10 mM), 90:10, v/v)) | Acquity UHPLC BEH C8 column (100 × 2.1 mm). Waters Acquity TQDTM triple quadrupole MS. Negative ion ESI MS/MS in MRM mode | Glycyrrhetinic acid Analog | LLE | 1b | Suppression 6-10% | 2f |
| Zhang et al.128 | Vancomycin in serum | Solvent A (formic acid (0.1%) in water, Solvent B (acetonitrile), 90:10 v/v | ACE-3-C8 column (50 × 3.0 mm). LTQ-Orbitrap hybrid mass spectrometer. Positive ion ESI | Atenolol Analog | SPE | 1a, 1b | Negligible | 2d |

Atmospheric pressure chemical ionization (APCI), deuterated internal standards (DIS), electrospray ionization (ESI), flow injection analysis (FIA), liquid-liquid extraction (LLE), LIPID MAPS (LM), multiple reaction monitoring (MRM), tandem mass spectrometry (MS/MS), protein precipitation (PPT), stable-isotope-labeled internal standard (SIL-IS), solvent phase extraction (SPE), selected reaction monitoring (SRM)

Legend for methods of assessing SEI

1a	Comparison of response in pure solution to that in matrix

1b	Post extraction addition

1c	Post column infusion

1d	No details provided

1e	None performed

Legend for methods of minimizing impact of SEI

2a	Modified sample extraction

2b	Mobile phase modification or dilution of the sample

2c	Calibration using a similar matrix

2d	Use of a stable isotope or other internal standard

2e	Other instrument modification

2f	None performed

2g	Not applicable, since the study considered that SEI was negligible or not observed at the retention time of analytes/entire run.

References:

50.	Annesley TM, Clayton LT. Ultraperformance liquid chromatography-tandem mass spectrometry assay for iohexol in human serum. Clin Chem. 2009;55:1196-1202.

51.	Antonelli G, Artusi C, Marinova M, et al. Cortisol and cortisone ratio in urine: LC-MS/MS method validation and preliminary clinical application. Clin Chem Lab Med. 2014;52:213-220.

52.	B'Hymer C. Validation of an HPLC-MS-MS method for the determination of urinary S-benzylmercapturic acid and S-phenylmercapturic acid. J Chromatogr Sci. 2011;49:547-553.

53.	Bista SR, Lobb M, Haywood A, et al. Development, validation and application of an HPLC-MS/MS method for the determination of fentanyl and nor-fentanyl in human plasma and saliva. J Chromatogr B Analyt Technol Biomed Life Sci. 2014;960:27-33.

54.	Bjork MK, Simonsen KW, Andersen DW, et al. Quantification of 31 illicit and medicinal drugs and metabolites in whole blood by fully automated solid-phase extraction and ultra-performance liquid chromatography-tandem mass spectrometry. Anal Bioanal Chem. 2013;405:2607-2617.

55.	Bouchet S, Chauzit E, Ducint D, et al. Simultaneous determination of nine tyrosine kinase inhibitors by 96-well solid-phase extraction and ultra performance LC/MS-MS. Clin Chim Acta. 2011;412:1060-1067.

56.	Bunch DR, Miller AY, Wang S. Development and validation of a liquid chromatography-tandem mass spectrometry assay for serum 25-hydroxyvitamin D2/D3 using a turbulent flow online extraction technology. Clin Chem Lab Med. 2009;47:1565-1572.

57.	Carducci C, Santagata S, Leuzzi V, et al. Quantitative determination of guanidinoacetate and creatine in dried blood spot by flow injection analysis-electrospray tandem mass spectrometry. Clin Chim Acta. 2006;364:180-187.

58.	Chen J, Yang L, Kapron JT, et al. Determination of SCH 211803 by nanoelectrospray infusion mass spectrometry: evaluation of matrix effect and comparison with liquid chromatography-tandem mass spectrometry. J Chromatogr B Analyt Technol Biomed Life Sci. 2004;809:205-210.

59.	Chin C, Zhang ZP, Karnes HT. A study of matrix effects on an LC/MS/MS assay for olanzapine and desmethyl olanzapine. J Pharm Biomed Anal. 2004;35:1149-1167.

60.	Clark ZD, Frank EL. Urinary metanephrines by liquid chromatography tandem mass spectrometry: using multiple quantification methods to minimize interferences in a high throughput method. J Chromatogr B Analyt Technol Biomed Life Sci. 2011;879:3673-3680.

61.	Clavijo C, Strom T, Moll V, et al. Development and validation of a semi-automated assay for the highly sensitive quantification of Biolimus A9 in human whole blood using high-performance liquid chromatography-tandem mass spectrometry. J Chromatogr B Analyt Technol Biomed Life Sci. 2009;877:3506-3514.

62.	Crum ED, Bailey KM, Richards-Waugh LL, et al. Validation of blood and liver oxymorphone analysis using LC-MS-MS: concentrations in 30 fatal overdoses. J Anal Toxicol. 2013;37:512-516.

63.	Deventer K, Pozo OJ, Van Eenoo P, et al. Qualitative detection of diuretics and acidic metabolites of other doping agents in human urine by high-performance liquid chromatography-tandem mass spectrometry: comparison between liquid-liquid extraction and direct injection. J Chromatogr A. 2009;1216:5819-5827.

64.	Dodds HM, Taylor PJ, Cannell GR, et al. A high-performance liquid chromatography-electrospray-tandem mass spectrometry analysis of cortisol and metabolites in placental perfusate. Anal Biochem. 1997;247:342-347.

65.	Esposito S, Deventer K, T'Sjoen G, et al. Doping control analysis of desmopressin in human urine by LC-ESI-MS/MS after urine delipidation. Biomed Chromatogr. 2013;27:240-245.

66.	Fauland A, Kofeler H, Trotzmuller M, et al. A comprehensive method for lipid profiling by liquid chromatography-ion cyclotron resonance mass spectrometry. J Lipid Res. 2011;52:2314-2322.

67.	Figurski MJ, Korecka M, Fields L, et al. High-performance liquid chromatography-mass spectroscopy/mass spectroscopy method for simultaneous quantification of total or free fraction of mycophenolic acid and its glucuronide metabolites. Ther Drug Monit. 2009;31:717-726.

68.	Fong BM, Tam S, Tsui SH, et al. Development and validation of a high-throughput double solid phase extraction-liquid chromatography-tandem mass spectrometry method for the determination of tetrodotoxin in human urine and plasma. Talanta. 2011;83:1030-1036.

69.	Fong BM, Tam S, Leung KS. Quantification of acylglycines in human urine by HPLC electrospray ionization-tandem mass spectrometry and the establishment of pediatric reference interval in local Chinese. Talanta. 2012;88:193-200.

70.	Fung FH, Tang JC, Hopkins JP, et al. Measurement of teicoplanin by liquid chromatography-tandem mass spectrometry: development of a novel method. Ann Clin Biochem. 2012;49:475-481.

71.	George R, Lobb M, Haywood A, et al. Quantitative determination of the enantiomers of methadone in human plasma and saliva by chiral column chromatography coupled with mass spectrometric detection. Talanta. 2016;149:142-148.

72.	Guo N, Liu P, Ding J, et al. Stable isotope labeling - liquid chromatography/mass spectrometry for quantitative analysis of androgenic and progestagenic steroids. Anal Chim Acta. 2016;905:106-114.

73.	Gupta A, Singhal P, Shrivastav PS, et al. Application of a validated ultra performance liquid chromatography-tandem mass spectrometry method for the quantification of darunavir in human plasma for a bioequivalence study in Indian subjects. J Chromatogr B Analyt Technol Biomed Life Sci. 2011;879:2443-2453.

74.	Haage P, Kronstrand R, Carlsson B, et al. Quantitation of the enantiomers of tramadol and its three main metabolites in human whole blood using LC-MS/MS. J Pharm Biomed Anal. 2016;119:1-9.

75.	Hasselstrom J. Quantification of antidepressants and antipsychotics in human serum by precipitation and ultra high pressure liquid chromatography-tandem mass spectrometry. J Chromatogr B Analyt Technol Biomed Life Sci. 2011;879:123-128.

76.	Hetu PO, Robitaille R, Vinet B. Successful and cost-efficient replacement of immunoassays by tandem mass spectrometry for the quantification of immunosuppressants in the clinical laboratory. J Chromatogr B Analyt Technol Biomed Life Sci. 2012;883-884:95-101.

77.	Hinchliffe E, Carter S, Owen LJ, et al. Quantitation of aldosterone in human plasma by ultra high performance liquid chromatography tandem mass spectrometry. J Chromatogr B Analyt Technol Biomed Life Sci. 2013;913-914:19-23.

78.	Hinchliffe E, Adaway JE, Keevil BG. Simultaneous measurement of cyclosporin A and tacrolimus from dried blood spots by ultra high performance liquid chromatography tandem mass spectrometry. J Chromatogr B Analyt Technol Biomed Life Sci. 2012;883-884:102-107.

79.	Hooff GP, Patel N, Wood WG, et al. A rapid and sensitive assay for determining human brain levels of farnesyl-(FPP) and geranylgeranylpyrophosphate (GGPP) and transferase activities using UHPLC-MS/MS. Anal Bioanal Chem. 2010;398:1801-1808.

80.	Ismaiel OA, Halquist MS, Elmamly MY, et al. Monitoring phospholipids for assessment of matrix effects in a liquid chromatography-tandem mass spectrometry method for hydrocodone and pseudoephedrine in human plasma. J Chromatogr B Analyt Technol Biomed Life Sci. 2007;859:84-93.

81.	Josefsson M, Sabanovic A. Sample preparation on polymeric solid phase extraction sorbents for liquid chromatographic-tandem mass spectrometric analysis of human whole blood—a study on a number of beta-agonists and beta-antagonists. J Chromatogr A. 2006;1120:1-12.

82.	Kintz P, Villain M, Concheiro M, et al. Screening and confirmatory method for benzodiazepines and hypnotics in oral fluid by LC-MS/MS. Forensic Sci Int. 2005;150:213-220.

83.	Klawitter J, Zhang YL, Klawitter J, et al. Development and validation of a sensitive assay for the quantification of imatinib using LC/LC-MS/MS in human whole blood and cell culture. Biomed Chromatogr. 2009;23:1251-1258.

84.	Klepacki J, Klawitter J, Bendrick-Peart J, et al. A high-throughput U-HPLC-MS/MS assay for the quantification of mycophenolic acid and its major metabolites mycophenolic acid glucuronide and mycophenolic acid acyl-glucuronide in human plasma and urine. J Chromatogr B Analyt Technol Biomed Life Sci. 2012;883-884:113-119.

85.	Ko DH, Jun SH, Park HD, et al. Multiplex enzyme assay for galactosemia using ultraperformance liquid chromatography-tandem mass spectrometry. Clin Chem. 2010;56:764-771.

86.	Konig K, Goethel SF, Rusu VM, et al. Deproteination of serum samples for LC-MS/MS analyses by applying magnetic micro-particles. Clin Biochem. 2013;46:652-655.

87.	Konig K, Kobold U, Fink G, et al. Quantification of vancomycin in human serum by LC-MS/MS. Clin Chem Lab Med. 2013;51:1761-1769.

88.	Korecka M, Clark CM, Lee VM, et al. Simultaneous HPLC-MS-MS quantification of 8-iso-PGF(2alpha) and 8,12-iso-iPF(2alpha) in CSF and brain tissue samples with on-line cleanup. J Chromatogr B Analyt Technol Biomed Life Sci. 2010;878:2209-2216.

89.	Kuhn J, Gotting C, Kleesiek K. Simultaneous measurement of amiodarone and desethylamiodarone in human plasma and serum by stable isotope dilution liquid chromatography-tandem mass spectrometry assay. J Pharm Biomed Anal. 2010;51:210-216.

90.	Leung KY, Mills K, Burren KA, et al. Quantitative analysis of myo-inositol in urine, blood and nutritional supplements by high-performance liquid chromatography tandem mass spectrometry. J Chromatogr B Analyt Technol Biomed Life Sci. 2011;879:2759-2763.

91.	Li S, Jiang H, Wang Y, et al. High-throughput chiral LC-MS/MS method using overlapping injection mode for the determination of pantoprazole enantiomers in human plasma with application to pharmacokinetic study. Chirality. 2016;28:569-575.

92.	Lindner LH, Eibl H, Hossann M, et al. Quantification of erufosine, the first intravenously applicable alkylphosphocholine, in human plasma by isotope dilution liquid chromatography-tandem mass spectrometry using a deuterated internal standard. J Chromatogr B Analyt Technol Biomed Life Sci. 2008;869:16-19.

93.	Majumdar TK, Wu S, Tse FL. Quantitative determination of CGS 26214, a cholesterol lowering agent, in human plasma using negative electrospray ionization liquid chromatography-tandem mass spectrometry. J Chromatogr B Biomed Sci Appl. 2001;759:99-108.

94.	Mak J, Sujishi KK, French D. Development and validation of a liquid chromatography-tandem mass spectrometry (LC-MS/MS) assay to quantify serum voriconazole. J Chromatogr B Analyt Technol Biomed Life Sci. 2015;986-987:94-99.

95.	Marney LC, Laha TJ, Baird GS, et al. Isopropanol protein precipitation for the analysis of plasma free metanephrines by liquid chromatography-tandem mass spectrometry. Clin Chem. 2008;54:1729-1732.

96.	Maurer HH, Kratzsch C, Weber AA, et al. Validated assay for quantification of oxcarbazepine and its active dihydro metabolite 10-hydroxycarbazepine in plasma by atmospheric pressure chemical ionization liquid chromatography/mass spectrometry. J Mass Spectrom. 2002;37:687-692.

97.	Miliotis T, Lindberg C, Semb KF, et al. Quantitative high-performance liquid chromatography-tandem mass spectrometry method for the analysis of free desmosines in plasma and urine. J Chromatogr A. 2013;1308:73-78.

98.	Miller AG, Brown H, Degg T, et al. Measurement of plasma 5-hydroxyindole acetic acid by liquid chromatography tandem mass spectrometry--comparison with HPLC methodology. J Chromatogr B Analyt Technol Biomed Life Sci. 2010;878:695-699.

99.	Moser C, Gschliesser A, Mattle V, et al. An ultra-sensitive online SPE-LC-MS/MS method for the quantification of levonorgestrel released from intrauterine devices. Anal Bioanal Chem. 2011;400:2655-2662.

100.	Moser C, Zoderer D, Luef G, et al. Simultaneous online SPE-LC-MS/MS quantification of six widely used synthetic progestins in human plasma. Anal Bioanal Chem. 2012;403:961-972.

101.	Muller C, Schafer P, Stortzel M, et al. Ion suppression effects in liquid chromatography-electrospray-ionisation transport-region collision induced dissociation mass spectrometry with different serum extraction methods for systematic toxicological analysis with mass spectra libraries. J Chromatogr B Analyt Technol Biomed Life Sci. 2002;773:47-52.

102.	Ngougni Pokem P, Miranda Bastos AC, Tulkens PM, et al. Validation of a HPLC-MS/MS assay for the determination of total and unbound concentration of temocillin in human serum. Clin Biochem. 2015;48:542-545.

103.	O'Halloran S, Ilett KF. Evaluation of a deuterium-labeled internal standard for the measurement of sirolimus by high-throughput HPLC electrospray ionization tandem mass spectrometry. Clin Chem. 2008;54:1386-1389.

104.	Pian P, Labovitz E, Hoffman K, et al. Quantification of the 5-lipoxygenase inhibitor zileuton in human plasma using high performance liquid chromatography-tandem mass spectrometry. J Chromatogr B Analyt Technol Biomed Life Sci. 2013;937:79-83.

105.	Remane D, Wissenbach DK, Meyer MR, et al. Systematic investigation of ion suppression and enhancement effects of fourteen stable-isotope-labeled internal standards by their native analogues using atmospheric-pressure chemical ionization and electrospray ionization and the relevance for multi-analyte liquid chromatographic/mass spectrometric procedures. Rapid Commun Mass Spectrom. 2010;24:859-867.

106.	Remane D, Meyer MR, Wissenbach DK, et al. Ion suppression and enhancement effects of co-eluting analytes in multi-analyte approaches: systematic investigation using ultra-high-performance liquid chromatography/mass spectrometry with atmospheric-pressure chemical ionization or electrospray ionization. Rapid Commun Mass Spectrom. 2010;24:3103-3108.

107.	Rodda LN, Gerostamoulos D, Drummer OH. The rapid identification and quantification of iso-alpha-acids and reduced iso-alpha-acids in blood using UHPLC-MS/MS: validation of a novel marker for beer consumption. Anal Bioanal Chem. 2013;405:9755-9767.

108.	Rosano TG, Wood M, Ihenetu K, et al. Drug screening in medical examiner casework by high-resolution mass spectrometry (UPLC-MSE-TOF). J Anal Toxicol. 2013;37:580-593.

109.	Salm P, Taylor PJ, Lynch SV, et al. Quantification and stability of everolimus (SDZ RAD) in human blood by high-performance liquid chromatography-electrospray tandem mass spectrometry. J Chromatogr B Analyt Technol Biomed Life Sci. 2002;772:283-290.

110.	Salm P, Taylor PJ, Rooney F. A high-performance liquid chromatography-mass spectrometry method using a novel atmospheric pressure chemical ionization approach for the rapid simultaneous measurement of tacrolimus and cyclosporin in whole blood. Ther Drug Monit. 2008;30:292-300.

111.	Salm P, Warnholtz CR, Lynch SV, et al. Measurement and stability of FTY720 in human whole blood by high-performance liquid chromatography-atmospheric pressure chemical ionization-tandem mass spectrometry. J Chromatogr B Analyt Technol Biomed Life Sci. 2006;843:157-163.

112.	Sardela VF, Deventer K, Pereira HM, et al. Development and validation of a ultra high performance liquid chromatography-tandem mass spectrometric method for the direct detection of formoterol in human urine. J Pharm Biomed Anal. 2012;70:471-475.

113.	Saudan C, Entenza JM, Baume N, et al. Short-term stability of testosterone and epitestosterone conjugates in urine samples: quantification by liquid chromatography-linear ion trap mass spectrometry. J Chromatogr B Analyt Technol Biomed Life Sci. 2006;844:168-174.

114.	Shu I, Wang P. Simultaneous serum nicotine, cotinine, and trans-3'-hydroxycotinine quantitation with minimal sample volume for tobacco exposure status of solid organ transplant patients. J Chromatogr B Analyt Technol Biomed Life Sci. 2013;928:139-145.

115.	Stocker SL, Franklin ME, Anderson JM, et al. Measurement of urinary oxypurinol by high performance liquid chromatography-tandem mass spectrometry. J Chromatogr B Analyt Technol Biomed Life Sci. 2010;878:2363-2368.

116.	Tarcomnicu I, Gheorghe MC, Silvestro L, et al. High-throughput HPLC-MS/MS method to determine ibandronate in human plasma for pharmacokinetic applications. J Chromatogr B Analyt Technol Biomed Life Sci. 2009;877:3159-3168.

117.	Taylor PJ, Franklin ME, Tai CH, et al. Therapeutic drug monitoring of tacrolimus by liquid chromatography-tandem mass spectrometry: is it truly a routine test? J Chromatogr B Analyt Technol Biomed Life Sci. 2012;883-884:108-112.

118.	Taylor PJ, Franklin ME, Graham KS, et al. A HPLC-mass spectrometric method suitable for the therapeutic drug monitoring of everolimus. J Chromatogr B Analyt Technol Biomed Life Sci. 2007;848:208-214.

119.	Taylor PJ, Forrest KK, Landsberg PG, et al. The measurement of nicotine in human plasma by high-performance liquid chromatography-electrospray-tandem mass spectrometry. Ther Drug Monit. 2004;26:563-568.

120.	Tudela E, Munoz G, Munoz-Guerra JA. Matrix effect marker for multianalyte analysis by LC-MS/MS in biological samples. J Chromatogr B Analyt Technol Biomed Life Sci. 2012;901:98-106.

121.	Virus ED, Sobolevsky TG, Rodchenkov GM. 'Wrong-way-round ionization' and screening for doping substances in human urine by high-performance liquid chromatography/orbitrap mass spectrometry. J Mass Spectrom. 2012;47:381-391.

122.	Vogeser M, Fleischer C, Meiser B, et al. Quantification of sirolimus by liquid chromatography-tandem mass spectrometry using on-line solid-phase extraction. Clin Chem Lab Med. 2002;40:40-45.

123.	Vogeser M, Schiel X, Spohrer U. Quantification of voriconazole in plasma by liquid chromatography-tandem mass spectrometry. Clin Chem Lab Med. 2005;43:730-734.

124.	Wang IT, Feng YT, Chen CY. Determination of 17 illicit drugs in oral fluid using isotope dilution ultra-high performance liquid chromatography/tandem mass spectrometry with three atmospheric pressure ionizations. J Chromatogr B Analyt Technol Biomed Life Sci. 2010;878:3095-3105.

125.	Willis C, Taylor PJ, Salm P, et al. Quantification of free mycophenolic acid by high-performance liquid chromatography-atmospheric pressure chemical ionisation tandem mass spectrometry. J Chromatogr B Biomed Sci Appl. 2000;748:151-156.

126.	Wood M, Laloup M, Ramirez Fernandez Mdel M, et al. Quantitative analysis of multiple illicit drugs in preserved oral fluid by solid-phase extraction and liquid chromatography-tandem mass spectrometry. Forensic Sci Int. 2005;150:227-238.

127.	Xia Y, Wei G, Si D, et al. Quantitation of ursolic acid in human plasma by ultra performance liquid chromatography tandem mass spectrometry and its pharmacokinetic study. J Chromatogr B Analyt Technol Biomed Life Sci. 2011;879:219-224.

128.	Zhang T, Watson DG, Azike C, et al. Determination of vancomycin in serum by liquid chromatography-high resolution full scan mass spectrometry. J Chromatogr B Analyt Technol Biomed Life Sci. 2007;857:352-356.