|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 50 ml | 100 ml | 150 ml | 200 ml | 250 ml | 300 ml |
| Diameter (cm) | 3.9 | 4.8 | 5.5 | 6.4 | 6.6 | 7.2 |
| Length (cm) | 6.8 | 6.8 | 7.2 | 7.5 | 7.6 | 7.6 |
| Circumference (cm) | 13.6 | 16.0 | 19.6 | 20.6 | 22.5 | 24.1 |
| Intra-balloon pressure | 5 mmHg | 52 mmHg | 56 mmHg | 58 mmHg | 60 mmHg | 62 mmHg |

Table. Supplemental Digital Content 2. Rectal balloon dimensions and pressures at 50 ml increments.