Practice Advisory for the Prevention and Management of Operating Room Fires: An Updated Report

##### American Society of Anesthesiologists

Bibliography in Alphabetical Order

- Aly A, McIlwain M, Duncavage JA: Electrosurgery-induced endotracheal tube ignition during tracheotomy. Ann Otol Rhinol Laryngol 1991; 100:31-33

- Anderson EF: A potential ignition source in the operating room. Anesth Analg 1976; 55:217-218

- Anonymous: Airway fires during surgery. PA-PRS Patient Safety Advisory 2007; 4:1-4

- Anonymous: Case history number 82: "Nonflammable" fires in the operating room. Anesth Analg  1975; 54:152-154

- Anonymous: Do pledgets protect the tracheal tube cuff from lasers? Health Devices 1992; 21:17

- Anonymous: Fire hazard created by the misuse of DuraPrep solution. Health Devices 1998; 27:400-402

- Anonymous: Laparoscopy light cable ignites operating room fire. Biomed Saf Stand 1994; 24:162-163

- Anonymous: Laser contact tips and tracheal tubes. Health Devices 1992; 21:18

- Anonymous: Laser ignition of surgical drapes. Health Devices 1992; 21:15-16

- Anonymous: Surgical drapes. Health Devices 1986; 15:111-136

- Anonymous: Surgical fire case summaries. Health Devices 1992; 21:31-34

- Anonymous: Use of wrong gas in laparoscopic insufflator causes fire. Health Devices 1994; 23:55-56

- Ashcraft KE, Golladay ES, Guinee WS: A surgical field flash fire during the separation of dicephalus dipus conjoined twins. Anesthesiology 1981; 55:457-458

- Aston SJ, Bornstein A: An unusual complication associated with blepharosplasty. Aesthetic Plast Surg 1978; 2:451

- Awan MS, Ahmed I: Endotracheal tube fire during tracheostomy: a case report. Ear Nose Throat J 2002; 81:90-92

- Axelrod EH, Kusnetz AB, Rosenberg MK: Operating room fires initiated by hot wire cautery. Anesthesiology 1993; 79:1123-1126

- Bailey MK, Bromley HR, Allison JG, Conroy JM, Krzyzaniak W: Electrocautery-induced airway fire during tracheostomy. Anesth Analg 1990; 71:702-704

- Barker SJ, Polson JS: Fire in the operating room: a case report and laboratory study. Anesth Analg 2001; 93:960-965

- Batra S, Gupta R: Alcohol based surgical prep solution and the risk of fire in the operating room: a case report. Patient Saf Surg 2008; 2:10-12

- Baur DA, Butler RC: Electrocautery-ignited endotracheal tube fire: case report. Br J Oral Maxillofac Surg 1999; 37:142-143

- Bennett JA, Agree M: Fire in the chest. Anesth Analg 1994; 78:406

- Bosman YK, Krige SJ, Edge KR, Newstead J, Du Toit PW: Comfort and safety in eye surgery under local anaesthesia. Anaesth Intensive Care 1998; 26:173-177

- Bowdle TA, Glenn M, Colston H, Eisele D: Fire following use of electrocautery during emergency percutaneous transtracheal ventilation. Anesthesiology 1987; 66:697-698

- Boyd CH: A fire in the mouth. A hazard of the use of antistatic endotracheal tubes. Anaesthesia 1969; 24:441-446

- Brechtelsbauer BP, Carroll WR, Barker S: Intraoperative fire with electrocautery. Otolaryngol Head Neck Surg 1996; 114:328-331

- Bucsi R: Closed claim study: Fire in the operating room. Ophtal Risk Mgmt Dig 2006; 16:6-7

- Burgess GE 3rd, LeJeune FE Jr: Endotracheal tube ignition during laser surgery of the larynx. Arch Otolaryngol 1979; 105:561-562

- Casey KR, Fairfax WR, Smith SJ, Dixon JA: Intratracheal fire ignited by the Nd-YAG laser during treatment of tracheal stenosis. Chest 1983; 84:295-296

- Chang BW, Petty P, Manson PN: Patient fire safety in the operating room. Plast Reconstr Surg 1994; 93:519-521

- Chee WK, Benumof JL: Airway fire during tracheostomy: Extubation may be contraindicated. Anesthesiology 1998; 89:1576-1578

- Chestler RJ, Lemke BN: Intraoperative flash fires associated with disposable cautery. Ophthal Plast Reconstr Surg 1989; 5:194-195

- Chou AK, Tan PH, Yang LC, Sun GC, Hsieh SW: Carbon dioxide laser induced airway fire during larynx surgery: case report. Chang Gung Med J 2001; 24:393-398

- Cozine K, Rosenbaum LM, Askanazi J, Rosenbaum SH: Laser-induced endotracheal tube fire. Anesthesiology 1981; 55:583-585

- Datta TD: Flash fire hazard with eye ointment. Anesth Analg 1984; 63:700-701

- Dini GM, Casagrande W: Misfortune during a blepharoplasty. Plast Reconstr Surg 2006; 117:325-326

- Eade GG: Hazard of nasal oxygen during aesthetic facial operations. Plast Reconstr Surg 1986; 78:539

- Eggen MA, Brock-Utne JG: Fiberoptic illumination systems can serve as a source of smoldering fires. J Clin Monit 1994; 10:244-246

- Elkington A: Theatre fire. Br Med J 1971; 2:769

- Epstein RH, Brummett RR Jr, Lask GP: Incendiary potential of the flash-lamp pumped 585-nm tunable dye laser. Anesth Analg 1990; 71:171-175

- Fried MP, Mallampati SR, Liu FC, Kaplan S, Caminear DS, Samonte BR: Laser resistant stainless steel endotracheal tube: experimental and clinical evaluation. Lasers Surg Med 1991; 11:301-306

- Galapo S, Wolf GL, Sidebotham GW, Cohen D: Laser ignition of surgical drapes in an oxygen enriched atmosphere. Anesthesiology 1998; 89:A580

- Goldberg J: Brief laboratory report: surgical drape flammability. AANA J 2006; 74:352-354

- Greco RJ, Gonzalez R, Johnson P, Scolieri M, Rekhopf PG, Heckler F. Potential dangers of oxygen supplementation during facial surgery. Plast Reconstr Surg 1995; 95:978-984

- Green JM, Gonzalez RM, Sonbolian N, Rehkopf P: The resistance to carbon dioxide laser ignition of a new endotracheal tube: Xomed Laser-Shield II. J Clin Anesth 1992; 4:89-92

- Greilich PE, Greilich NB, Froelich EG: Intraabdominal fire during laparoscopic cholecystectomy. Anesthesiology 1995; 83:871-874

- Gunatilake DE: Case report: fatal intraperitoneal explosion during electrocoagulation via laparoscopy. Int J Gynaecol Obstet 1978; 15:353-357

- Gupte SR: Gauze fire in the oral cavity: a case report. Anesth Analg 1972; 51:645-646

- Halstead MA: Fire drill in the operating room. Role playing as a learning tool. AORN J 1993; 58:697-706

- Handa KK, Bhalla AP, Arora A: Fire during the use of Nd-Yag laser. Int J Pediatr Otorhinolaryngol 2001; 60:239-242

- Hayes DM, Gaba DM, Goode RL: Incendiary characteristics of a new laser-resistant endotracheal tube. Otolaryngol Head Neck Surg 1986; 95:37-40

- Healy GB, Strong MS, Shapshay S, Vaughan C, Jako G: Complications of CO2 laser surgery of the aerodigestive tract: experience of 4416 cases. Otolaryngol Head Neck Surg 1984; 92:13-18

- Hirshman CA, Smith J: Indirect ignition of the endotracheal tube during carbon dioxide laser surgery. Arch Otolaryngol 1980; 106:639-641

- Howard BK, Leach JL: Prevention of flash fires during facial surgery performed under local anesthesia. Ann Otol Rhinol Laryngol 1997; 106:248-251

- Hurt TL, Schweich PJ: Do not get burned: preventing iatrogenic fires and burns in the emergency department. Pediatr Emerg Care 2003; 19:255-259

- Kaddoum RN, Chidiac EJ, Zestos MM, Ahmed Z: Electrocautery-induced fire during adenotonsillectomy: report of two cases. J Clin Anesth 2006; 18:129-131

- Katz JA, Campbell L: Fire during thoracotomy: a need to control the inspired oxygen concentration. Anesth Analg 2005; 101:612

- Keller C, Elliott W, Hubbell RN: Endotracheal tube safety during electrodissection tonsillectomy. Arch Otolaryngol Head Neck Surg 1992; 118:643-645

- Krawtz S, Mehta AC, Wiedemann HP, DeBoer G, Schoepf KD, Tomaszewski MZ. Nd-YAG laser-induced endobronchial burn. Management and long-term follow-up. Chest 1989; 95:916-918

- Lach E: The hazards of using supplemental oxygen. Plast Reconstr Surg 1996; 98:566-567

- Lai A, Ng KP: Fire during thoracic surgery. Anaesth Intensive Care 2001; 29:301-303

- Lai HC, Juang SE, Liu TJ, Ho WM: Fires of endotracheal tubes of three different materials during carbon dioxide laser surgery. Acta Anaesthesiol Sin 2002; 40:47-51

- Laudanski K, Schwab WK, Bakuzonis CW, Paulus DA: Thermal damage of the humidified ventilator circuit in the operating room: an analysis of plausible causes. Anesth Analg 2010; 111:1433-1436

- Le Clair J, Gartner S, Halma G: Endotracheal tube cuff ignited by electrocautery during tracheostomy. AANA J 1990; 58:259-261

- Lederman IR. Fire hazard during ophthalmic surgery. Ophthalmic Surg 1985; 16:577-578

- Lew EO, Mittleman RE, Murray D: Endotracheal tube ignition by electrocautery during tracheostomy: case report with autopsy findings. J Forensic Sci 1991; 36:1586-1591

- Lin IH, Hwang CF, Kao YF, Chang KA, Peng JP: Tracheostomal fire during an elective tracheostomy. Chang Gung Med J 2005; 28:186-190

- Lypson ML, Stephens S, Colletti L: Preventing surgical fires: who needs to be educated? Jt Comm J Qual Patient Saf 2005; 31:522-527

- Macdonald MR, Wong A, Walker P, Crysdale WS: Electrocautery-induced ignition of tonsillar packing. J Otolaryngol 1994; 23:426-429

- Magruder GB, Guber D: Fire prevention during surgery. Arch Ophthalmol 1970; 84:237

- Mandych A, Mickelson S, Amis R: Operating room fire. Arch Otolaryngol Head Neck Surg 1990; 116:1452

- Marsh B, Riley RH: Double-lumen tube fire during tracheostomy. Anesthesiology 1992; 76:480-481

- Martin L, Dolman P: Fire! Can J Anaesthesia 1999; 46:909

- Meyers A: Complications of CO2 laser surgery of the larynx. Ann Otol Rhinil Laryngol 1981; 90:132-134

- Michels AM, Stott S: Explosion of tracheal tube during tracheostomy. Anaesthesia 1994; 49:1104

- Moskowitz M: Fire in the operating room during open heart surgery: a case report. AANA J 2009; 77:261-264

- Neatrour GP, Lederman IR: Reducing fire hazard during ophthalmic surgery by using compressed air. Ophthalmic Surg 1989; 20:430-432

- Ng JM, Hartigan PM: Airway fire during tracheostomy: should we extubate? Anesthesiology 2003; 98:1303

- Niskanen M, Purhonen S, Koljonen V, Ronkainen A, Hirvonen E: Fatal injury caused by airway fire during tracheostomy. Acta Anesthesiol Scand 2007; 51:509-513

- Orhan-Sungur M, Komatsu R, Sherman A, Jones L, Walsh D, Sessler DI: Effect of nasal cannula oxygen administration on oxygen concentration at facial and adjacent landmarks. Anaesthesia 2009; 64:521-526

- Ortega RA: A rare cause of fire in the operating room. Anesthesiology 1998; 89:1608

- Ossoff RH, Duncavage JA, Eisenman TS, Duncavage JA, Karlan MS: Comparison of tracheal damage from laser-ignited endotracheal tube fires. Ann Otol Rhinol Laryngol 1983; 92:333-336

- Pashayan AG, Gravenstein JS: Airway fires during surgery with the carbon dioxide laser. Anesthesiology 1989; 71:478

- Patel R, Chavda KD, Hukkeri S: Surgical field fire and skin burns caused by alcohol-based skin preparation. J Emerg Trauma Shock 2010; 3:305

- Patel KF, Hicks JN: Prevention of fire hazards associated with use of carbon dioxide lasers. Anesth Analg 1981; 60:885-888

- Paugh DH, White KW: Fire in the operating room during tracheotomy: a case report. AANA J 2005; 73:97-100

- Plumlee JE: Operating-room flash fire from use of cautery after aerosol spray: a case report. Anesth Analg 1973; 52:202-203

- Prasad R, Quezado Z, St. Andre A: Fires in the operating room and intensive care unit: awareness is the key to prevention. Anesth Analg 2006; 102:172-174

- Reyes RJ, Smith AA, Mascaro JR, Windle BH. Supplemental oxygen: ensuring its safe delivery during facial surgery. Plast Reconstr Surg 1995; 95:924-928

- Rita L, Seleny F: Endotracheal tube ignition during laryngeal surgery with resectoscope. Anesthesiology 1982; 56:60-61

- Robinson JS, Thompson JM, Wood AW: Fire and explosion hazards in operating theatres: a reply and new evidence. Br J Anaesth 1979; 51:908

- Rogers ML, Nickalls RW, Brackenbury ET, Salama FD, Beattie MG, Perks AG: Airway fire during tracheostomy: prevention strategies for surgeons and anaesthetists. Ann R Coll Surg Engl 2001; 83:376-380

- Rohrich RJ, Gyimesi IM, Clark P, Burns AJ: CO2 laser safety considerations in facial skin resurfacing. Plast Reconstr Surg 1997; 100:1285-1290

- Santos P, Ayuso A, Luis M, Martinez G, Sala X: Airway ignition during CO2 laser laryngeal surgery and high frequency jet ventilation. Eur J Anaesth 2000; 17:204-207

- Schettler WH: Operating room flash fire. Anesth Analg 1974; 53:288-289

- Shah SC: Operating room flash fire. Anesth Analg 1974; 53:288

- Simpson JI, Schiff GA, Wolf GL: The effect of helium on endotracheal tube flammability. Anesthesiology 1990; 73:538-540

- Simpson JI, Wolf GL: Endotracheal tube fire ignited by pharyngeal electrocautery. Anesthesiology 1986; 65:76-77

- Simpson JI, Wolf GL: Flammability of esophageal stethoscopes, nasogastric tubes, feeding tubes, and nasopharyngeal airways in oxygen- and nitrous oxide-enriched atmospheres. Anesth Analg 1988; 67:1093-1095

- Singla AK, Campagna JA, Wright CD, Sandberg WS: Surgical field fire during a repair of bronchoesophageal fistula. Anesth Analg 2005; 100:1062-1064

- Snow JC, Norton ML, Saluja TS, Estanislao AF: Fire hazard during CO2 laser microsurgery on the larynx and trachea. Anesth Analg 1976; 55:146-147

- Sosis MB, Braverman B, Caldarelli DD: Evaluation of a new laser-resistant fabric and copper foil-wrapped endotracheal tube. Laryngoscope 1996; 106:842-844

- Sosis MB, Braverman B: Evaluation of foil coverings for protecting plastic endotracheal tubes from the potassium-titanyl-phosphate laser. Anesth Analg 1993; 77:589-591

- Sosis MB, Braverman B: Prevention of cautery-induced airway fires with special endotracheal tubes. Anesth Analg 1993; 77:846-847

- Sosis MB, Caldarelli D: Evaluation of a new ceramic endotracheal tube for laser airway surgery. Otolaryngol Head Neck Surg 1992; 107:601-602

- Sosis MB, Dillon F: Prevention of CO2 laser-induced endotracheal tube fires with the laser-guard protective coating. J Clin Anesth 1992; 4:25-27

- Sosis MB, Dillon FX: A comparison of CO2 laser ignition of the Xomed, plastic, and rubber endotracheal tubes. Anesth Analg 1993; 76:391-393

- Sosis MB, Heller S: Evaluation of five metallic tapes for protection of endotracheal tubes during CO2 laser surgery. Anesth Analg 1989; 68:392-393

- Sosis MB, Pritikin JB, Caldarelli DD: The effect of blood on laser-resistant endotracheal tube combustion. Laryngoscope 1994; 104:829-831

- Sosis MB: Airway fire during CO2 laser surgery using a Xomed laser endotracheal tube. Anesthesiology 1990; 72:747-749

- Sosis MB: Which is the safest endotracheal tube for use with the CO2 laser? A comparative study. J Clin Anesth 1992; 4:217-219

- Stouffer DJ: Fires during surgery: two fatal incidents in Los Angeles. J Burn Care Rehabil 1992; 13:114-117

- Theodorou AA, Gutierrez JA, Berg RA: Fire attributable to a defribrillation attempt in a neonate. Pediatrics 2003; 112:677-679

- Thompson JW, Colin W, Snowden T, Hengesteg A, Stocks RM, Watson SP: Fire in the operating room during tracheostomy. South Med J 1998; 91:243-247

- Tooher R, Maddern GJ, Simpson J: Surgical fires and alcohol-based skin preparations. ANZ J Surg 2004; 74:382-385

- Treyve E, Yarington CT Jr, Thompson GE: Incendiary characteristics of endotracheal tubes with the CO2 laser. Ann Otol Rhinol Laryngol 1981; 90:328-330

- Tysinger JW Jr: Weck-Cel sponges and Steri-Drapes burn. Ophthalmic Surg 1986; 17:174

- Varcoe RL, MacGowan KM, Cass AJ: Airway fire during tracheostomy. ANZ J Surg 2004; 74:507-508

- Waldorf HA, Kauvar NB, Geronemus RG, Leffel DJ. Remote fire with the pulsed dye laser: Risk and prevention. J Am Acad Dermatol 1996; 34:503-506

- Walker P, Temperley A, Thelfo S, Hazelgrove A. Avoidance of laser ignition of endotracheal tubes by wrapping in aluminium foil tape. Anaesth Intensive Care 2004; 32:108-112

- Wang HM, Lee KW, Tsai CJ, Lu IC, Kuo WR: Tracheostomy tube ignition during microlaryngeal surgery using diode laser: a case report. Kaohsiung J Med Sci 2006; 22:199-202

- Weber SM, Hargunani CA, Wax MK: Duraprep and the risk of fire during tracheostomy. Head Neck 2005; 28:649-652

- Wegrzynowicz ES, Jensen NF, Pearson KS, Wachtel RE, Scamman FL: Airway fire during jet ventilation for laser excision of vocal cord papillomata. Anesthesiology 1992; 76:468-469

- Wolf GL, Sidebotham GW, Lazard JLP, Charchaflieh JG. Laser ignition of surgical drape materials in air, 50% oxygen, and 95% oxygen. Anesthesiology 2004; 100:1167-1071

- Wu J, Previte JP, Adler E, Myers T, Ball J, Gunter JB: Spontaneous ignition, explosion, and fire with sevoflurane and barium hydroxide lime. Anesthesiology 2004; 101:534-537