Original Investigation: Perioperative Medicine

DOI: 10.1097/ALN.0000000000002099

Pei et al.

Effects of Ambient Temperature and Forced-air Warming on Intraoperative Core Temperature

A Factorial Randomized Trial

Lijian Pei, M.D.,a Yuguang Huang, M.D.,a Yiyao Xu, M.D.,d Yongchang Zheng, M.D.,d Xinting Sang, M.D.,d Xiaoyun Zhou, M.D.,e Shanqing Li, M.D.,e Guangmei Mao, Ph.D.b,c, Edward J. Mascha, Ph.D.b,c Daniel I. Sessler, M.D.c

a	Department of Anesthesia, Peking Union Medical College Hospital; Outcomes Research Consortium, Cleveland, Ohio.

b	Department of Quantitative Health Sciences, Cleveland Clinic, Cleveland, Ohio

c Department of Outcomes Research, Anesthesiology Institute, Cleveland Clinic, Cleveland, Ohio.

d Department of Hepatic Surgery, Peking Union Medical College Hospital.

e Department of Thoracic Surgery, Peking Union Medical College Hospital.

Address correspondence to Daniel I. Sessler, M.D., Michael Cudahy Professor and Chair, Department of OUTCOMES RESEARCH, Anesthesiology Institute, Cleveland Clinic, 9500 Euclid Ave — P77, Cleveland, OH 44195. Tel: 216-444-4900, Fax: 216-444-6135, Email: DS@OR.org, Web: www.OR.org. Information on purchasing reprints may be found at www.anesthesiology.org or on the masthead page at the beginning of this issue. Anesthesiology’s articles are made freely accessible to all readers, for personal use only, 6 months from the cover date of the issue.

Supported by internal sources only. 3M China provided forced-air warmers and covers for this study. 3M provides funding for other studies that the authors are conducting. Dr. Sessler consults for many temperature-related companies including 3M; he donates all fees to charity. None of the authors has a personal financial interest in this research.

Short title: Ambient temperature and core temperature.

Summary: Ambient intraoperative temperature has a negligible effect on core temperature when patients are warmed with forced-air. The effect is larger when patients are passively insulated, being about 0.5°C difference in core temperature after an average of 3.4 h of surgery over a 4°C range of ambient temperature.

Abstract

Background: The effect of ambient temperature, with and without active warming, on intraoperative core temperature remains poorly characterized. We thus determined the effect of ambient temperature on core-temperature changes with and without forced-air warming.

Methods: In this unblinded 3-by-2 factorial trial, 292 adults were randomized to ambient temperatures19°C, 21°C, or 23°C, and to passive insulation or forced-air warming. The primary outcome was core temperature change between hours 1 and 3 after induction. Linear mixed effects models assessed the effects of ambient temperature, warming method, and their interaction.

Results: A 1°C increase in ambient temperature attenuated the negative slope of core temperature change 1 to 3 h after anesthesia induction by 0.03 (98.3%CI: 0.01, 0.06) °Ccore/(h.°Cambient), P<0.001, for patients who received passive insulation, but not for those warmed with forced-air [-0.01 (-0.03, 0.01) °Ccore/(h.°Cambient), P = 0.40]. Final core temperature at the end of surgery increased 0.13°C (0.07, 0.20; P < 0.01) per degree increase in ambient temperature with passive-insulation, but was unaffected by ambient temperature during forced-air warming (0.02 (-0.04, 0.09) °Ccore/°Cambient, P = 0.40). After an average of 3.4 h of surgery, core temperature was 36.3 ± 0.5 (SD) °C in each of the forced-air groups, and ranged from 35.6 to 36.1°C in passively insulated patients.

Conclusions: Ambient intraoperative temperature has a negligible effect on core temperature when patients are warmed with forced-air. The effect is larger when patients are passively insulated, but the magnitude remains small. Ambient temperature can thus be set to comfortable levels for staff in patients who are actively warmed.

Introduction

Intraoperative hypothermia is common in unwarmed surgical patients1 and causes serious complications including coagulapathy,2 wound infections,3 delayed recovery,4 and patient discomfort.5 Hypothermia results initially from a core-to-peripheral redistribution of body heat.6,7 The second, linear, phase of the hypothermia curve results from environmental heat loss exceeding metabolic heat production.1

Conduction and evaporation probably only contribute about 5% each to intraoperative heat loss, although evaporative heat loss from within surgical incisions remains to be quantified in humans.8 Radiation and convection are usually by far the most important heat-loss routes. Radiative loss depends on difference in the fourth powers of skin (≈33°C) and room wall (≈20°C) temperatures in degrees Kelvin. Convective loss depends on the difference between skin and wall temperature and the square of air flow at the skin surface. Ambient temperature — the primary determinant of room wall temperature — thus contributes to both major routes of heat loss.

Forced-air is by far the most common type of intraoperative warming, presumably because the approach is effective, easy to use, inexpensive, and remarkably safe. A full-body forced-air cover transfers about 95 watts across the skin surface when the blower is set to “high.”9 (Various brands of forced-air warmers appear comparably effective.10) The difficulty is that a full-body cover cannot be used during most surgeries; thus upper- or lower-body covers are usually used which are about half as effective.9 Any insulation or active heating, of course, applies only to shielded areas with loss continuing unabated from the remainder of the body and from within surgical incisions.

While it is apparent that patients in cold operating rooms will lose more heat than those in warmer rooms, the extent to which ambient temperature influences intraoperative core temperature has received surprisingly little attention.11–16 Furthermore, the interaction between forced-air warming and ambient temperature has yet to be quantified. We thus conducted a factorial randomized trial (three ambient temperatures and forced-air warming vs. passive insulation) in patients having major non-cardiac surgery with general anesthesia to primarily determine: 1) the effect of ambient temperature on the rate of core temperature change from 1 to 3 h after induction of anesthesia (linear phase of the hypothermia curve); and, 2) the effect of forced-air warming versus passive insulation on the rate of core temperature change; and, 3) the interaction between forced-air warming and ambient temperature on temperature change. Secondarily, we assessed the effect of ambient temperature and forced-air warming, and their interaction, on redistribution hypothermia (decrease in core temperature during the first hour of anesthesia) and final intraoperative core temperature.

Materials and Methods

The study was approved by the Institutional Review Board at the PUMCH and written consent was obtained from participating patients. The trial was registered at ClinTrials.gov (NCT02715076) February 2016. All patients were enrolled at Peking Union Medical College Hospital in Beijing. A wide range of semi-arbitrary ambient temperatures are currently used this hospital. Forced-air warming is not routinely used, nor is laminar flow ventilation. In a recent survey of Beijing hospitals, only 11% of surgical patients were actively warmed and 40% had final intraoperative core temperatures <36°C.17

We included adults scheduled for major surgery having redo or bilateral hip arthroplasties, thoracic surgery (usually video assisted), or open abdominal surgery with general anesthesia expected to last at least two hours. Patients were excluded if they were at special risk for bleeding or myocardial infarction (as determined by the attending anesthesiologist) or who would otherwise have been actively warmed. We also excluded patients with a body mass index >30 kg/m2. Potential participants were approached by investigators who explained the study and associated risks, and obtained written consent.

Protocol

After consenting, patients were randomly assigned 1:1:1 to ambient temperature of 19°C, 21°C, or 23°C. Using a factorial approach, patients were also randomly assigned 1:1 to passive insulation or forced-air warming. Randomization was stratified by the three types of surgery listed in the paragraph above. Group allocation was based on computer generated codes (randomly permuted block sizes) prepared by Department of Outcomes Research statisticians using SAS statistical software. Allocation of consented patients to designated ambient temperature and forced-air versus passive insulation was realized via a web site that was accessed by investigators about 90 min before surgery.

Patients assigned to passive insulation were covered as usual with a cotton gown and single layer of cloth surgical draping. Patients assigned to forced-air warming were also covered with a gown and surgical drapes, but a forced-air cover (Bair hugger 63500, 3M) was inserted between the gown and the skin surface. A lower-body cover (about 91 by 221 cm) was positioned so the lower end of the forced-air segments extend from the ankles upwards for the entire length of the cover in thoracic and abdominal cases. The cover’s foot drape extended over the feet, and in turn was covered by the surgical drape. Upper-body forced-air covers were similarly applied for patients having hip arthroplasties. The designated forced-air cover was connected to a Bair Hugger blower set to “high” (≈43°C).

Ambient temperature was adjusted to the designed temperature about an hour before patients entered the operating room and adjusted as necessary to maintain the designated temperature throughout surgery. Patients were not pre-warmed. General anesthesia was induced per usual clinical routine. Neuraxial (epidural or spinal) and other regional blocks were permitted. Fluids were not warmed. Any patients whose core temperature decreased to less than 34.5°C was actively warmed with forced air and the ambient temperature increased to the extent practical.

Measurements

Demographic and morphometric characteristics were recorded, along with the primary diagnosis and type of surgery. The study was not blinded because investigators had to actively control ambient temperature and provide forced-air warming when designated.

Ambient temperature was measured before administration of intravenous premedication with a clinical thermistor probe located well away from any heat-producing equipment and at the height of the patient (typically about a meter from the floor). Sub-lingual temperature was measured once shortly before induction of anesthesia.18 After induction, core temperature was measured by a clinical thermistor probe inserted into the distal esophagus. (Clinical thermistors are typically accurate to ≈0.1°C even without specific calibration.) In the occasional patient in whom esophageal temperature could not be measured, a nasopharyngeal probe inserted 10 to 20 cm was substituted.19 Ambient and core temperatures was measured at 10-min intervals throughout surgery, and at the end of anesthesia.

Also at 10-min intervals, we recorded mean-arterial pressure, heart rate, and end-tidal volatile anesthetic concentration. We recorded the time of day at which anesthesia was induced, the total amounts of propofol and opioid given intraoperatively, whether forced-air warming was used, whether neuraxial analgesia was used, and whether rescue warming was required for core temperature <34.5°C. We also recorded blood loss and the total volumes of crystalloid, colloid, cell-saver blood, and bank blood.

Data were maintained on a Redcap FDA-compliant database that incorporates change tracking and version control. The study database was programed by the Department of Outcomes Research and maintained on secure servers at the Cleveland Clinic. Access was via a secure web site.

Statistical Methods

We analyzed patient data on an intention-to-treat basis. Demographic and baseline characteristics across the 3 ambient temperatures and across forced-air warming versus passive insulation groups were summarized using descriptive statistics. Time-weighted average of mean arterial pressure, heart rate, end-tidal anesthetic concentration, total amounts of propofol and opioid, use of neuraxial analgesia, and rescue warming during the surgery were also summarized by randomized group.

Our primary aim was to assess the relationship between ambient temperature and slope of core temperature in hours 1 to 3, and to assess whether the relationship differed for those under passive insulation versus forced air warming. We thus used a linear mixed effects model to assess the effects of ambient temperature, forced-air warming and their interaction on the rate of core temperature change during 1 to 3 h post induction. Specifically, we included the ambient temperature-by-time, forced-air warming-by-time and ambient temperature-by-forced-air warming-by-time interaction terms in the model with core temperatures as outcomes. From this model we estimated the mean slope of core temperature over time for each group (3 ambient temperatures for each of passive and forced air warming) and assessed whether the ambient temperature-versus-slope relationship differed for forced-air warming and passive insulation. Slope and intercept for a patient were considered as random effects. Autoregressive correlation was assumed between temperature measurements over time.

Our secondary aim was to assess the effect of forced-air warming on redistribution hypothermia, defined as the difference between baseline sublingual temperature and core temperature at 1 h after anesthesia, using linear regression model. In addition, we assessed the effects of ambient temperature, forced-air warming and their interaction on final intraoperative core temperature in a linear regression model, adjusting for baseline sublingual temperature.

Interim analyses for efficacy and futility were planned at each 25% of the maximum planned enrollment using group sequential methods: a gamma spending function with gamma being -4 for efficacy and -1 for futility.

Sample size consideration

We designed the study to have 85% power at the 0.05 significance level to detect a difference between forced air and passive insulation on the relationship between ambient temperature level and intraoperative core temperature change per hour. In data from a previous warming study we observed a mean (SD) of the increase in temperature during rewarming of 0.011°C/hour (0.462) for the combined pre-warmed and control groups. We assumed this same SD (0.50) for the current study. We further postulated an ambient temperature positive slope of 0.05°C/hour per 1°C increase in ambient temperature for the forced air group, and 0.15°C/hour per 1°C increase in ambient temperature for the non-forced air group. We needed 345 total patients to have 85% power to detect a difference in slope of 0.1°C/hour between the forced-air and non-forced-air groups. Adjusting for planned interim a maximum total of 394 patients across 3 ambient temperature groups was required.

The overall significance level was maintained at 0.05 across the interim monitoring. Therefore, for this analysis the effective significance criterion was 0.017 (corresponding to the critical Z of 2.38) after adjusting for interim analyses, for both the primary and secondary analyses. SAS 9.4 (SAS Institute, Cary, NC, USA) was used for the analyses. The full protocol is available by request from the investigators.

Results

Patient characteristics

Patients were enrolled from Feb 23, 2016 to Dec 9, 2016 at PUMCH. Because of an oversight independent of any collected data or results, the first two interim analyses were not conducted. The initial interim analysis was therefore conducted after 75% of the planned patients were enrolled. Because efficacy boundaries (P < 0.017) were crossed at that time, the study was concluded per protocol after enrollment of 295 patients. A total of 292 patients who met the inclusion and exclusion criteria were randomized to one of six groups based on three ambient temperature levels and either passive insulation or forced-air warming, and all were included in our analysis. All enrolled patients completed the study and are included in our analysis. Figure 1 is the trial diagram.

The mean ambient temperature measured in the operation room for each patient showed good consistency with the assigned ambient temperature overall (fig. 2). Comparing the mean ambient temperature during surgery and the received forced-air warming to the randomized assignment, 10 patients had mean ambient temperature >1°C deviated from the assigned one, while 2 patients assigned with forced-air warming received passive insulation instead (Supplemental data, Table S1). No patients reached 34.5°C and required rescue warming.

Patient baseline characteristics, surgery type, and intraoperative measurement are summarized in table 1 and do not show clinically important differences among the six groups. The mean age was 54 yr (SD = 12) and mean BMI 24 kg/m2 (SD=3); 51% were men. A total of 5,344 core temperatures from 292 patients were included in our analysis.

Primary analysis

We plotted the change in core temperature during the initial hour of anesthesia, and then the mean core temperatures at 10-minute intervals (fig. 3). The trend of core temperature in each of the six groups between 1 to 3 h was roughly linear. We thus used the slope (change in °C/hour) to characterize the rate at which intraoperative core temperature changed.

Table 2 shows the estimated rate of core temperature change (slope) from 1 to 3 h as a function of warming and ambient temperature from the mixed effects model. Descriptively, observed slopes were negative for passive insulation, but less negative as ambient temperature increased, and slightly positive (with no obvious effect of ambient temperature) for forced-air warming.

Ambient temperature affected core temperature change more for passive insulation than for forced-air warming (P < 0.001 across warming types).Specifically, for passive insulation, there was an estimated 0.03 (98.3%CI: 0.01, 0.06) °Ccore/(h.°Cambient) increase in slope of core temperature change per 1°C increase in ambient temperature, P<0.001. For forced air warming, there was no association between ambient temperature and slope change in hours 1 to 3, with estimated change in slope of -0.01 (98.3% CI: -0.03, 0.01) °Ccore/(h.°Cambient) for a 1°C increase in ambient temperature, P=0.398. The difference between forced air and passive insulation on this relationship (i.e., significant interaction between warming type and ambient temperature effect) was-0.04°C (98.3% CI: -0.07, -0.01) °Ccore/(h.°Cambient), P<0.001.The slopes for each of the six study conditions is shown in figure 4.

Secondary analysis

We then analyzed the change in core temperature in the first hour (redistribution phase) as the difference between baseline sublingual temperature and core temperature at 1 h (table 3). The estimated effect of ambient temperature on temperature change did not differ between passive insulation and forced-air warming (P = 0.517). A one-degree increase in ambient temperature was associated with 0.07°C (98.3% CI: 0.01, 0.13; P = 0.004) less reduction in temperature among patients who received passive warming, while there was no association in forced-air group with an estimated effect of 0.05°C (98.3% CI: -0.01, 0.11), P = 0.046 (non-significant).

Lastly, we assessed the effects of ambient temperature and forced-air warming on the final intraoperative core temperature. As shown in figure 5 and table 4, final core temperatures was higher in the forced-air warming groups than in the passive insulation groups; the core temperatures increased with higher ambient temperature for passive insulation but did not differ for forced-air warming. Adjusted for sublingual temperature shortly before induction, a one degree increase in ambient temperature was associated with 0.13 (98.3% CI: 0.07, 0.20) °Ccore/°Cambient increase in final core temperature for patients who received passive insulation, P<0.01; in contrast, there was no significant association in the forced-air warming groups. The ambient temperature effect was significantly greater by 0.11°C (98.3% CI: -0.20, -0.02) °Ccore/°Cambient, P = 0.005. After an average of 3.4 h of surgery, core temperature was 36.3 ± 0.5 (SD) °C in each of the forced-air groups, and ranged from 35.6 to 36.1°C in passively insulated patients.

Discussion

Redistribution usually non-linearly reduces core temperature 0.5 to 1°C depending on the internal tissue-temperature gradient at the time of anesthetic induction and can thus be ameliorated by pre-warming.20,21 In unwarmed surgical patients, core temperature subsequently decreases linearly whereas in actively warmed patients, core temperature typically increases.1 The rate of core temperature change during this linear phase of the hypothermia curve depends on the difference between metabolic heat production and heat loss to the environment. The difference, in turn, depends on metabolic rate, size of surgical incision, passive insulation, active warming, and ambient temperature.

Ambient temperature in western non-cardiac operating rooms is typically about 20°C, a temperature that non-surgical staff typically find a bit cool. Eastern and pediatric operating rooms are typically about 23°C, a temperature that most staff find a bit too warm.22 One of our main results is that, after redistribution, ambient temperature has only a small effect on core temperature in surgical patients covered with passive insulation. Consequently, core temperature after an average of 3.4 h of surgery was only 0.5°C greater in patients maintained at 23°C than 19°C. Thus over the range of typical operating room temperatures, core temperature — even after relatively long operations — differed by an amount that is about half the circadian variation23,24 and has previously been defined as unimportant.18,25

Our results are qualitatively similar to limited previous information. For example, Morris and colleagues, in three observational studies from the early 1970’s, evaluated a total of 84 unwarmed patients ranging from 20 to 85 yr old who had large and small operations in ambient temperatures between 18 and 26°C.11–13 More recently, a trial showed that keeping ambient temperature at 21°C rather than 19°C increased final intraoperative temperature during hepatectomies, but only by about 0.5°C.14 Benefits of ambient temperatures exceeding 23°C have also been shown in infants.15 Other studies, though, show little benefit from increasing ambient temperature.16 A retrospective study also shows, unsurprisingly, that patients stay warmer at higher ambient temperatures.26

Frank and colleagues evaluated peripheral vascular procedures under general anesthesia lasting about 5 h; they reported that core temperature was about 0.8°C less when ambient temperature was reduced 3°C which is very roughly similar to the results of Morris et al.,27 and to our results. In contrast, Ozer and colleagues report that body temperatures were similar when ambient temperature was randomly assigned to 20 to 22°C or 23 to 25°C.16 A limitation of that study, though, is that temperature was measured with infrared aural canal thermometers which are insufficiently accurate for research. Furthermore, variance of the temperature measurements was not reported. Taken together, current and previous results indicate that ambient temperature is only a moderate determinant of core temperature in unwarmed surgical patients. Maintaining a relatively warm ambient temperature will thus moderate hypothermia in surgical patients who are not actively warmed, but by amounts that are not usually clinically important.

Cutaneous heat loss in undressed adults at an ambient temperature of 21°C is about 100 watts,7,28 and increases only slightly after induction of general anesthesia.28 Basal metabolic rate is roughly 80 watts, but decreases about 30% with induction of general anesthesia.7 Passive insulation reduces cutaneous heat loss by about 30%29 but is rarely sufficient to maintain intraoperative normothermia at typical ambient temperatures. Many patients are thus actively warmed, with forced-air being by far the most common approach. These systems reduce radiant loss via thermal shielding. Specifically, the warming cover becomes the effective radiant surface, replacing room wall temperature. Since cover temperature exceeds skin temperature, the gradient is reversed and radiation transfers heat into the skin surface. Forced-air also ameliorates convective losses by providing a “cocoon” of warm air under the system cover.

Consistent with this theory, our other primary result is that ambient temperature over the relevant range from 19 to 23°C has essentially no effect on the rate of core temperature change from 1 to 3 h after induction of anesthesia for patients with forced-air warming. Nor did ambient temperature have any effect on final intraoperative core temperature in actively warmed patients. These results suggest that forced-air warming, even with half-body covers, creates a micro-thermal environment around patients which essentially shields them from ambient temperature. Patients warmed with forced air can therefore be maintained at any ambient temperature between 19 and 23°C without aggravating hypothermia. Operating rooms can thus be kept at ambient temperatures that are comfortable for staff without any compromise to patient safety.

Redistribution hypothermia results from a large flow of heat from the core to peripheral tissues.7Core temperature thus usually decreases more quickly during the initial hour of anesthesia than thereafter, as in our patients. The variability is also typically greater during the initial hour since redistribution depends on pre-induction body heat content and the temperature gradient between the core and peripheral tissues. While it appears that ambient temperature had twice the effect during redistribution as thereafter in unwarmed patients, the redistribution values have greater variance and are less reliable. And importantly, the effect of ambient temperature remains small, even in unwarmed patients. As during the 1 to 3-h period, ambient temperature did not significantly influence the rate at which core temperature decreased in patients who were warmed with forced air — again supporting our conclusion that ambient temperature in actively warmed patients can be set for staff comfort without compromising patient safety.

Our primary outcomes were based on core temperature rather than cutaneous heat transfer or specific measurements of body heat content. But unless there are large changes in skin temperature, changes in core temperature well indicate body heat content.30 Furthermore, core temperature is generally considered the most important single perioperative thermal characterization. Our patients were typically lean (average body mass index of 24 kg/m2). Curiously, though, obesity limits redistribution hypothermia but has little effect on subsequent core temperature changes.31 Obese patients are thus likely to better maintain core temperature during the initial hour of anesthesia at any given ambient temperature; similarly, they are likely to have higher final intraoperative temperatures. However, our primary observations about ambient temperature and forced-air warming are likely to apply even in the obese. Our unwarmed patients were covered with a cotton gown and surgical drapes. To the extent that more insulation is used, the small effect of ambient temperature on core temprerature would be even smaller.

We studied adults having routine surgery. Hypothermia is more likely in some populations, such as major burns, and ambient temperature may have a greater effect in situations where evaporative losses are especially large. Certain populations, such as pediatric patients, may be at special risk of hypothermia. Generally forced-air warming keeps children normothermic even in cool operating room environments. But ambient temperature should be increased if necessary to maintain normothermia in high-risk patients. For practical reasons, our study was not blinded; but the outcome measure, core temperature, was objective and unlikely to be subject to measurement bias.

An important protocol deviation was that two planned interim analyses were not conducted. This error resulted largely from fast enrollment in Beijing and a delay in getting data to Cleveland. The analysis site (Cleveland Clinic) thus did not appreciate that the analysis thresholds had passed. While unfortunate, this deviation in no way diminishes validity of the study.

In summary, ambient intraoperative temperature has a negligible effect on core temperature when patients are warmed with forced-air, apparently because forced-air created a cocoon of warm air around patients that effectively became their environment. The effect is larger when patients are passively insulated, but the magnitude remains small with only about 0.5°C difference in core temperature after an average of 3.4 h of surgery over a 4°C range of ambient temperature. Ambient temperature can thus be set to the comfort of the operating room team in patients who are actively warmed.

References

1.	Hynson JM, Sessler DI: Intraoperative warming therapies: a comparison of three devices. J Clin Anesth 1992; 4:194–9

2.	Rajagopalan S, Mascha E, Na J, Sessler DI: The effects of mild perioperative hypothermia on blood loss and transfusion requirement: a meta-analysis. Anesthesiology 2008; 108: 71–7

3.	Kurz A, Sessler DI, Lenhardt R: Perioperative normothermia to reduce the incidence of surgical-wound infection and shorten hospitalization. Study of Wound Infection and Temperature Group. N Engl J Med 1996; 334:1209–15

4.	Lenhardt R, Marker E, Goll V, Tschernich H, Kurz A, Sessler DI, Narzt E, Lackner F: Mild intraoperative hypothermia prolongs postanesthetic recovery. Anesthesiology 1997; 87:1318–23

5.	Kurz A, Sessler DI, Narzt E, Bekar A, Lenhardt R, Huemer G, Lackner F: Postoperative hemodynamic and thermoregulatory consequences of intraoperative core hypothermia. J Clin Anesth 1995; 7:359–66

6.	Matsukawa T, Sessler DI, Christensen R, Ozaki M, Schroeder M: Heat flow and distribution during epidural anesthesia. Anesthesiology 1995; 83:961–7

7.	Matsukawa T, Sessler DI, Sessler AM, Schroeder M, Ozaki M, Kurz A, Cheng C: Heat flow and distribution during induction of general anesthesia. Anesthesiology 1995; 82:662–73

8.	Roe CF: Effect of bowel exposure on body temperature during surgical operations. Am J Surg 1971; 122:13–5

9.	Sessler DI, Moayeri A: Skin-surface warming: heat flux and central temperature. Anesthesiology 1990; 73:218–24

10.	Giesbrecht GG, Ducharme MB, McGuire JP: Comparison of forced-air patient warming systems for perioperative use. Anesthesiology 1994; 80:671–9

11.	Morris RH: Influence of ambient temperature on patient temperature during intraabdominal surgery. Ann Surg 1971; 173:230–3

12.	Morris RH: Operating room temperature and the anesthetized, paralyzed patient. Surgery 1971; 102: 95–7

13.	Morris RH, Wilkey BR: The effects of ambient temperature on patient temperature during surgery not involving body cavities. Anesthesiology 1970; 32:102–7

14.	Wang CS, Chen CL, Huang CJ, Cheng KW, Chen KH, Wang CC, Concejero AM, Cheng YF, Huang TL, Wang SH, Lin CC, Liu YW, Yong CC, Yang CH, Jawan B: Effects of different operating room temperatures on the body temperature undergoing live liver donor hepatectomy. Transplant Proc 2008; 40:2463–5

15.	Tander B, Baris S, Karakaya D, Ariturk E, Rizalar R, Bernay F: Risk factors influencing inadvertent hypothermia in infants and neonates during anesthesia. Paediatr Anaesth 2005; 15:574–9

16.	Ozer AB, Tosun F, Demirel I, Unlu S, Bayar MK, Erhan OL: The effects of anesthetic technique and ambient temperature on thermoregulation in lower extremity surgery. J Anesth 2013; 27:528–34

17.	Yi J, Xiang Z, Deng X, Fan T, Fu R, Geng W, Guo R, He N, Li C, Li L, Li M, Li T, Tian M, Wang G, Wang L, Wang T, Wu A, Wu D, Xue X, Xu M, Yang X, Yang Z, Yuan J, Zhao Q, Zhou G, Zuo M, Pan S, Zhan L, Yao M, Huang Y: Incidence of Inadvertent Intraoperative Hypothermia and Its Risk Factors in Patients Undergoing General Anesthesia in Beijing: A Prospective Regional Survey. PLoS One 2015; 10:e0136136

18.	Langham GE, Maheshwari A, Contrera K, You J, Mascha E, Sessler DI: Noninvasive temperature monitoring in postanesthesia care units. Anesthesiology 2009; 111:90–6

19.	Wang M, Singh A, Qureshi H, Leone A, Mascha EJ, Sessler DI: Optimal Depth for Nasopharyngeal Temperature Probe Positioning. Anesth Analg 2016; 122:1434–8

20.	Hynson JM, Sessler DI, Moayeri A, McGuire J, Schroeder M: The effects of preinduction warming on temperature and blood pressure during propofol/nitrous oxide anesthesia. Anesthesiology 1993; 79:219–28, discussion 21A–22A

21.	Camus Y, Delva E, Sessler DI, Lienhart A: Pre-induction skin-surface warming minimizes intraoperative core hypothermia. J Clin Anesth 1995; 7:384–8

22.	Wyon DP, Lidwell OM, Williams RE: Thermal comfort during surgical operations. J Hyg (Lond) 1968; 66:229–48

23.	Sessler DI, Lee KA, McGuire J: Isoflurane anesthesia and circadian temperature cycles in humans. Anesthesiology 1991; 75:985–9

24.	Tayefeh F, Plattner O, Sessler DI, Ikeda T, Marder D: Circadian changes in the sweating-to-vasoconstriction interthreshold range. Pflugers Arch 1998; 435:402–6

25.	Eshraghi Y, Nasr V, Parra-Sanchez I, Van Duren A, Botham M, Santoscoy T, Sessler DI: An evaluation of a zero-heat-flux cutaneous thermometer in cardiac surgical patients. Anesth Analg 2014; 119:543–9

26.	Cheng KW, Wang CH, Chen CL, Jawan B, Wang CC, Concejero AM, Wang SH, Liu YW, Yong CC, Yang CH, Huang CJ: Decreased fresh gas flow cannot compensate for an increased operating room temperature in maintaining body temperature during donor hepatectomy for living liver donor hepatectomy. Transplant Proc 2010; 42:703–4

27.	Frank SM, Beattie C, Christopherson R, Norris EJ, Rock P, Parker S, Kimball AW Jr: Epidural versus general anesthesia, ambient operating room temperature, and patient age as predictors of inadvertent hypothermia. Anesthesiology 1992; 77:252–7

28.	Sessler DI, McGuire J, Moayeri A, Hynson J: Isoflurane-induced vasodilation minimally increases cutaneous heat loss. Anesthesiology 1991; 74:226–32

29.	Sessler DI, McGuire J, Sessler AM: Perioperative thermal insulation. Anesthesiology 1991; 74:875–9

30.	Lenhardt R, Sessler DI: Estimation of mean body temperature from mean skin and core temperature. Anesthesiology 2006; 105:1117–21

31.	Kurz A, Sessler DI, Narzt E, Lenhardt R, Lackner F: Morphometric influences on intraoperative core temperature changes. Anesth Analg 1995; 80:562–7

Table 1. Demographic and clinical characteristics of the study sample (N = 292)

|  | 19 ºC forced-air (N = 50) | 19 ºC passive insulation (N = 48) | 21 ºC forced-air (N = 50) | 21 ºC passive insulation (N = 49) | 23 ºC forced-air (N = 48) | 23 ºC passive insulation (N = 47) |
| --- | --- | --- | --- | --- | --- | --- |
| Baseline |  |  |  |  |  |  |
| Age – year | 54 ± 12 | 50 ± 12 | 57 ± 11 | 54 ± 13 | 54 ± 12 | 57 ± 11 |
| BMI – kg/m2 | 24 ± 4 | 24 ± 4 | 24 ± 4 | 24 ± 3 | 24 ± 3 | 25 ± 3 |
| Male | 23 (46%) | 19 (40%) | 32 (64%) | 25 (51%) | 24 (50%) | 25 (53%) |
| Type of Surgery: |  |  |  |  |  |  |
| Open thoracic | 11 (22%) | 13 (27%) | 15 (30%) | 12 (25%) | 15 (31%) | 15 (32%) |
| Open abdominal | 39 (78%) | 34 (71%) | 35 (70%) | 37 (76%) | 33 (69%) | 32 (68%) |
| Orthopedic | 0 (0%) | 1 (2%) | 0 (0%) | 0 (0%) | 0 (0%) | 0 (0%) |
| Intra-operation |  |  |  |  |  |  |
| Duration - hour | 3.4 ± 1.4 | 3.3 ± 1.1 | 3.6 ± 1.3 | 3.4 ± 1.3 | 3.3 ± 1.5 | 3.3 ± 1.3 |
| Neuraxial analgesia | 7 (14%) | 8 (17%) | 4 (8%) | 8 (16%) | 5 (10%) | 6 (13%) |
| Total propofol - mg | 120 (100, 150) | 135 (120, 150) | 130 (100, 160) | 130 (100, 150) | 130 (100, 150) | 120 (100, 150) |
| Opioid use - mg | 55 (41, 85) | 51 (30, 80) | 64 (41, 98) | 54 (30, 88) | 68 (34, 109) | 47 (30, 81) |
| Sublingual - ºC | 36.4 ± 0.3 | 36.5 ± 0.4 | 36.5 ± 0.3 | 36.4 ± 0.4 | 36.4 ± 0.4 | 36.5 ± 0.4 |
| TWA HR - beat/min | 73 ± 10 | 70 ± 9 | 71 ± 8 | 70 ± 10 | 74 ± 11 | 72 ± 9 |
| TWA MAP – mmHg | 88 ± 9 | 84 ± 10 | 85 ± 10 | 85 ± 8 | 85 ± 9 | 84 ± 9 |
| TWA ET sevoflurane - % | 1.3 ± 0.3 | 1.3 ± 0.4 | 1.2 ± 0.4 | 1.2 ± 0.4 | 1.1 ± 0.4 | 1.2 ± 0.5 |

Summary statistics presented as % of patients, mean ± SD and median (Q1, Q3) respectively for factors, symmetric and skewed continuous variables.

TWA indicates time weighted average; HR indicates heart rate; MAP indicates mean arterial pressure; ET indicates end tidal anesthetic concentration; Opioid use is presented as IV morphine-equivalent.

Table 2. Rate of core temperature change from 1 to 3 h by warming and ambient temperature (n = 292)

|  | Ambient temp. | Slope of core temp. changes ± SE -°C/hour1 | Effect of ambient temp. on slopes (98.3% CI) °Ccore/(h.°Cambient)2 | Difference in ambient temp. effect (98.3% CI) °Ccore/(h.°Cambient)2 |
| --- | --- | --- | --- | --- |
|  |  |  | Estimate | P | Estimate | P |
| Passive insulation | 19°C | -0.18 ± 0.03 |  |  |  |  |
|  | 21°C | -0.06 ± 0.03 | 0.03 (0.01, 0.06) | <0.001* | reference |  |
|  | 23°C | -0.05 ± 0.03 |  |  |  |  |
| Forced-air warming | 19°C | 0.05 ± 0.03 |  |  |  |  |
|  | 21°C | 0.07 ± 0.03 | -0.01 (-0.03. 0.01) | 0.398 | -0.04 (-0.07, -0.01) | <0.001* |
|  | 23°C | 0.02 ± 0.03 |  |  |  |  |

1 The slope of core temperature change for each group was estimated from linear mixed model with the interaction effect between ambient temperature and warming on slope of core temperature change. SE indicates standard error of the slope estimate.

2 Effect of ambient temperature, indicating the slope change associated with 1°C increase in ambient temp, was estimated from linear mixed model with ambient temperature treated as a continuous variable.

* Indicates statistically significant. Significance criterion and Cis were adjusted for interim analysis. Correspondingly, P<0.017 was considered to be statistically significant.

Table 3. Effect of ambient temperature and warming on slope of core temperature change for the first hour (n = 286)

|  | Ambient temp. | Change in temp1 ± SD-°C | Effect of ambient temp on temp change (98.3% CI) °Ccore/(h.°Cambient)2 | Difference in ambient temp effect (98.3% CI) °Ccore/(h.°Cambient)2 |
| --- | --- | --- | --- | --- |
|  |  |  | Estimate | P | Estimate | P |
| Passive insulation | 19°C | -0.6 ± 0.5 |  |  |  |  |
|  | 21°C | -0.4 ± 0.6 | 0.07 (0.01, 0.13) | 0.004* | reference |  |
|  | 23°C | -0.3 ± 0.5 |  |  |  |  |
| Forced-air warming | 19°C | -0.3 ± 0.4 |  |  |  |  |
|  | 21°C | -0.3 ± 0.5 | 0.05 (-0.01, 0.11) | 0.046 | -0.03 (-0.11, -0.06) | 0.517 |
|  | 23°C | -0.1 ± 0.4 |  |  |  |  |

1 Change in temperature is the difference between core temperature at 1 h after induction and the baseline sublingual temperature just before administration of intravenous premedication.

2Effect of ambient temperature, indicating the change of patient temperature in the first hour associated with a one-degree increase in ambient temp, was estimated from linear mixed model with ambient temperature treated as a continuous variable.

* Indicates statistically significant. Significance criterion and Cis were adjusted for interim analysis. Correspondingly, P< 0.017 was considered to be statistically significant.

Table 4. Final core temperature by warming and ambient temperature groups (n = 292)

|  | Ambient temp. | Final core temp. mean ± SD -°C | Effect of ambient temp on final core temp (98.3% CI) °Ccore/°Cambient1 | Difference in ambient temp effect (98.3% CI) °Ccore/°Cambient1 |
| --- | --- | --- | --- | --- |
|  |  |  | Estimate | P | Estimate | P |
| Passive insulation | 19°C | 35.6 ± 0.6 |  |  |  |  |
|  | 21°C | 35.9 ± 0.5 | 0.13 (0.07, 0.20) | <0.001* | reference |  |
|  | 23°C | 36.1 ± 0.5 |  |  |  |  |
| Forced-air warming | 19°C | 36.3 ± 0.5 |  |  |  |  |
|  | 21°C | 36.3 ± 0.5 | 0.02 (-0.04, 0.09) | 0.395 | -0.11 (-0.20, -0.02) | 0.005* |
|  | 23°C | 36.3 ± 0.5 |  |  |  |  |

1Effect of ambient temperature, indicating the final core temperature change associated with 1°C increase in ambient temp, were estimated from linear model with ambient temperature treated as a continuous variable, adjusted for baseline sublingual temperature.

* Indicates statistically significant. Significance criterion and Cis were adjusted for interim analysis. Correspondingly, P< 0.017 was considered to be statistically significant.

Fig. 1.	Flow chart.

Fig. 2.	Mean ambient temperature during surgery by assigned ambient temperature.

Fig. 3.	Core temperatures during the initial 3 h of surgery. Core temperature measurements started at various times during the initial hour of anesthesia. Consequently, temperature during the first hour are based on preoperative sub-lingual temperature and esophageal temperature at 1 h. Each line thereafter presents the mean core temperature measured at 10-min interval as a function of ambient temperature with and without forced air-warming. Half error bars present the SD at baseline and 30-minute intervals from 1 to 3 h.

Fig. 4.	Slopes of core temperature change from 1 to 3 h after anesthesia as a function of ambient temperature with and without forced air-warming. Solid circle and bar presents the estimate and standard error of slopes from the linear mixed model with ambient temperature treated as three categories. Dash lines present the relationship between slope and ambient temperature from the linear mixed model with ambient temperature treated as a continuous variable. Warmer ambient temperatures reduce the rate at which hypothermia developed in passively insulated patients; in contrast, ambient temperature had no important effect on core temperature during forced-air warming. The slope of the blue line for passive insulation is 0.03 (98.3% CI: 0.01, 0.06) °Ccore/(hour.°Cambient), P<0.001, while the slope of the red line for forced-air warming is -0.01(98.3% CI: -0.03, 0.01) °Ccore/(hour.°Cambient), P = 0.398.

Fig. 5.	Core temperature before induction of general anesthesia and at the end of surgery in patients who were or were not warmed with forced-air at ambient temperatures of 19, 21, and 23°C (47 to 50 patients per group).

ALN-D-17-00340

Final Box Summary Statement:

What We Already Know about This Topic:

Intra-operative hypothermia is common in unwarmed patients and can contribute to serious complications. Forced-air warming is a common and effective means to prevent hypothermia. The effect of ambient operating room temperature is poorly characterized for both unwarmed and forced-air warmed patients.

What This Article Tells Us That Is New

Ambient operating room temperature has a negligible effect on core temperature for forced-air warmed patients, and only a small effect on unwarmed patients.

TOC Statement: Ambient operating room temperature has a negligible effect on core temperature for forced-air warmed patients, and only a small effect on unwarmed patients.

# Comments

AQ: Please note that the article “The” at the beginning of the title has been deleted as per journal style.

AQ: For indexing purposes, please confirm that author names have been correctly identified as given names (blue), surnames (red), and suffixes (black). Color in the byline will not appear on the final published version.

Note to CE: Please note that both Summary statement and TOC statement are present in the CE file. Please check.

AQ: Please note that per journal style, section head “Methods” has been changed to “Materials and Methods.”