ALL monitoring MUST be done at the ADDUCTOR POLLICIS

PTC = post tetanic count (1-20)

TOFC = Train of Four count (1-4)

TOFR = Train of Four ratio (10 to >100%)

CLINICAL signs are ALL insensitive and should not be used

Qualitative monitoring = Peripheral nerve stimulation (PNS) with visual/tactile

assessment

Quantitative monitoring = nerve stimulation with objective measurement

AMG- Acceleromyography, measures thumb movement by F=mA, overestimates,

goal TOFR > 100%

EMG- Electromyography, measures muscle electrical activity, gold standard

Measurem  ent technique, goal TOFR > 90%

Reversal agents:

Neostigmine- dose not to exceed 60 mcg/kg, requires TOFC 4 and ~20 minutes

Sugammadex-

No PTC recommended dose 16 mg/kg

PTC 1-TOFC 1 recommended dose 4 mg/kg

TOFC ≥ 2 recommended 2 mg/kg “with 2 twitches, only 2 mg/kg needed”

| Level of Blockade | Neostigmine | Sugammadex |
| --- | --- | --- |
| No PTC | Wait | 16 mg/kg |
| PTC 1-TOFC 1 | Wait | 4 mg/kg |
| TOFC 2 - 3 | Wait | 2 mg/kg |
| TOFC 4 with fade (TOFR < 40%) | 50 mcg/kg Wait 20 minutes (PNS) | 2 mg/kg |
| TOFC 4 without fade (TOFR > 40%) | 40 mcg/kg Wait 10-20 minutes (PNS) | 2 mg/kg* |
| TOFR>100% by AMG TOFR>90% by EMG | None needed | None needed |

*Dose finding study using TOFR 20%, reversal within 10 minutes to TOFR>90 for 95% of patients found sugammadex dose needed 0.25 mg/kg, may consider lowering dose if using quantitative monitor, no dose of neostigmine (max 70 mcg/kg) met reversal criteria

Naguib M, Brull SJ, Kopman AF et al.  Consensus statement on perioperative use of neuromuscular monitoring.  Anesth Analg 2018; 127(1): 71-80

Plaud B, Debaene B, Donati F, Marty J.  Residual paralysis after emergence from anesthesia.  Anesthesiology 2010; 112:  1013-22