## Sheet1
Table SDC1. Quantiles of hearing thresholds (HTs) in dB at 0.25, .5, 1, 2, 3, 4, 6 and 8 kHz. Subjects in HUNT4 (n=28,373). HTs are relative to "audiometric zero" defined from the population of otologically normal subjects aged 19-23 years. Age corresponds to exact year of age; values for intermediate ages should be estimated by interpolation between supplied values. | [7 empty] | To obtain values in dB HL obtained with TDH39 headphones calibrated according to ISO 389 (2017), the following values should be added:
Sex | Age | Frequency (kHz) | 10 % | 25 % | 50 % | 75 % | 90 % | Frequency (kHz) | 0.25 | 0.5 | 1 | 2 | 3 | 4 | 6 | 8
Women | 20 | 0.25 | -7.1545 | -4.3028 | -1.8183 | 3.1819 | 8.1819 | Values: | 6.8 | 2.7 | 1 | 0.4 | 0.3 | 0.9 | 6.6 | 4.3
Women | 25 | 0.25 | -7.0211 | -4.3416 | -1.0157 | 3.1817 | 8.1817
Women | 30 | 0.25 | -6.899 | -4.3691 | -0.25114 | 3.2384 | 8.2606
Women | 35 | 0.25 | -6.8242 | -4.3488 | 0.35358 | 3.5346 | 8.6724
Women | 40 | 0.25 | -6.836 | -4.2408 | 0.66523 | 4.2698 | 9.6945
Women | 45 | 0.25 | -6.9082 | -3.9885 | 0.67611 | 5.5412 | 11.4447
Women | 50 | 0.25 | -6.7517 | -3.469 | 0.88056 | 7.0364 | 13.4013
Women | 55 | 0.25 | -6.0599 | -2.5582 | 1.8245 | 8.4188 | 15.013
Women | 60 | 0.25 | -4.8804 | -1.2508 | 3.5068 | 9.9296 | 16.6872
Women | 65 | 0.25 | -3.4197 | 0.4055 | 5.6817 | 12.0673 | 19.2594
Women | 70 | 0.25 | -1.8373 | 2.3471 | 8.1441 | 15.0933 | 23.1817
Women | 75 | 0.25 | -0.1859 | 4.475 | 10.7831 | 18.7368 | 28.0466
Women | 80 | 0.25 | 1.4963 | 6.686 | 13.5008 | 22.6551 | 33.3313
Women | 85 | 0.25 | 3.1817 | 8.9058 | 16.2269 | 26.6026 | 38.6606
Women | 90 | 0.25 | 4.8671 | 11.1256 | 18.953 | 30.5502 | 43.9899
Women | 20 | 0.5 | -5.1821 | -2.6607 | -0.14899 | 4.8335 | 9.8023
Women | 25 | 0.5 | -5.26 | -2.7531 | -0.20964 | 4.6777 | 9.574
Women | 30 | 0.5 | -5.3135 | -2.8184 | -0.2171 | 4.5798 | 9.4363
Women | 35 | 0.5 | -5.2649 | -2.7701 | -0.00084817 | 4.7259 | 9.6799
Women | 40 | 0.5 | -5.0289 | -2.5134 | 0.62554 | 5.3192 | 10.6223
Women | 45 | 0.5 | -4.5416 | -1.9681 | 1.7595 | 6.4865 | 12.4472
Women | 50 | 0.5 | -3.8237 | -1.1122 | 3.1426 | 8.0486 | 14.8023
Women | 55 | 0.5 | -2.9073 | 0.064152 | 4.4931 | 9.8023 | 17.2731
Women | 60 | 0.5 | -1.7518 | 1.5856 | 6.0157 | 11.9337 | 19.9761
Women | 65 | 0.5 | -0.28388 | 3.4834 | 8.132 | 14.8023 | 23.2649
Women | 70 | 0.5 | 1.5139 | 5.7423 | 11.0569 | 18.5695 | 27.3116
Women | 75 | 0.5 | 3.5345 | 8.2423 | 14.5418 | 22.953 | 31.881
Women | 80 | 0.5 | 5.6543 | 10.8496 | 18.2762 | 27.6109 | 36.6832
Women | 85 | 0.5 | 7.7847 | 13.4684 | 22.0371 | 32.298 | 41.51
Women | 90 | 0.5 | 9.915 | 16.0872 | 25.7979 | 36.9851 | 46.3369
Women | 20 | 1 | -6.388 | -3.8894 | -1.0269 | 3.9761 | 8.9859
Women | 25 | 1 | -5.4854 | -2.9832 | -0.37068 | 3.9615 | 8.9227
Women | 30 | 1 | -4.624 | -2.1187 | 0.29628 | 4.0169 | 8.9731
Women | 35 | 1 | -3.9352 | -1.4291 | 1.0084 | 4.3669 | 9.501
Women | 40 | 1 | -3.5629 | -1.0603 | 1.8035 | 5.2571 | 10.9042
Women | 45 | 1 | -3.5269 | -1.0265 | 2.7138 | 6.8352 | 13.3893
Women | 50 | 1 | -3.3504 | -0.81511 | 3.7502 | 8.8575 | 16.3978
Women | 55 | 1 | -2.5097 | 0.14368 | 4.955 | 11.0495 | 19.2984
Women | 60 | 1 | -1.0497 | 1.8684 | 6.6407 | 13.6296 | 22.3349
Women | 65 | 1 | 0.72997 | 4.1308 | 9.2399 | 17.0362 | 26.1418
Women | 70 | 1 | 2.6061 | 6.7329 | 12.9442 | 21.4731 | 31.0544
Women | 75 | 1 | 4.5292 | 9.5473 | 17.4058 | 26.618 | 36.7364
Women | 80 | 1 | 6.4731 | 12.4562 | 22.2046 | 32.0782 | 42.7609
Women | 85 | 1 | 8.4193 | 15.3752 | 27.0393 | 37.5719 | 48.8219
Women | 90 | 1 | 10.3655 | 18.2942 | 31.8739 | 43.0656 | 54.8828
Women | 20 | 2 | -5.3669 | -3.0075 | 2.1089 | 4.3894 | 9.3769
Women | 25 | 2 | -5.3669 | -2.6558 | 1.9882 | 4.7959 | 10.0179
Women | 30 | 2 | -5.3077 | -2.2638 | 1.9297 | 5.2785 | 10.7707
Women | 35 | 2 | -4.9995 | -1.7022 | 2.1331 | 6.0812 | 11.9939
Women | 40 | 2 | -4.2347 | -0.82997 | 2.8166 | 7.4708 | 14.0794
Women | 45 | 2 | -2.9297 | 0.42425 | 4.1256 | 9.6331 | 17.2436
Women | 50 | 2 | -1.4954 | 1.8515 | 5.914 | 12.4316 | 20.9998
Women | 55 | 2 | -0.3669 | 3.2457 | 8.0186 | 15.6871 | 24.7876
Women | 60 | 2 | 0.75889 | 4.9414 | 10.6871 | 19.5018 | 28.7971
Women | 65 | 2 | 2.5143 | 7.5134 | 14.3503 | 24.1033 | 33.5538
Women | 70 | 2 | 5.2463 | 11.2487 | 19.1911 | 29.5638 | 39.325
Women | 75 | 2 | 8.6619 | 15.7879 | 24.8371 | 35.6068 | 45.7988
Women | 80 | 2 | 12.3818 | 20.6849 | 30.8416 | 41.9092 | 52.5853
Women | 85 | 2 | 16.134 | 25.6201 | 36.8843 | 48.2392 | 59.4052
Women | 90 | 2 | 19.8863 | 30.5553 | 42.927 | 54.5691 | 66.225
Women | 20 | 3 | -5.2916 | -3.1563 | -0.65057 | 3.9228 | 9.0921
Women | 25 | 3 | -5.3158 | -2.7965 | 0.23478 | 4.7035 | 9.857
Women | 30 | 3 | -5.2728 | -2.3778 | 1.152 | 5.5453 | 10.7535
Women | 35 | 3 | -4.9472 | -1.7117 | 2.2035 | 6.6441 | 12.2035
Women | 40 | 3 | -4.1036 | -0.5921 | 3.501 | 8.2139 | 14.6684
Women | 45 | 3 | -2.6323 | 1.0765 | 5.1467 | 10.46 | 18.4403
Women | 50 | 3 | -0.9282 | 2.9462 | 7.2035 | 13.5523 | 23.1353
Women | 55 | 3 | 0.58527 | 4.664 | 9.7521 | 17.6249 | 28.246
Women | 60 | 3 | 2.2035 | 6.6578 | 13.0745 | 22.6131 | 33.6038
Women | 65 | 3 | 4.5428 | 9.7035 | 17.5419 | 28.3629 | 39.1917
Women | 70 | 3 | 7.9312 | 14.2004 | 23.2846 | 34.7035 | 44.9775
Women | 75 | 3 | 12.0502 | 19.7035 | 29.8939 | 41.427 | 50.8937
Women | 80 | 3 | 16.4946 | 25.6547 | 36.889 | 48.3211 | 56.8679
Women | 85 | 3 | 20.9735 | 31.6535 | 43.9252 | 55.2333 | 62.8482
Women | 90 | 3 | 25.4525 | 37.6524 | 50.9614 | 62.1454 | 68.8286
Women | 20 | 4 | -6.1673 | -3.5373 | 1.0248 | 4.9098 | 10.8841
Women | 25 | 4 | -5.6924 | -2.763 | 1.766 | 5.9633 | 11.8016
Women | 30 | 4 | -5.1712 | -1.9352 | 2.563 | 7.0929 | 12.8616
Women | 35 | 4 | -4.4553 | -0.88247 | 3.5951 | 8.5429 | 14.5215
Women | 40 | 4 | -3.3825 | 0.58272 | 5.0579 | 10.5804 | 17.2808
Women | 45 | 4 | -1.8666 | 2.5432 | 7.0986 | 13.4381 | 21.4757
Women | 50 | 4 | -0.12599 | 4.6633 | 9.6695 | 17.2113 | 26.7877
Women | 55 | 4 | 1.6175 | 6.6175 | 12.7222 | 21.9441 | 32.7542
Women | 60 | 4 | 3.6801 | 8.9294 | 16.5635 | 27.5545 | 39.058
Women | 65 | 4 | 6.6175 | 12.5009 | 21.6582 | 33.9042 | 45.4475
Women | 70 | 4 | 10.7044 | 17.7924 | 28.1864 | 40.8342 | 51.7533
Women | 75 | 4 | 15.585 | 24.2756 | 35.6914 | 48.1412 | 57.9895
Women | 80 | 4 | 20.8189 | 31.2894 | 43.6313 | 55.6161 | 64.1946
Women | 85 | 4 | 26.0905 | 38.3597 | 51.6175 | 63.1088 | 70.3964
Women | 90 | 4 | 31.362 | 45.43 | 59.6037 | 70.6015 | 76.5982
Women | 20 | 6 | -6.999 | -3.5926 | 1.1521 | 7.4125 | 13.9175
Women | 25 | 6 | -6.3428 | -2.5027 | 2.4398 | 8.6403 | 14.7898
Women | 30 | 6 | -5.6219 | -1.3688 | 3.763 | 9.9199 | 15.8095
Women | 35 | 6 | -4.6293 | -0.049813 | 5.2357 | 11.417 | 17.4493
Women | 40 | 6 | -3.1385 | 1.6085 | 6.9824 | 13.3129 | 20.2259
Women | 45 | 6 | -1.0455 | 3.6911 | 9.1535 | 15.8946 | 24.5544
Women | 50 | 6 | 1.2647 | 6.007 | 12.0026 | 19.8717 | 30.4429
Women | 55 | 6 | 3.3946 | 8.3946 | 15.7972 | 25.8946 | 37.7283
Women | 60 | 6 | 5.7583 | 11.4241 | 20.715 | 33.3946 | 45.7328
Women | 65 | 6 | 9.1322 | 15.9914 | 26.893 | 41.2584 | 53.5499
Women | 70 | 6 | 13.9198 | 22.5266 | 34.2998 | 48.7361 | 60.6152
Women | 75 | 6 | 19.6888 | 30.4176 | 42.5294 | 55.8946 | 67.1306
Women | 80 | 6 | 25.8948 | 38.9122 | 51.1251 | 62.9109 | 73.4012
Women | 85 | 6 | 32.1474 | 47.471 | 59.7598 | 69.9122 | 79.6457
Women | 90 | 6 | 38.3999 | 56.0299 | 68.3946 | 76.9134 | 85.8902
Women | 20 | 8 | -6.7551 | -4.5491 | 0.34711 | 5.7449 | 12.9593
Women | 25 | 8 | -6.9092 | -3.8139 | 1.3417 | 6.891 | 13.6742
Women | 30 | 8 | -6.9619 | -3.0317 | 2.3605 | 8.1119 | 14.5976
Women | 35 | 8 | -6.5887 | -2.0518 | 3.4813 | 9.6478 | 16.3982
Women | 40 | 8 | -5.4345 | -0.7094 | 4.7891 | 11.7612 | 19.807
Women | 45 | 8 | -3.3097 | 1.1772 | 6.582 | 14.8973 | 25.4032
Women | 50 | 8 | -0.68718 | 3.8571 | 10.0107 | 20.2327 | 33.159
Women | 55 | 8 | 1.9507 | 7.6085 | 16.209 | 28.8155 | 42.7695
Women | 60 | 8 | 5.2716 | 12.7965 | 24.6105 | 39.3922 | 53.0066
Women | 65 | 8 | 10.4557 | 19.8239 | 33.8888 | 49.6815 | 62.2311
Women | 70 | 8 | 18.0855 | 28.7756 | 43.1082 | 58.2449 | 69.4865
Women | 75 | 8 | 27.404 | 39.0261 | 52.2131 | 65.5343 | 75.3432
Women | 80 | 8 | 37.4743 | 49.8547 | 61.2671 | 72.2565 | 80.5772
Women | 85 | 8 | 47.6246 | 60.7449 | 70.3157 | 78.9183 | 85.7449
Women | 90 | 8 | 57.775 | 71.6351 | 79.3643 | 85.5802 | 90.9126
Men | 20 | 0.25 | -9.2017 | -4.3389 | -1.535 | 3.3795 | 8.3481
Men | 25 | 0.25 | -9.2869 | -4.3246 | -1.7024 | 3.2349 | 8.2376
Men | 30 | 0.25 | -9.3497 | -4.3183 | -1.8385 | 3.1284 | 8.1627
Men | 35 | 0.25 | -9.3183 | -4.3461 | -1.8429 | 3.1817 | 8.2376
Men | 40 | 0.25 | -9.1142 | -4.4361 | -1.6058 | 3.5279 | 8.587
Men | 45 | 0.25 | -8.672 | -4.5534 | -1.0449 | 4.2518 | 9.3119
Men | 50 | 0.25 | -7.9787 | -4.4094 | -0.18753 | 5.2442 | 10.4168
Men | 55 | 0.25 | -7.036 | -3.6968 | 0.92726 | 6.391 | 11.9163
Men | 60 | 0.25 | -5.854 | -2.4373 | 2.3759 | 7.9008 | 14.0744
Men | 65 | 0.25 | -4.447 | -0.80024 | 4.2864 | 10.1258 | 17.2658
Men | 70 | 0.25 | -2.8454 | 1.0699 | 6.6972 | 13.2249 | 21.6336
Men | 75 | 0.25 | -1.1155 | 3.0848 | 9.4471 | 16.9235 | 26.8027
Men | 80 | 0.25 | 0.67142 | 5.1643 | 12.3479 | 20.889 | 32.3285
Men | 85 | 0.25 | 2.4645 | 7.2507 | 15.2648 | 24.8829 | 37.8923
Men | 90 | 0.25 | 4.2575 | 9.337 | 18.1817 | 28.8768 | 43.4561
Men | 20 | 0.5 | -7.6977 | -2.7046 | -0.12769 | 4.8258 | 7.219
Men | 25 | 0.5 | -7.6974 | -2.7006 | -0.24419 | 4.7085 | 7.6355
Men | 30 | 0.5 | -7.636 | -2.6977 | -0.31565 | 4.6278 | 8.0999
Men | 35 | 0.5 | -7.3172 | -2.6998 | -0.19771 | 4.7011 | 8.7662
Men | 40 | 0.5 | -6.5267 | -2.7109 | 0.26747 | 5.0568 | 9.8023
Men | 45 | 0.5 | -5.1977 | -2.6739 | 1.1666 | 5.7849 | 11.2918
Men | 50 | 0.5 | -3.8542 | -2.287 | 2.3023 | 6.8225 | 12.9793
Men | 55 | 0.5 | -3.0608 | -1.2406 | 3.4579 | 8.1118 | 14.6208
Men | 60 | 0.5 | -2.5901 | 0.37761 | 4.8023 | 9.9137 | 16.6823
Men | 65 | 0.5 | -1.8612 | 2.3023 | 6.676 | 12.6313 | 19.9465
Men | 70 | 0.5 | -0.525 | 4.3339 | 9.248 | 16.4371 | 24.8023
Men | 75 | 0.5 | 1.247 | 6.4212 | 12.3023 | 20.9872 | 30.758
Men | 80 | 0.5 | 3.213 | 8.5334 | 15.5714 | 25.8688 | 37.2033
Men | 85 | 0.5 | 5.1996 | 10.6482 | 18.8633 | 30.7857 | 43.7008
Men | 90 | 0.5 | 7.1863 | 12.7631 | 22.1552 | 35.7025 | 50.1982
Men | 20 | 1 | -6.0193 | -3.5269 | -1.2592 | 1.4731 | 6.2509
Men | 25 | 1 | -6.0379 | -3.5269 | -0.67837 | 2.4113 | 7.362
Men | 30 | 1 | -5.9805 | -3.4723 | -0.076176 | 3.3674 | 8.4964
Men | 35 | 1 | -5.6037 | -3.1885 | 0.61599 | 4.3987 | 9.7292
Men | 40 | 1 | -4.6412 | -2.4841 | 1.4731 | 5.5678 | 11.1426
Men | 45 | 1 | -3.0352 | -1.2909 | 2.5104 | 6.913 | 12.8158
Men | 50 | 1 | -1.5613 | -0.031714 | 3.5038 | 8.3741 | 14.8174
Men | 55 | 1 | -1.0369 | 0.84955 | 4.268 | 9.9356 | 17.2498
Men | 60 | 1 | -1.0461 | 1.6606 | 5.3443 | 12.0924 | 20.4823
Men | 65 | 1 | -0.62262 | 3.0447 | 7.5979 | 15.5662 | 25.0027
Men | 70 | 1 | 0.81408 | 5.3611 | 11.4733 | 20.696 | 31.0026
Men | 75 | 1 | 2.9775 | 8.3323 | 16.4731 | 26.965 | 38.0112
Men | 80 | 1 | 5.4645 | 11.595 | 21.9736 | 33.7411 | 45.4688
Men | 85 | 1 | 7.986 | 14.8888 | 27.5274 | 40.5712 | 52.9742
Men | 90 | 1 | 10.5074 | 18.1825 | 33.0812 | 47.4012 | 60.4796
Men | 20 | 2 | -5.3435 | -2.8519 | -0.46376 | 4.4815 | 8.6106
Men | 25 | 2 | -5.4604 | -2.9267 | 0.020782 | 4.6715 | 9.889
Men | 30 | 2 | -5.512 | -2.9325 | 0.55329 | 4.9616 | 11.2259
Men | 35 | 2 | -5.2895 | -2.6474 | 1.2875 | 5.673 | 12.809
Men | 40 | 2 | -4.5641 | -1.8292 | 2.3916 | 7.1566 | 14.8434
Men | 45 | 2 | -3.2414 | -0.3669 | 3.9723 | 9.6331 | 17.5543
Men | 50 | 2 | -1.7621 | 1.3252 | 5.8914 | 12.8014 | 21.2478
Men | 55 | 2 | -0.58711 | 2.8257 | 8.0362 | 16.3254 | 26.1965
Men | 60 | 2 | 0.667 | 4.6331 | 10.9356 | 20.5734 | 32.2787
Men | 65 | 2 | 2.76 | 7.6557 | 15.4043 | 26.2275 | 39.196
Men | 70 | 2 | 6.1011 | 12.3626 | 21.8172 | 33.5934 | 46.6777
Men | 75 | 2 | 10.3129 | 18.2378 | 29.5655 | 42.1331 | 54.5168
Men | 80 | 2 | 14.9124 | 24.6331 | 37.9082 | 51.1953 | 62.515
Men | 85 | 2 | 19.5531 | 31.0838 | 46.3143 | 60.3132 | 70.5301
Men | 90 | 2 | 24.1938 | 37.5346 | 54.7204 | 69.4311 | 78.5452
Men | 20 | 3 | -5.4376 | -2.9638 | 1.6027 | 5.6077 | 11.3404
Men | 25 | 3 | -5.0845 | -2.127 | 2.354 | 6.7383 | 12.4203
Men | 30 | 3 | -4.6597 | -1.2488 | 3.1723 | 7.9773 | 13.7255
Men | 35 | 3 | -3.934 | -0.19659 | 4.2722 | 9.6724 | 15.9778
Men | 40 | 3 | -2.6565 | 1.1748 | 5.8884 | 12.2035 | 19.9665
Men | 45 | 3 | -0.72366 | 2.9752 | 8.2555 | 15.9147 | 26.1451
Men | 50 | 3 | 1.3787 | 5.1742 | 11.6081 | 21.0054 | 33.6239
Men | 55 | 3 | 3.1593 | 7.7707 | 16.1506 | 27.559 | 41.2715
Men | 60 | 3 | 5.1745 | 11.24 | 21.8657 | 35.0653 | 48.6524
Men | 65 | 3 | 8.4475 | 16.2692 | 28.6362 | 42.7493 | 55.6435
Men | 70 | 3 | 13.5174 | 23.1522 | 36.2874 | 50.0966 | 62.2035
Men | 75 | 3 | 19.8368 | 31.3033 | 44.5157 | 57.1766 | 68.4708
Men | 80 | 3 | 26.7125 | 40.0191 | 53.001 | 64.1377 | 74.6079
Men | 85 | 3 | 33.6475 | 48.7949 | 61.5136 | 71.0861 | 80.731
Men | 90 | 3 | 40.5824 | 57.5708 | 70.0263 | 78.0345 | 86.8542
Men | 20 | 4 | -6.4337 | -3.691 | 0.91548 | 5.8504 | 11.6175
Men | 25 | 4 | -5.5147 | -2.1482 | 2.6709 | 7.769 | 13.6644
Men | 30 | 4 | -4.5219 | -0.55065 | 4.4997 | 9.8578 | 16.0233
Men | 35 | 4 | -3.2188 | 1.2777 | 6.6368 | 12.662 | 19.6943
Men | 40 | 4 | -1.3469 | 3.5291 | 9.3391 | 16.7777 | 25.771
Men | 45 | 4 | 1.2363 | 6.3711 | 12.8926 | 22.5996 | 34.6752
Men | 50 | 4 | 4.2087 | 9.8727 | 17.7 | 29.7157 | 44.1421
Men | 55 | 4 | 7.2389 | 14.0967 | 24.0889 | 37.5217 | 51.6168
Men | 60 | 4 | 10.7824 | 19.2426 | 31.6175 | 45.4807 | 57.3649
Men | 65 | 4 | 15.6458 | 25.5703 | 39.5008 | 53.087 | 62.9134
Men | 70 | 4 | 22.2227 | 33.1351 | 47.2008 | 60.0495 | 69.2641
Men | 75 | 4 | 29.9817 | 41.5349 | 54.7346 | 66.5566 | 76.2335
Men | 80 | 4 | 38.2669 | 50.3064 | 62.1944 | 72.861 | 83.4784
Men | 85 | 4 | 46.6081 | 59.1175 | 69.6464 | 79.1437 | 90.7526
Men | 90 | 4 | 54.9493 | 67.9286 | 77.0983 | 85.4265 | 98.0269
Men | 20 | 6 | -6.8848 | -4.3811 | 0.89456 | 6.1344 | 12.9009
Men | 25 | 6 | -6.6964 | -3.0024 | 2.444 | 8.0138 | 15.3704
Men | 30 | 6 | -6.3771 | -1.5664 | 4.0652 | 10.0478 | 18.0714
Men | 35 | 6 | -5.5068 | 0.111 | 5.9884 | 12.732 | 21.7464
Men | 40 | 6 | -3.6265 | 2.2308 | 8.4651 | 16.6084 | 27.207
Men | 45 | 6 | -0.52576 | 4.976 | 11.814 | 22.0701 | 34.8477
Men | 50 | 6 | 3.0113 | 8.4578 | 16.6214 | 28.9155 | 43.3946
Men | 55 | 6 | 6.1546 | 12.7881 | 23.3946 | 36.7679 | 51.337
Men | 60 | 6 | 9.5715 | 18.2193 | 31.5631 | 45.0552 | 58.4984
Men | 65 | 6 | 14.598 | 25.0655 | 40.0749 | 53.1193 | 65.2998
Men | 70 | 6 | 21.9405 | 33.3946 | 48.2216 | 60.5591 | 72.0468
Men | 75 | 6 | 30.8946 | 42.7247 | 56.0664 | 67.5475 | 78.7818
Men | 80 | 6 | 40.5661 | 52.5006 | 63.7769 | 74.3349 | 85.5114
Men | 85 | 6 | 50.3141 | 62.3239 | 71.473 | 81.101 | 92.2404
Men | 90 | 6 | 60.0621 | 72.1472 | 79.1692 | 87.867 | 98.9694
Men | 20 | 8 | -10.1632 | -5.9722 | -0.24862 | 5.4874 | 12.3142
Men | 25 | 8 | -9.0279 | -4.5417 | 0.99364 | 6.7758 | 14.5022
Men | 30 | 8 | -7.8433 | -3.0962 | 2.3136 | 8.2885 | 16.9755
Men | 35 | 8 | -6.452 | -1.5878 | 3.9601 | 10.7449 | 20.649
Men | 40 | 8 | -4.6816 | 0.035954 | 6.2056 | 14.9313 | 26.5227
Men | 45 | 8 | -2.3523 | 2.0683 | 9.5089 | 21.4177 | 35.1417
Men | 50 | 8 | 0.74489 | 5.7662 | 15.0766 | 29.9091 | 45.2318
Men | 55 | 8 | 4.8438 | 12.3761 | 23.9857 | 39.8249 | 55.168
Men | 60 | 8 | 10.3081 | 21.2871 | 34.9763 | 50.0735 | 64.0991
Men | 65 | 8 | 17.5578 | 31.0579 | 45.7449 | 59.3369 | 71.5215
Men | 70 | 8 | 26.6939 | 40.6809 | 54.8324 | 66.8623 | 77.2561
Men | 75 | 8 | 37.1047 | 50.1239 | 62.6745 | 73.1606 | 81.843
Men | 80 | 8 | 48.083 | 59.4868 | 69.9621 | 78.9124 | 85.919
Men | 85 | 8 | 59.1217 | 68.8411 | 77.1906 | 84.6062 | 89.9406
Men | 90 | 8 | 70.1604 | 78.1954 | 84.4191 | 90.2999 | 93.9622