Figure (Supplementary data). Sensitivity to rivaroxaban of ROTEM assay triggered with EXTEM reagent.

Graph represents the clotting time (CT) as a function of the rivaroxaban concentration (ng░ml(1) estimated in platelet-poor plasma (PPP) by anti-Xa assay. Clot formation was triggered with EXTEM reagent in whole blood of 6 healthy volunteers spiked with various amounts of rivaroxaban (0, 25, 100 or 200 ng ml(1). FXa inhibitor concentration was estimated by anti-Xa assay (in PPP). Each data point represents the mean of 3 measurements together with the lowest and highest values observed. The dotted line represents the upper limit of the published reference ranges for the CT values .26 Rivaroxaban significantly increases CT (P░<░0.0001) but only amounts higher than 200 ng ml(1 allow safe detection.

Supplementary data

Figure.

Figure (Supplementary data). Sensitivity to rivaroxaban of ROTEM assay triggered with EXTEM reagent.