Supplementary Material

N-glycosylation of immunoglobulin G predicts incident hypertension

Domagoj Kifera*, Panayiotis Loucab*, Ana Cvetkoa*, Helena Derišc, Ana Cindrićc, Harald Grallertd,e, Annette Peterse,f,g, Ozren Polašekh, Olga Gornika, Massimo Manginob,I, Tim D Spectorb, Ana M Valdesb,j, Sandosh Padmanabhank, Christian Giegerd,e, Gordan Lauca,c, Cristina Mennib

a Faculty of Pharmacy and Biochemistry, University of Zagreb, Zagreb, Croatia.

b Department of Twin Research, Kings College London, London, England, United Kingdom.

c Genos Glycoscience Research Laboratory, Zagreb, Croatia.

d Research Unit of Molecular Epidemiology, Institute of Epidemiology, Helmholtz Zentrum München Research Center for Environmental Health, Neuherberg, Germany.

e German Center for Diabetes Research (DZD), Neuherberg, Germany.

f Institute of Epidemiology, Helmholtz Zentrum München Research Center for Environmental Health, Neuherberg, Germany.

g LMU Munich, IBE-Chair of Epidemiology, 85764 Neuherberg, Germany.

h Department of Public Health, University of Split, School of Medicine, Split, Croatia.

i NIHR Biomedical Research Centre at Guy’s and St Thomas’ Foundation Trust, London SE1 9RT, UK.

j Academic Rheumatology Clinical Sciences Building, Nottingham City Hospital, University of Nottingham, United Kingdom.

k University of Glasgow, Glasgow, Scotland, United Kingdom.

*Denotes equal contribution

Address for correspondence

Cristina Menni, PhD

Department of Twin Research, King’s College London, St Thomas’ Hospital Campus, Westminster Bridge Road, London SE1 7EH, UK

Phone: +44 (0) 207 188 7188 (ext. 52594); email: cristina.menni@kcl.ac.uk

Keywords:  Basic Science Research, Biomarkers, Risk factors, incident hypertension, glycomics

EXPERIMENTAL PROTOCOL DESCRIPTION

Isolation of immunoglobulin G from total plasma/serum

In brief, 10x dilution of 100 µL of total plasma/serum was done with PBS (phosphate buffer saline), followed by filtration on a 0.45 µm GHP filter plate (Pall Corporation, Ann Arbor, USA). Filtered and diluted plasma/serum was transferred to the protein G monolithic plate and washed. Afterwards, elution of immunoglobulins was performed with 1 mL of 0.1 M formic acid (Merck, Germany) followed by immediate neutralization of the mixture with 1 M of ammonium bicarbonate (Acros Organics, USA). Immunoglobulin G containing eluate was aliquoted into PCR plates (aliquoted volume had to contain an average mass of 15 µg of immunoglobulin G) and dried in a vacuum centrifuge.

HILIC-UPLC-FLR analysis of RapiFlour-MS labelled immunoglobulin G N-glycans from the TwinsUK Cohort

RapiFluor-MS labelled immunoglobulin G N-glycans were analysed using ultra-performance liquid chromatography based on hydrophilic interactions with fluorescence detection (HILIC-UPLC-FLR) on Water Acquity UPLC H-class instruments. The instruments were controlled and monitored with the Empower 3 software, build 3471 (Waters, USA). Chromatographic separation of glycan structures was perfomed on Waters UPLC Glycan bridged ethylene hybrid (BEH) Amide chromatographic columns (130 Å, 1.7 µm BEH particles, 2.1x100 mm). Solvent A was 50 mmol/L ammonium formate, pH 4.4, while solvent B was 100% LC-MS grade acetonitrile. We used linear gradient of 75–61.5 % acetonitrile (v/v) at a flow rate of 0.4 mL/min over 30 minutes in a 42-minute analytical run. Each chromatogram was separated into 22 glycan peaks containing glycan structures (Supplementary Figure 1.). Integration of the chromatograms resulted with total area normalization from which we obtained relative quantification of immunoglobulin G N-glycans. In detail description of glycan structures contained in glycan peaks is presented in Supplementary Table 1. Formulas used for the calculation of immunoglobulin G derived traits in the TwinsUK cohort are presented in Supplementary Table 2.

HILIC-UPLC-FLR analysis of 2-AB labelled immunoglobulin G N-glycans from the 10 001 Dalmatians cohort

2-AB labelled immunoglobulin G N-glycans were analysed using ultra-performance liquid chromatography based on hydrophilic interactions with fluorescence detection (HILIC-UPLC-FLR) on Water Acquity UPLC H-class instruments. The instruments were controlled with the Empower 3 software, build 3471 (Waters, USA). Chromatographic separation of glycan structures was perfomed on Waters UPLC Glycan bridged ethylene hybrid (BEH) Amide chromatographic columns (100 x 2.1 mm i.d., 1.7 μm BEH particles). Solvent A was 100 mmol/L ammonium formate, pH 4.4, while solvent B was 100% LC-MS grade acetonitrile. We used linear gradient of 25-38% ammonium formate (solvent A) with a flow rate of 0.40 mL/min during a 27 min analytical run. Each chromatogram was separated into 24 glycan peaks containing glycan structures. Integration of the chromatograms resulted with total area normalization from which we obtained relative quantification of immunoglobulin G N-glycans. Chromatographic separation of 24 glycan peaks and in detail description of glycan structures contained in glycan peaks, as well as the list of calculated derived traits is available in a previously published paper (Pučić et al. 2011).

LC-ESI-MS/MS analysis of immunoglobulin G tryptic glycopeptides from the KORA cohort

NanoACQUITY UPLC system (Waters Corporation, USA) coupled with micrOTOF-Q mass spectrometer (BrukerDaltonics, Germany) was used for the analysis of the glycopeptides following the protocol already described(Keser et al. 2017). It is important to highlight that tryptic Fc glycopeptides of the immunoglobulin G 2 and 3 glycoform have the same peptide moieties  in the population of Caucasians resulting with them not being distinguishable using mentioned profiling method(Balbín et al. 1994; Mimura et al. 2001). Data extraction, recalibration and alignment was done as explained in the previously mentioned paper(Keser et al. 2017). Detailed description of directly measured glycopeptides and calculated derived traits used in statistical analysis performed in our study is available in supplementary materials of the mentioned paper (Keser et al. 2017) (Supplementary Table 1; Sheet 2).

References

Balbín M, Grubb A, de Lange GG, Grubb R. 1994. DNA sequences specific for Caucasian G3m(b) and (g) allotypes: allotyping at the genomic level. Immunogenetics. 39(3):187–193. doi:10.1007/BF00241259.

Keser T, Vučković F, Barrios C, Zierer J, Wahl A, Akinkuolie AO, Štambuk J, Nakić N, Pavić T, Periša J, et al. 2017. Effects of Statins on the Immunoglobulin G Glycome. Biochim Biophys Acta. 1861(5 Pt A):1152–1158. doi:10.1016/j.bbagen.2017.02.029.

Mimura Y, Sondermann P, Ghirlando R, Lund J, Young SP, Goodall M, Jefferis R. 2001. Role of oligosaccharide residues of IgG1-Fc in Fc gamma RIIb binding. J Biol Chem. 276(49):45539–45547. doi:10.1074/jbc.M107478200.

Pučić M, Knežević A, Vidič J, Adamczyk B, Novokmet M, Polašek O, Gornik O, Šupraha-Goreta S, Wormald MR, Redžić I, et al. 2011. High Throughput Isolation and Glycosylation Analysis of IgG–Variability and Heritability of the IgG Glycome in Three Isolated Human Populations. Mol Cell Proteomics. 10(10):M111.010090. doi:10.1074/mcp.M111.010090.

Supplementary Table 1 Detailed description of glycan structures corresponding to every individual immunoglobulin G RapiFluor-MS glycan peak.*

| RapiFluor-MS glycan peak | Glycan structure | Description | Formula |
| --- | --- | --- | --- |
| GP1 | FA1 | core fucosylated, monoantennary | GP1 / GP * 100 |
| GP2 | A2 | agalactosylated, biantennary | GP2 / GP * 100 |
| GP3 | A2B; FA2 | biantennary with bisecting GlcNAc; core fucosylated, biantennary | GP3 / GP * 100 |
| GP4 | M5; FA2B | oligomannose; core fucosylated, biantennary with bisecting GlcNAc | GP4 / GP * 100 |
| GP5 | A2[6]G1 | monogalactosylated, biantennary | GP5 / GP * 100 |
| GP6 | A2[3]G1 | monogalactosylated, biantennary | GP6 / GP * 100 |
| GP7 | FA2[6]G1 | core fucosylated and monogalactosylated, biantennary | GP7 / GP * 100 |
| GP8 | FA2[3]G1 | core fucosylated and monogalactosylated, biantennary | GP8 / GP * 100 |
| GP9 | FA2[6]BG1 | core fucosylated and monogalactosylated, biantennary with bisecting GlcNAc | GP9 / GP * 100 |
| GP10 | FA2[3]BG1 | core fucosylated and monogalactosylated, biantennary with bisecting GlcNAc | GP10 / GP * 100 |
| GP11 | A2G2 | digalactosylated, biantennary | GP11 / GP * 100 |
| GP12 | A2BG2; FA2G2 | digalactosylated, biantennary with bisecting GlcNAc; core fucosylated, digalactosylated, biantennary | GP12 / GP * 100 |
| GP13 | FA2BG2 | core fucosylated, digalactosylated, biantennary with bisecting GlcNAc | GP13 / GP * 100 |
| GP14 | FA2[6]G1S1; FA2[3]G1S1 | core fucosylated, monogalactosylated and monosialylated biantennary; core fucosylated, monogalactosylated and monosialylated biantennary | GP14 / GP * 100 |
| GP15 | A2G2S1 | digalactosylated and monosialylated biantennary | GP15 / GP * 100 |
| GP16 | FA2G2S1 | core fucosylated, digalactosylated and monosialylated biantennary | GP16 / GP * 100 |
| GP17 | FA2BG2S1 | core fucosylated, digalactosylated and monosialylated biantennary with bisecting GlcNAc | GP17 / GP * 100 |
| GP18 | structure not determined |  | GP18 / GP * 100 |
| GP19 | A2G2S2 | digalactosylated and disialylated biantennary | GP19 / GP * 100 |
| GP20 | A2BG2S2 | digalactosylated and disialylated biantennary with bisecting GlcNAc | GP20 / GP * 100 |
| GP21 | FA2G2S2 | core fucosylated, digalactosylated and disialylated biantennary | GP21 / GP * 100 |
| GP22 | FA2BG2S2 | core fucosylated, digalactosylated and disialylated biantennary with bisecting GlcNAc | GP22 / GP * 100 |

*structure abbreviations – all N-glycans have two core N-acetylglucosamines (GlcNAcs); F at the start of the abbreviation indicates a core-fucose α1,6-linked to the inner GlcNAc; Mx, number (x) of mannose on core GlcNAcs; Ax, number of antenna (GlcNAc) on trimannosyl core; A2, biantennary with both GlcNAcs as β1,2-linked; A3, triantennary with a GlcNAc linked β1,2 to both mannose and the third GlcNAc linked β1,4 to the α1,3 linked mannose; A4, GlcNAcs linked as A3 with additional GlcNAc β1,6 linked to α1,6 mannose; B, bisecting GlcNAc linked β1,4 to β1,3 mannose; G(x), number (x) of β1,4 linked galactose on antenna; F(x), number (x) of fucose linked α1,3 to antenna GlcNAc; S(x), number (x) of sialic acids linked to galactose

Supplementary Table 2 Detailed description of formulas used for the calculation of immunoglobulin G derived traits in TwinsUK cohort.

| Structural feature | Formula |
| --- | --- |
| Agalactosylation (G0) | GP1+GP2+GP3+GP4 |
| Monogalactosylation (G1) | GP5+GP6+GP7+GP8+GP9 |
| Digalactosylation (G2) | GP10+GP11+GP12+GP13 |
| Total galactosylation (G) | GP5+GP6+GP7+GP8+GP9+GP10+GP11+GP12+GP13 |
| Total sialylation (S) | GP14+GP15+GP16+GP17+GP19+GP20+GP21+GP22 |
| Monosialylation (S1) | GP14+GP15+GP16+GP17 |
| Disialylation (S2) | GP19+GP20+GP21+GP22 |
| Incidence of bisecting GlcNAc (B) | GP4+GP9+GP10+GP13+GP17+GP20+GP22 |
| Core fucosylation (CF) | GP1+GP3+GP4+GP7+GP8+GP9+GP10+GP12+GP13+GP14+GP16+GP17+GP21+GP22 |

Supplementary Table 3. Hazard ratio’s/Odds ratio’s and 95% confidence intervals in the three samples.

| Glycan | Twins UK (n = 2617) | Dalmation 10 001 (n = 106) | KORA (n = 729) |
| --- | --- | --- | --- |
|  | HR | Lower bound 95% CI | Upper bound 95% CI | HR | Lower bound 95% CI | Upper bound 95% CI | OR | Lower bound 95% CI | Upper bound 95% CI |
| B | 1.164 | 1.054 | 1.284 | 2.065 | 1.159 | 3.679 | 1.203 | 0.994 | 1.457 |
| GP4 | 1.137 | 1.018 | 1.270 | 2.919 | 1.502 | 5.675 | 1.280 | 1.040 | 1.576 |
| GP9 | 1.150 | 1.052 | 1.257 | 1.938 | 1.117 | 3.360 | NA | NA | NA |
| GP10 | 1.149 | 1.023 | 1.290 | 1.425 | 0.868 | 2.340 | NA | NA | NA |
| GP15 | 0.854 | 0.772 | 0.944 | 0.938 | 0.531 | 1.657 | NA | NA | NA |
| GP21 | 0.886 | 0.805 | 0.975 | 0.448 | 0.240 | 0.836 | NA | NA | NA |

Supplementary Table 4. Hazard ratio’s and 95% confidence intervals in a sensitivity analysis using only females of the Dalmatian cohort.

| Glycan | Dalmation 10 001 (n = 72) |
| --- | --- |
|  | HR | Lower bound 95% CI | Upper bound 95% CI |
| B | 4.085 | 1.452 | 11.491 |
| GP4 | 4.721 | 1.642 | 13.575 |
| GP9 | 4.329 | 1.593 | 11.762 |
| GP21 | 0.328 | 0.125 | 0.861 |

Supplementary Figure 1 Representative HILIC-UPLC-FLR chromatographic profile of the immunoglobulin G RapiFluor-MS labelled N-glycome, with graphic representation of the glycan structures corresponding to each glycan peak (GP).