Supplemental Digital Content (SDC)

Table of content

1. SDC Methods	2

2. SDC Tables	4

3. SDC Figures	5

4. SDC Reference	14

# 1. SDC Methods

SARS-CoV-2 RT-PCR

Nucleic acids were extracted from respiratory specimens either using the QIAsymphony DSP Virus/Pathogen Kit or the EZ1 Virus Mini Kit v2.0 (Qiagen, Hilden, Germany). The following PCR assays were used: The nucleocapsid (N1) reaction of the CDC protocol, the envelope amplification of the Charité protocol, the nucleocapsid amplification of the Seegene Allplex 2019-nCoV Assay, the Roche Cobas SARS-CoV-2 nucleocapsid reaction or the Cepheid Xpert Xpress SARS-CoV-2 xx reaction. Viral loads are expressed as SARS-CoV-2-RNA copy numbers per ml sputum, ETA or transport medium of the swab sample (eSwab™, COPAN Diagnostics). Copy numbers are estimated using standard curves that were generated using either a plasmid containing the nucleocapsid gene (2019-nCoV-N-PositiveControl, IDT) or a clinical sample with copy numbers based on digital droplet PCR results as described previously. 1 These calculations do not take into account variability between separate PCR runs, different PCR chemicals or different nucleic acid extraction methods.

Flow cytometry measurement

The following fluorochrome conjugated monoclonal antibodies CD45 (2D1), CD3 (UCHT-1), CD19 (SJ25C1), CD20 (L27), CD4 (SK3), CD8 (SK1), CD197 (150503), CD45RO (UCHL-1), CD14 (MfP9), CD16 (B73-1) (all from BD Bioscience, Heidelberg, Germany) and CD45 (HI30, Biolegend, San Diego, California) were used. Staining was performed according to manufacturer’s instructions.

Ex vivo analysis of SARS-CoV-2 specific T-cell responses

Patient PBMCs were thawed on day -1, washed with warm complete T cell medium (RPMI + 10% FCS + 5% SC+) and rested overnight at ~ 1 million cells/ml (37 °C, 5 % C02). On day 0, 1x105 – 1x106 PBMCs were incubated for 4 h at 37 °C with PepTivator SARS-CoV-2 Protein S (Miltenyi, Cat.Nr.: 130-126-700) (PepTivator Sfinal: 20 µl/ml). DMSO served as negative control and PMA/Ionomycin as positive control. After incubation, cells were stained with Ethidium monoazide (EMA) for live/dead discrimination and subsequently with surface antibodies: CD19-ECD (1:100, Beckman Coulter, Cat. Nr. A07770, clone J3-119), CD8-PE (1:200, Invitrogen, Cat. Nr. MHCD0804, clone 3B5), CD3-BV421 (1:100, BD Bioscience, Cat. Nr. 563797, clone SK7). Cells were then fixed and also stained with intracellular antibodies IFN-FITC (1:10, BD Pharmingen, Cat. Nr. 340449, clone 25723.11). Flow cytometric analysis was performed on the CytoFlex Cell Analyser (Beckman Coulter).

# 2. SDC Tables

SDC Table 1. Selected laboratory values of patients at different time points.

| Patient No. | 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- | --- |
| G-CSF application |  |  |  |  |  |  |
| - to treat | yes | no | yes | no | no | no |
| - to prevent ICT-induced neutropenia | no | yes | no | yes | no | no |
| Leukocyte counts [G/L] |  |  |  |  |  |  |
| On admission | 0,15 | 33,2 | 3,7 | 3,3 | 2,8 | 1,4 |
| At time of deterioriation | 3,0 | 5,7 | 3,6 | 6,8 | 3,7 | n/a |
| Absolute neutrophil counts [G/L] |  |  |  |  |  |  |
| At start of G-CSF | <0,1 | 1,8 | <0,1 | 5,6 | n/a | n/a |
| At time of clinical deterioriation | 2,5 | 4,8 | 3,2 | 6,3 | 3,5 | n/a |
| Lymphocyte counts [cells/µL] |  |  |  |  |  |  |
| On admission | 40 | n/a | 620 | 33 | 366 | 85 |
| At time of clinical deterioriation | 30 | 742 | 69 | 136 | 74 | n/a |

# 3. SDC Figures

SDC Figure 1. CONSORT diagram for study cohort.

SDC Figure 2. Overview of available peripheral blood samples from B-cell depleted lymphoma patients.

SDC Figure 3. Gating strategies for (A) B-cells (in B-NHL patients), (B) B-cells (in controls), (C) monocytes, and (D) T-cells from PBMCs.

SDC Figure 4. (A) Unsupervised clustering of patients and controls based on gene expression profiling. Quantification of (B) B-cells (B-cell score) (C) macrophages (macrophage score) and (D) neutrophils (neutrophil score) in control (left) and patients (right) inferred from digital multiplex gene expression data (nCounter, NanoString, nSolver software). (E) GSEA for the Hallmark Interferon Alpha Response signature. Changes in the log2 ratios of (F) HLA-DRA and (G) CXCL5 over time. Day 10 corresponds to respiratory deterioration (time of intubation) and it is used as normalization time point.

SDC Figure 5. Dynamic gene expression patterns with peaks at time of respiratory deterioration (intubation) (patient 1 – 3).

SDC Figure 6. Dynamic gene expression patterns with troughs at time of respiratory deterioration (intubation) (patient 1 – 3).

SDC Figure 7. Heatmap of top 20 up- and down-regulated genes in patients and controls at early time points of COVID-19.

SDC Figure 8. Heatmap of differentially expressed genes annotated to the interferon pathway in patients and controls at early time points of COVID-19.

SDC Figure 9. SARS-CoV-2 specific IgG levels in blood serum of B-cell depleted lymphoma patients no. 1, 2 and 3 at indicated time points. Dashed lines indicate positivity threshold for IgG levels.

# 4. SDC Reference

1.	Muenchhoff M, Mairhofer H, Nitschko H, et al. Multicentre comparison of quantitative PCR-based assays to detect SARS-CoV-2, Germany, March 2020. Eurosurveillance. 2020;25(24):2001057.