***Supplementary Table 1: Different IOL types with their A-constant and frequency of implantation***

|  |  |  |
| --- | --- | --- |
| IOL type | n | A-Constant |
| J&J ZCB00 | 13 | 119.3 |
| J&J ZCT00 | 1 | 119.3 |
| Alcon SN60WF | 10 | 119.0 |
| Alcon SN6ATx | 28 | 119.2 |
| Alcon MN60MA | 2 | 118.9 |
| Alcon SY60CL | 1 | 119.1 |
| Ophtec Precizon Toric  | 1 | 118.6 |
| Medicontur Bi-flex T | 1 | 118.9 |