Supplemental Digital Content 2 - Table 2. Reaction Mixtures and Thermal Programs for RT-Nested PCR in HIV-2 Viral Load Measurements.

|  | RT and first-round PCR | Second-round PCR |
| --- | --- | --- |
| Reaction mixture (50 (l) | 1x | Platinum PCR buffer | 1x | Platinum PCR buffer |
|  | 3 mM | MgCl2 | 3 mM | MgCl2 |
|  | 0.2 mM | each dNTP | 0.2 mM | each dNTP |
|  | 0.2 (M | HIV-2 LTR 1F primer | 0.2 (M | HIV-2 LTR 2F primer |
|  | 0.2 (M | HIV-2 LTR 1R primer | 0.2 (M | HIV-2 LTR 2R primer |
|  | 4 U | RNasin ribonuclease inhibitor | 1 U | Platinum Taq DNA polymerase |
|  | 20 U | SuperScript III reverse transcriptase | 1 (l | RT and first-round PCR product |
|  | 1 U | Platinum Taq DNA polymerase |  |  |
|  | 10 (l | RNA sample |  |  |
| Thermal program | 1 cycle | RT (10 min at 50°C) | 1 cycle | Denaturation (2 min at 94°C) |
|  | 1 cycle | Denaturation (2 min at 94°C) | 5 cycles | PCR (5 s at 94°C, 10 s at 48°C and 15 s at 72°C) |
|  | 5 cycles | PCR (5 s at 94°C, 10 s at 48°C and 15 s at 72°C) | 25 cycles | PCR (5 s at 94°C and 15 s at 60°C) |
|  | 25 cycles | PCR (5 s at 94°C and 15 s at 60°C) | 1 cycle | Extension (1 min at 72°C) |
|  | 1 cycle | Extension (1 min at 72°C) |  |  |

RNasin ribonuclease inhibitor was purchased from Promega (Tokyo, Japan), and other reagents from Invitrogen (Tokyo, Japan). PCR primers were designed in the LTR of HIV-2. HIV-2LTR1F, 5’-TTC AGT CGC TCT GCG GAG A-3’; HIV-2LTR1R, 5’-TTT AAG CAA GCA AGC GTG GAG-3’; HIV-2LTR2F, 5’-TGG GAG GTT CTC TCC AGC AC-3’; HIV-2LTR2R, 5’-GGT GAG AGT CTA GCA GGG AAC AC-3.

Abbreviations: RT, reverse transcription; LTR, long terminal repeat.