Supplemental Table 1. Urine Biomarker Assay Information

| Urine biomarker | Inter-Assay CV% | Assay (Manufacturer) |
| --- | --- | --- |
| Albumin | 5.9% | Immunoturbidimetry assay using Siemens Dimension Xpand plus HM clinical analyzer (Siemens, Munich, Germany) |
| α1m | 13.2% | Siemens BNII nephelometer (Siemens, Munich, Germany) |
| IL-18 | 7.2% | ELISA kit (Medical & Biological Laboratories Co., Nagoya, Japan) |
| KIM-1 | 5.2% | ELISA kit (R & D Systems, Inc., Minneapolis, MN) |
| PIIINP | < 10% | ELISA kit (USCN Life Sciences, Wuhan, Hubei, China) |
| Creatinine | 4.1% | Colorimetric enzyme assay using Siemens Dimension Xpand plus HM clinical analyzer (Siemens, Munich, Germany) |

α1m, alpha-1-microglobulin; CV, coefficient of variation; interleukin-18, IL-18; KIM-1, kidney injury molecule-1; PIIINP, procollagen type III N-terminal propeptide.

| Supplemental Figure 1. Association of statin use with urine protein-to-creatinine ratio trajectory in HIV-infected men in MACS |  |
| --- | --- |

Supplemental Figure 2. Association of statin use with incident proteinuria and incident CKD in HIV-infected men in MACS, excluding participants with baseline proteinuria